# Natural Resources Wales permitting decisions

# Variation

We have decided to issue the variation for Llantrisant Recycling Centre operated by Llantrisant Recycling Centre Limited.

The variation number is EPR/AB3092FR/V008

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

- Annex 2 the consultation responses

# Annex 1: decision checklist

This document should be read in conjunction with the Duly Making checklist, the application and supporting information and permit/ notice.

| ### Aspect considered |  | ### Justification / Detail | Criteria met |  |
| --- | --- | --- | --- | --- |
|  |  |  | Yes |  |
| Consultation |  |  |  |  |
| Scope of consultation |  | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. | ü |  |
| Responses to consultation |  | The consultation responses (Annex 2) were taken into account in the decision. The decision was taken in accordance with our guidance. | ü |  |
| Operator |  |  |  |  |
| Control of the facility |  | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. | ü |  |
| European Directives |  |  |  |  |
| Applicable directives |  | All applicable European directives have been considered in the determination of the application. | ü |  |
| Sustainable Management of Natural Resources (SMNR) |  |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources.” |  |  |
| The site |  |  |  |  |
| Extent of the site of the facility |  | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. | ü |  |
| Environmental Risk Assessment and operating techniques |  |  |  |  |
| Environmental risk |  | We have reviewed the operator's assessment of the environmental risk from the facility. The operator’s risk assessment is satisfactory. | ü |  |
| Operating techniques |  | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The operator has identified appropriate measures, as set out in the relevant technical guidance note for waste activities; ‘How to comply with your environmental permit’ and ‘Fire prevention and mitigation plan guidance – Waste’. The operator has submitted an odour management plan and a bioaerosols risk assessment detailing measures used to prevent odour and measures to prevent bioaerosols from the activity. The measures included in the odour management plan and bioaerosols risk assessment have been assessed and are considered suitable to control risk of odour and bioaerosols from the activity. | ü |  |
| The permit conditions |  |  |  |  |
| Updating permit conditions during consolidation. |  | We have updated previous permit conditions to those in the new generic permit template as part of permit consolidation. The new conditions have the same meaning as those in the previous permit(s). The operator has agreed that the new conditions are acceptable. | ü |  |
| Incorporating the application |  | We have specified that the applicant must operate the permit in accordance with descriptions in the application, including all additional information received as part of the determination process. These descriptions are specified in the Operating Techniques table in the permit. | ü |  |
| Waste types |  | We have specified the permitted waste types, descriptions and quantities, which can be accepted at the regulated facility. We are satisfied that the operator can accept these wastes for the following reasons - Appropriate management systems are in place. - Appropriate risk assessments are in place. - Suitable infrastructure and drainage are in place We have excluded the following wastes for the following reasons: - Consisting solely or mainly of dusts, powders or loose fibres - Wastes that are in a form of sludge or liquid - Wastes consisting of or contaminated with Japanese Knotweed or other invasive species - Wastes consisting of or contaminated with materials or substances which may pollute surface and/or groundwater and land We made these decisions with respect to waste types in accordance with “How to Comply with your environmental permit”. | ü |  |
| Operator Competence |  |  |  |  |
| Environment management system |  | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. | ü |  |

# Annex 2: Consultation, responses

Summary of responses to consultation and the way in which we have taken these into account in the determination process.

Response received from

South Wales Fire and Rescue Service

Brief summary of issues raised

The variation is to add a heat treatment facility and to add new waste codes 15 01 09, 19 12 08, 20 01 10, 20 01 11 (clothes and textiles). FRS comments: - Confirmation required that access for FRS complies with section 5 of the FPMP Guidance - Sufficient separation between waste piles must be confirmed

Summary of actions taken or show how this has been covered

An amended FPMP including maps drown to scale have been provided. FRS acces and distances between stockpiles have been shown on site plans which are in line with the FPMP Guldance. Relevant sections of the FPMP have been amended accordingy. The FPMP has been incorporated into the permit under Table S1.2 – Operating Techniques. The operator must carry out the activity in accordance with this plan.