| Permit Number: | PAN-005818 |
| --- | --- |
| Applicant name: | Peter Mault |
| Site Address: | Llwyn Onn, Bryneglwys, Corwen, Denbigshire LL21 9NA |
| Discharge Point NGR: | SJ 13784 48414 |
| Respond by date: | 25th September 2019 (10 working days) |
| Permitting Officer: | Katrin Raynor-Evans |

Brief Description of proposal:

A new application to dispose of waste diluted sheep dip, three times a year.  The applicant wishes to dispose a total of 8.4m3/day of diluted dip to a ratio of 3:1. The dip will be disposed of via a vacuum tanker and spread over a minimum of 1.26 hectares.

Habitats Screening Report – Designations or protected species/habitats:

No designated sites. Lowland heathland borders the disposal site, which is a protected habitat.

Risk Assessment Results (modelling or L1 Risk Assessment):

The risk assessment has produced a scoring of 59. This may be because a high leaching potential has been identified on site.

Miscellaneous:

N/A

NRM Responses:

Environment Management comments:

Officers name:
Date:

Biodiversity comments:

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Geoscience Response:

Assessed level 1 sheet. In general agreement with scoring. Have reduced distance to groundwater receptor to 50m this doesn’t appear to impact score. This was to account for likelihood of the near-by dwellings being on a private water supply from groundwater.

Although soil leachability medium, there is no superficial cover therefore conservative to assume high leachability. The unsaturated zone is likely >5m due to geographical indications.

Overall satisfied that location relatively low risk and L2 assessment not required.

Officers name: Haf Peskett
Date:24.09.19

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | No |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | No |
| Environmental Health | No |

Any Permitting Responses:

Date: