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Permit with introductory note
The Environmental Permitting (England & Wales) Regulations 2016

Hafren Dyfrdwy Cyfyngedig

Sugn-y-Pwll Distribution Service Reservoir
Tower Hill
Llangollen
LL20 7YH
Permit number
EPR/BB3398HV



Sugn-y-Pwll Distribution Service Reservoir
Permit Number EPR/BB3398HV
Introductory note
This introductory note does not form a part of the permit
The main features of the permit are as follows.  
The permit is for the regulation of a trade discharge originating from Sugn-y-Pwll distribution service reservoir. The maximum daily volume to be discharged is 7.2 cubic metres per day consisting exclusively of drinking water analyser fluid and the discharge is made to Tref-y-nant Brook. The operator is required to monitor the discharge as per the conditions within the permit.
The status log of the permit sets out the permitting history, including any changes to the permit reference number.

	Status log of the permit

	Description
	Date
	Comments

	Application PAN-005422
	Duly made 03/05/2019
	Application for discharge of trade effluent.

	Permit determined
	11/09/2019
	Permit issued to Hafren Dyfrdwy Cyfyngedig



End of introductory note
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Permit


The Environmental Permitting (England and Wales) Regulations 2016
Permit number
EPR/BB3398HV
The Natural Resources Body for Wales (“Natural Resources Wales”) hereby authorises, under regulation 13 of the Environmental Permitting (England and Wales) Regulations 2016 
Hafren Dyfrdwy Cyfyngedig (“the operator”),
whose registered office is
Packsaddle Wrexham Road
Rhostyllen
Wrexham
Clwyd
LL14 4EH
company registration number 03527628 
to operate a water discharge activity at
Sugn-y-Pwll Distribution Service Reservoir
Tower Hill
Llangollen
LL20 7YH

to the extent authorised by and subject to the conditions of this permit.

Name 									         Date	
	
[bookmark: _GoBack]Melissa Broad

	
11/09/2019



Authorised on behalf of Natural Resources Wales


Conditions
Management
0. [bookmark: _Ref373938749]General management
[bookmark: _Ref373938830]The operator shall manage and operate the activity:
in accordance with a written management system that identifies and minimises risks of pollution so far as is reasonably practicable, including those risks arising from operations, maintenance, accidents, incidents, non-conformances and those drawn to the attention of the operator as a result of complaints; and
using sufficient competent persons and resources.
Records demonstrating compliance with condition 1.1.1 shall be maintained. 
Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of the permit.
Operations
Permitted activities
The only activity authorised by the permit is the activity specified in schedule 1 table S1.1.
The site 
The discharge activity shall take place at the discharge point marked on the site plan at schedule 7 to this permit, and as listed in table S3.2
Emissions and monitoring
Emissions to water
The limits given in schedule 3 table S3.1 shall not be exceeded.
Emissions of substances not controlled by emission limits
The operator shall take appropriate measures to minimise so far as reasonably practicable the polluting effects of the emissions of substances in the discharge not controlled by emission limits (excluding odour).
Monitoring 
The operator shall, unless otherwise agreed in writing by Natural Resources Wales, undertake the monitoring specified in the following tables in schedule 3 to this permit:
point source emissions specified in tables S3.1 and S3.3.
The operator shall maintain records of all monitoring required by this permit.
Monitoring equipment, techniques, personnel and organisations employed for the emissions monitoring programme and the environmental or other monitoring specified in condition 3.3.1 shall have either MCERTS certification or MCERTS accreditation (as appropriate), where available, unless otherwise agreed in writing by Natural Resources Wales.
An accessible monitoring point shall be provided and maintained to enable the emissions monitoring programme to be carried out at the monitoring point specified in table S3.3 of schedule 3 and shown marked on the site plan in schedule 7. 
The monitoring programme for the parameters subject to schedule 3B shall be:
pre-scheduled to cover a calendar year and the programme recorded before the start of a calendar year sample period; and
spot samples collected at approximately equal intervals during the year, including samples from different days of the week and different times.  Approximately 10% of samples should be outside the normal sampling window which is 9am-3pm, Monday to Friday.
After becoming aware, or following a notification that a sample has not been taken on the schedule 3B Monitoring Programme pre-scheduled date, or is lost, or a result for that sample cannot be reported, the operator shall record the details and reschedule the sample.
Information
Records
All records required to be made by schedule 3, 4 and 5 to this permit shall:
be legible;
be made as soon as reasonably practicable;
if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and
be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 6 years from the date when the records were made. 
The operator shall maintain convenient access, in either electronic or hard copy, to the records, plan and management system required to be maintained by this permit. 
Reporting
The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.
Within the time period after the end of the reporting period specified in schedule 4 table S4.1 the operator shall, unless otherwise agreed in writing by Natural Resources Wales, submit reports of the monitoring and assessment carried out in accordance with the conditions of this permit, as follows:
in respect of the parameters and monitoring points specified in schedule 4 table S4.1;
[for the reporting periods specified in schedule 4 table S4.1 and] using the forms specified in schedule 4 table S4.2; and
giving the information from such results and assessments as may be required by the forms specified in those tables.
Notifications
Natural Resources Wales shall be notified as soon as reasonably practicable following detection, within the site of the regulated facility of:
any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution; and
any breach of a limit specified in schedule 3 table S3.1.
any other significant adverse environmental effects, which may have been caused by the activity, shall also be notified to Natural Resources Wales as soon as reasonably practicable following detection.
The information provided under condition 4.3.1 shall be supported by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.
Where Natural Resources Wales has requested in writing that it shall be notified when the operator is to undertake monitoring and/or spot sampling specified in schedule 3B, the operator shall inform Natural Resources Wales when the relevant monitoring and/or spot sampling is to take place. The operator shall provide this information to Natural Resources Wales at least 14 days before the date the monitoring is to be undertaken.
Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules:
Where the operator is a registered company:
any change in the operator’s trading name, registered name or registered office address; and
any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.
Where the operator is a corporate body other than a registered company:
(a) any change in the operator’s name or address; and
any steps taken with a view to the dissolution of the operator.
Where the operator proposes to make a change in the nature of the activity by increasing the concentration of, or the addition of, or allowing the introduction of, a substance to the activity to an extent that the operator considers could have a significant adverse environmental effect on the receiving waters, and the change is not permitted by emission limits specified within schedule 3 table S3.1 or the subject of an application for approval under the EP Regulations or under the terms of this permit:
Natural Resources Wales shall be notified in writing at least 14 days before the increase or addition or allowing the introduction; and
the notification shall contain a description of the proposed change.
Interpretation
In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.
In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “as soon as reasonably practicable”, in which case it may be provided by telephone.


Schedule 1 – Operations 
	Table S1.1 Activities

	Description of activity
	Limits of specified activity

	Discharge of trade effluent consisting of drinking water analyser fluid via Trade Effluent Outfall
	N/A










Schedule 2 – Waste types, raw materials and fuels
Schedule 2 not in use.



Schedule 3 – Emissions and monitoring
	Table S3.1 Point Source emissions to water (other than sewer) – emission limits and monitoring requirements

	Effluent and discharge point
	Parameter  
	Limit (including unit)
	Reference Period
	Limit of effective range
	Monitoring frequency
	Compliance Statistic

	Discharge of trade effluent consisting of drinking water analyser fluid via Trade Effluent Outfall
	Maximum daily discharge volume
	7.2 m3/day


	Total daily volume
	N/A                                                                
	N/A
	 Maximum 

	
	Total available chlorine
	50 µg/l
	Instantaneous (spot sample)
	N/A
	As specified in schedule 3B
	Maximum
 

	
	pH
	6 to 9
	Instantaneous (spot sample)
	N/A
	As specified in schedule 3B
	Minimum and maximum



	Table S3.2 Discharge points

	Effluent Name
	Discharge Point
	 Discharge point NGR
	Receiving water

	Trade effluent consisting of drinking water analyser fluid
	Trade Effluent Outfall
	SJ 26493 43353
	Tref-y-nant Brook



	Table S3.3 Monitoring points

	Effluent and discharge point
	Monitoring type
	Monitoring point NGR
	Monitoring point reference

	Trade effluent consisting of drinking water analyser fluid via Trade Effluent Outfall
	Effluent sampling
	SJ 26427 43287
	Trade Effluent Sampling Point




Schedule 3B - OSM tier 2 sampling frequency
	Tier 2 Category
	Parameter
	`Normal frequency` of  samples per year 

	Reduced Sampling frequency after 12 consecutive months of numeric permit compliance, samples per year or pro rata over the remainder of a year
	On numeric limit failure return to normal frequency as soon as reasonably practicable, samples per 12 months
	Out of hours samples

	> 5m3/d (but not in tier 3) with numeric limits for ammoniacal nitrogen (expressed as N), nutrients, hazardous pollutants, UWWTR self monitoring
	Sanitary 






Non sanitary
	12






6
	6






6
	12






6
	For 12 samples 1 out of hours sample per annum, for 6, 1 every 2 years on average



	>20 m3/d (but not in tier3) with numeric limits for one or more of biochemical oxygen demand or suspended solids or pH or temperature only.
	Sanitary
	12
	4
	12
	For 12 samples 1 out of hours sample per annum, for 4, 1 every 3 years on average





Schedule 4 – Reporting
Parameters, for which reports shall be made, in accordance with conditions of this permit, are listed below.
	Table S4.1 Reporting of monitoring data

	Parameter
	Monitoring point reference
	Reporting period
	Period begins

	Operator Self Monitoring – Total available chlorine and pH
	Trade Effluent Sampling Point
	Quarterly
Report to be submitted within 28 days
	1st of month

	Operator Self Monitoring summary report 
	Trade Effluent Sampling Point
	Annually
Report to be submitted within 2 months of the end of the calendar year
	1 January



	Table S4.2 Reporting forms

	Parameter
	Reporting format

	OSM – Total available chlorine and pH
	Quarterly - Electronic format specified by Natural Resources Wales

	Operator Self Monitoring summary report
	Annually - Summary report of compliance with the monitoring programme specified in Table 3.1 and Schedule 3B in a format specified by Natural Resources Wales





Schedule 5 – Notification 
These pages outline the information that the operator must provide. 
Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.
If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.
Part A
	Permit Number
	EPR/BB3398HV

	Name of operator
	

	Location of Facility
	Sugn-y-Pwll Distribution Service Reservoir, Tower Hill, Llangollen, LL20 7YH

	Time and date of the detection 
	



	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques,  accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution

	To be notified within 7 days of detection unless otherwise agreed in writing by Natural Resources Wales 

	Date and time of the event
	

	Reference or description of the location of the event 
	

	Description of where any release into the environment took place
	

	Substances(s) potentially released/type or nature of sewage released
	

	Best estimate of the quantity or rate of release of substances and/or duration of discharge
	

	Best estimate of the environmental impact of the discharge
	

	Measures taken, or intended to be taken, to stop any emission
	

	Description of the failure or accident.
	



	(b) Notification requirements for the breach of a limit specified in schedule 3 table S3.1 

	The information specified below is to be notified to Natural Resources Wales as soon as reasonably practicable following detection.

	Monitoring point reference/ source
	

	Self monitoring regime (where relevant)
	e.g. OSM


	Type of failure 
	e.g. maximum/other

	Date of sample/event
	

	Parameter
	

	Result and units
	

	Limit and units
	


Part B – to be submitted as soon as reasonably practicable unless otherwise agreed in writing by Natural Resources Wales
	Any more accurate information on the matters for notification under Part A.
	

	Measures taken, or intended to be taken, to prevent a recurrence of the incident/breach/exceedance
	

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	



	Name*
	

	Post
	

	Signature
	

	Date
	


* authorised to sign on behalf of the operator


Schedule 6 – Interpretation 
“accident” means an accident that may result in pollution.
"annually" means once every year.
“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.
“appropriate measures” for the purposes of the emission of substances not controlled by emission limits condition (condition 3.2.1) do not require the operator to undertake treatment to a level beyond that specified in schedule 1 table S1.1, or to carry out routine monitoring for substances not controlled by emission limits.
“emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the permitted activities, which are not controlled by an emission limit.
“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2016 No.1154 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.
“MCERTS” means Natural Resources Wales’ Monitoring Certification Scheme.
“Natural Resources Wales” means the Natural Resources Body for Wales established by article 3 of the Natural Resources Body for Wales (Establishment) Order 2012. The Natural Resources Body for Wales (Functions) Order 2013 transferred the relevant functions of the Countryside Council for Wales, and functions of the Environment Agency and the Forestry Commission in Wales to the Natural Resources Body for Wales.
"quarter" means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.
“significant pollution” means a high level impact incident as indicated by NRW incident classification system.
“year” means calendar year ending 31 December.


[image: ]Schedule 7 – Site plan

© Crown Copyright and database right 2019. Ordnance Survey licence number 100019741.

END OF PERMIT
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