Permit Number: 	EP3698FL								Operator: 		CWM Environmental Limited

Facility:		Nantycaws HCI Waste Transfer & Treatment Facility		Form Number: 	 Air1 / 08/07/21

# Reporting of emissions to air for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | Hydrogen Sulphide | - | - |  | No Standard |  |  |
| A1 | Ammonia | 2.0 mg/Nm3 | - |  | No Standard |  |  |
| A1 | Odour | 1000 OUE/Nm3 | - |  | BS EN 13725 |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	EP3698FL								Operator: 		CWM Environmental Limited

Facility:		Nantycaws HCI Waste Transfer & Treatment Facility		Form Number: 	Water1 / 08/07/21

# Reporting of emissions to water (other than to sewer) and land for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| The watercourse adjacent to the site which flows south before joining the Afon-y-Bantwen | Oil and grease | None visible | Weekly or as agreed in writing with Natural Resources Wales |  |  |  | - |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	EP3698FL								Operator: 		CWM Environmental Limited

Facility:		Nantycaws HCI Waste Transfer & Treatment Facility		Form Number: 	WaterUsage1 / 08/07/21

# Reporting of Water Usage for the year YYYY

| Water Source | Usage (m3/year | Specific Usage (m3/unit output) |  |
| --- | --- | --- | --- |
| Mains water |  |  |  |
| TOTAL WATER USAGE |  |  |  |

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(authorised to sign as representative of Operator)

Permit Number: 	EP3698FL								Operator: 		CWM Environmental Limited

Facility:		Nantycaws HCI Waste Transfer & Treatment Facility		Energy1 / 08/07/21

# Reporting of Energy Usage for the year YYYY

| Energy Source | Energy Usage |  | Specific Usage (MWh/unit output) |  |
| --- | --- | --- | --- | --- |
|  | Quantity | Primary Energy (MWh) |  |  |
| Electricity * | MWh |  |  |  |
| Natural Gas | MWh |  |  |  |
| TOTAL | - |  |  |  |

* Conversion factor for delivered electricity to primary energy = 2.4

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	EP3698FL								Operator: 		CWM Environmental Limited

Facility:		Nantycaws HCI Waste Transfer & Treatment Facility		Form Number: 	Performance1 / 08/07/21

# Reporting of other performance indicators for the period DD/MM/YYYY to DD/MM/YYYY

| Parameter |  | Units |  |
| --- | --- | --- | --- |
| Total raw material used |  | tonnes |  |
| Generation of residues (solid waste generated by the waste treatment activity) |  | tonnes |  |
| Generation of waste water |  | m3 |  |
| Total amount of waste treated |  | tonnes |  |
| Total amount of compost produced |  | tonnes |  |

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)