## IED AR1
Form Name IED AR1
V.3.1 Dec 2015
IED Reporting - Energy Usage & Emissions for the year: | 2020
Operator: | Siemens
Site Location: | Severn Power Station
Permit/Variation number: | EPR / HP3737UE | LCP: | 325
LCP Net Rated Thermal Input Capacity (MW):
By Fuel
Parameter | TOTAL | Coal | Lignite | Peat | Biomass | Other solid fuels | Liquid fuels | Natural gas | Other gases
Annual energy input (TJ) | 2826.7 | [6 empty] | 2826.7
Total Annual SO2 emission (tonnes) | 0.769
Total Annual NOx emission (tonnes) | 94.07
Total Annual Dust (PM) emission (tonnes) | 0
Signed on behalf of the Operator | Simon Matthews |  | Date | 2021-02-22
NOTES:
(a) Annual energy input must be reported in TJ to 1 decimal places
(b) Annual emissions to air must be reported to 2 decimal places and exclude start-up and shut-down
(c) All forms must be saved in the format IED AR1—DEFRA IED LCP Number - Inventory Year i.e. IED AR1-XXX-2013
(d) No PDF documents shall be accepted
(e) Upload Forms held on GOV.UK will be accepted other variants of the forms will be automatically rejected which may impact their statutory obligations to report on time

## IED PM1
RELEASES TO AIR
RETURN OF DISCONTINUOUS MONITORING RESULTS
Operator: Siemens
Location: Severn Power Station |  | Form: |  | IED PM1
Permit/Variation Number: | EPR/HP3737UE | Version: |  | V.3.1 31 Dec 2015
Year: 2020 | LCP 325- Unit 20
Six months to - Dec 2020
Measurement approach | NOx | SO2 | CO | Hg | Dust
Time
Date
Measurement 1 (mg/m3)(b)
Measurement 2 (mg/m3)(b)
Measurement 3 (mg/m3)(b)
Alternative approach(c)
Method(d) |  | FS |  |  | DF
Calculation (mg/m3) |  | 0.24 |  |  | 0
Operational data(a)
Load (%MCR) | 100%
Fuel 1 name (%) | Gas (100%) |  | Gas (100%)
Fuel 2 name (%) | Gas (100%) |  | Gas (100%)
Fuel 3 name (%) | Gas (100%) |  | Gas (100%)
Daily Emission Limit Value
(mg/m3) | 50 (daily mean) | 0.24 | 110 (daily mean) | none | 0
NOTES:
(a) Operational data for the test period (measurement approach) or the six month period to date (Alternative approach)
(b) Reference conditions for mg/m3 are 15% O2 CCGT, 6% O2 solid fuels, 3% O2 for oil and gas, dry, 0°C, 101.325 kPa
(c) Alternative approach to discontinuous monitoring by agreement with the Competent Authority
(d) Use abbreviation: NF for agreed NOx factor, FS for fuel sulphur content, CS for agreed CO factor, DF for agreed dust factor
Signed on behalf of the Operator by: |  |  | Simon Matthews
Date of return: |  |  | 2021-02-18