## L5
Nant-y-Gwyddon Landfill Site |  |  |  | Best Practice Leachate Sampling 2021
Location: Leachate 5
Determinands | Units | 2021-01-01 | 2021-02-01 | 2021-03-01 | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01
Field Measurements
pH | pH Units | 2021-03-01: 9.91
Temperature | °C | 2021-03-01: 7.9
Conductivity | uS | 2021-03-01: 1020
Suite | Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarterly | Monthly
Date of Sampling |  | 2021-01-01: 05.01.21; 2021-02-01: 16.02.21; 2021-03-01: 17.03.21
Laboritory Measurements
pH | pH Units | 2021-01-01: 8.09; 2021-02-01: 7.9; 2021-03-01: 7.73
Conductivity @ 20c | uS/cm | 2021-01-01: 1946; 2021-02-01: 532; 2021-03-01: 1049
BOD total+ATU | mg/l O | 2021-01-01: 4; 2021-02-01: <1; 2021-03-01: <1
COD (Total) | mg/l O | 2021-01-01: 91; 2021-02-01: 17; 2021-03-01: 43
Alkalinity total | mg/l CaCO3 | 2021-01-01: 844; 2021-02-01: 213; 2021-03-01: 374
Ammonium (as N) | mg/l N | 2021-01-01: 1.08; 2021-02-01: 19.1; 2021-03-01: 51.1
Total Oxidised Nitrogen | mg/l N | 2021-02-01: 2.5
Nitrite | mg/l N | 2021-02-01: <0.1
Nitrate | To | 2021-01-01: 12; 2021-02-01: 11
Chloride | mg/l | 2021-01-01: 23; 2021-02-01: 33; 2021-03-01: 73
Sulphate | mg/l | 2021-02-01: 11
Sulphide (dissolved) | mg/l S | 2021-02-01: 0.2
Phenols (tot. monohydric) | mg/l | 2021-01-01: <0.1; 2021-02-01: <0.01
Total Organic Carbon | mg/l
Cadmium | ug/l | 2021-02-01: <0.2
Chromium | ug/l | bar: 2021-02-01
Lead | ug/l | bar: 2021-02-01
Copper | ug/l | 2021-02-01: 7
Nickel | ug/l | 2021-02-01: 2
Zinc | ug/l | 2021-02-01: 14
Iron | ug/l | 2021-02-01: 44
Phosphorus | mg/l P
Potassium | mg/l | 2021-02-01: 15
Phosphate. Ortho as P | mg/l
Butan-1-ol | mg/l
Butan-2-ol | mg/l
Ethanol | mg/l
Ethyl acetate | mg/l
Ethyl acrylate | mg/l
Methyl ethyl ketone | mg/l
Ethyl Benzene | ug/l
Tetrachloroethene | ug/l
Carbon Tetrachloride | ug/l
M&P Xylene | ug/l | bar: 2021-02-01
O Xylene | ug/l | bar: 2021-02-01
Total Xylenes | ug/l
n-proanol | ug/l
Sodium | mg/l | 2021-02-01: 26
Magnesium | mg/l | 2021-02-01: 12
Manganese | mg/l
1,2 - Dichloroethane | ug/l | bar: 2021-02-01
Formaldehyde | mg/l
2 Methyl prop-l-ol | mg/l
suspended solids | mg/l | 2021-02-01: <10
acetone | ug/l
acrylonitrile | ug/l
arsenic | ug/l
benzene | ug/l | bar: 2021-02-01
calcium | mg/l
detergents, anionicas NaLS | mg/l
xylene | ug/l
mercury | ug/l
methanol | ug/l
propan-2-ol | ug/l
1,1,1,-Trichloroethane | ug/l | bar: 2021-02-01
Styrene | ug/l | bar: 2021-02-01
toluene | ug/l
trichloroethene | ug/l | bar: 2021-02-01
dimethoxymethane | ug/l

## L5a
Nant-y-Gwyddon Landfill Site |  |  |  | Best Practice Leachate Sampling 2021
Location: L5a: Leachate discharge from this sump drains into downgradient pipeline.
Determinands | Units | 2021-01-01 | 2021-02-01 | 2021-03-01 | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01
Field Measurements
pH | pH Units | 2021-03-01: 990
Temperature | °C | 2021-03-01: 10.2
Conductivity | uS | 2021-03-01: 610
Leachate Level | m
Suite | Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarterly | Monthly
Date of Sampling |  | 2021-01-01: 05.01.21; 2021-02-01: 16.02,21; 2021-03-01: 17.03.21
Laboritory Measurements
pH | pH Units | 2021-01-01: 8.24; 2021-02-01: 7.96; 2021-03-01: 7.92
Conductivity @ 20c | uS/cm | 2021-01-01: 863; 2021-02-01: 475; 2021-03-01: 613
BOD total+ATU | mg/l O | bar: 2021-01-01 to 2021-03-01
COD (Total) | mg/l O | 2021-01-01: 22; 2021-02-01: 12; 2021-03-01: 28
Alkalinity total | mg/l CaCO3 | 2021-01-01: 301; 2021-02-01: 215; 2021-03-01: 226
Ammonium (as N) | mg/l N | 2021-01-01: 0.04; 2021-02-01: 0.15; 2021-03-01: 0.03
Total Oxidised Nitrogen | mg/l N | 2021-02-01: 4
Nitrite | mg/l N | 2021-02-01: 0.3
Nitrate | mg/l N | 2021-02-01: 17.3
Chloride | mg/l | 2021-01-01: 73; 2021-02-01: 16; 2021-03-01: 32
Sulphate | mg/l | 2021-02-01: 32
Sulphide (dissolved) | mg/l S | 2021-02-01: <0.1
Phenols (tot. monohydric) | mg/l | 2021-02-01: <0.01
Total Organic Carbon | mg/l
Cadmium | ug/l | 2021-02-01: <0.2
Chromium | ug/l | bar: 2021-02-01
Lead | ug/l | bar: 2021-02-01
Copper | ug/l | 2021-02-01: 10
Nickel | ug/l | bar: 2021-02-01
1,1,1,-Trichloroethane | ug/l | bar: 2021-02-01
Zinc | ug/l | 2021-02-01: 16
Iron | ug/l | 2021-02-01: <10
Phosphorus | mg/l P
Phosphate. Ortho as P | mg/l
Butan-1-ol | mg/l
Butan-2-ol | mg/l
Ethanol | mg/l
Ethyl acetate | mg/l
Ethyl acrylate | mg/l
Benzene | ug/l | bar: 2021-02-01
Methyl ethyl ketone | mg/l
Ethyl Benzene | ug/l
Tetrachloroethene | ug/l
Carbon Tetrachloride | ug/l
M&P Xylene | ug/l | bar: 2021-02-01
O Xylene | ug/l | bar: 2021-02-01
Total Xylenes | ug/l
n-proanol | ug/l
2 Methyl prop-l-ol | mg'l
Potassium | mg/l | 2021-02-01: 10
Sodium | mg/l | 2021-02-01: 13
Calcium | mg/l
Magnesium | mg/l | 2021-02-01: 13
Manganese | mg/l
1,2 - Dichloroethane | ug/l | bar: 2021-02-01
Formaldehyde | mg/l
suspended solids | mg/l | 2021-02-01: <10
acetone | ug/l
acetonitrile | mg/l
acrylonitrile | ug/l
arsenic | ug/l
detergents, anionicas NaLS | mg/l
mercury | ug/l
methanol | ug/l
Styrene | ug/l | bar: 2021-02-01
propan-2-ol | ug/l
toluene | ug/l
trichloroethene | ug/l | bar: 2021-02-01
dimethoxymethane | ug/l

## LPS1
Nant-y-Gwyddon Landfill Site |  |  |  | Best Practice Leachate Sampling 2021
Location: Leachate LPS1
Determinands | Units | 2021-01-01 | 2021-02-01 | 2021-03-01 | 2021-04-01 | 2021-05-01 | 2021-06-01 | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01
Field Measurements
pH | pH Units | 2021-03-01: 9.97
Temperature | °C | 2021-03-01: 7.1
Conductivity | uS | 2021-03-01: 230
Leachate Level | m
| Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarterly | Monthly
Date of Sampling |  | 2021-01-01: 05.01.21; 2021-02-01: 16.02.21; 2021-03-01: 17.03.21
Laboritory Measurements
pH | pH Units | 2021-01-01: 7.43; 2021-02-01: 7.41; 2021-03-01: 7.21
Conductivity @ 20c | uS/cm | 2021-01-01: 185; 2021-02-01: 151; 2021-03-01: 174
BOD total+ATU | mg/l O | 2021-01-01: <1; 2021-02-01: 3; 2021-03-01: <1
COD (Total) | mg/l O | 2021-01-01: <5; 2021-02-01: 10; 2021-03-01: 10
Alkalinity total | mg/l CaCO3 | 2021-01-01: 63; 2021-02-01: 55; 2021-03-01: 63
Ammonium (as N) | mg/l N | 2021-01-01: 0.1; 2021-02-01: 0.05; 2021-03-01: 0.09
Total Oxidised Nitrogen | mg/l N | 2021-02-01: 0.3
Nitrite | mg/l N | 2021-02-01: <0.1
Nitrate | mg/l N | 2021-02-01: 1.3
Chloride | mg/l | 2021-01-01: 5; 2021-02-01: 7; 2021-03-01: 13
Sulphate | mg/l | 2021-02-01: 18
Sulphide (dissolved) | mg/l S | 2021-02-01: <0.1
1,1,1,-Trichloroethane | ug/l | bar: 2021-02-01
Phenols (tot. monohydric) | mg/l | 2021-02-01: <0.01
Total Organic Carbon | mg/i
Cadmium | ug/l | 2021-02-01: <0.2
Chromium | ug/l | bar: 2021-02-01
Lead | ug/l | bar: 2021-02-01
Copper | ug/l | 2021-02-01: 14
Nickel | ug/l | bar: 2021-02-01
Zinc | ug/l | 2021-02-01: 10
Iron | ug/l | 2021-02-01: <10
Phosphate. Ortho as P | mg/l
Butan-1-ol | mg/l
Butan-2-ol | mg/l
Ethanol | mg/l
Ethyl acetate | mg/l
Ethyl acrylate | mg/l
Methyl ethyl ketone | mg/l
Ethyl Benzene | ug/l
Tetrachloroethene | ug/l
Carbon Tetrachloride | ug/l
M&P Xylene | ug/l | bar: 2021-02-01
O Xylene | ug/l | bar: 2021-02-01
Total Xylenes | ug/l
n-proanol | ug/l
2 Methyl prop-l-ol | mg/l
Phosphorus | mg/l P
Potassium | mg/l | 2021-02-01: 4
Sodium | mg/l | 2021-02-01: 3
Magnesium | mg/l | 2021-02-01: 11
Manganese | mg/l
1,2 - Dichloroethane | ug/l | bar: 2021-02-01
Formaldehyde | mg/l
suspended solids | mg/l | 2021-02-01: <10
acetone | ug/l
acetonitrile | mg/l
acrylonitrile | ug/l
arsenic | ug/l
benzene | ug/l | bar: 2021-02-01
calcium | mg/l
detergents, anionicas NaLS | mg/l
mercury | ug/l
Styrene | ug/l | bar: 2021-02-01
methanol | ug/l
propan-2-ol | ug/l
toluene | ug/l
trichloroethene | ug/l | bar: 2021-02-01
dimethoxymethane | ug/l