[image: image3.jpg]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




[image: image1.jpg]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




[image: image2.jpg]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales







	FAO: Mr J Cox
Cambrian Hydro Power Consult

45 Maesceinion

Waunfawr

Aberystwyth 

Ceredigion

SY23 3QQ
	Our reference: PAN-003617 & 

PAN-003618


Date: 01/11/2018



Dear Mr Cox, 
Invalid Application
Application numbers: PAN-003617 & PAN-003618
We have received your application for a licence, but it is not complete. 

As per the pre-application letter dated 04/10/2018, please provide the following:

· Geomorphology survey – further to those submitted during the pre-application review, please submit a ‘photomontage of the proposed intake/weir structure’;
· The HEP Water Usage Calculation Sheet;

· Details of how you propose to manage any such increased sediment deposition and how you propose to mitigate the accumulation of sediment in the gap between the new intake weir and the existing weir so as to allow easy passage for fish;
Clarification needed on information submitted in the forms or as supplementary to the application: 

· Please provide the NGR for the actual discharge point, as the same NGR has been stated for the abstraction point;
· We do not tend to round up figures as you have done in section 5 of form WRD – therefore, the maximum hourly abstraction volume would be 3,852 cubic metres, and daily would be 92,448 cubic metres. Also, we would only state the maximum potential and therefore must calculate that the maximum yearly will be 33,743,520 cubic meteres so as to allow a contingency;

· Please could you add the section titled ‘Protected flow submerged orifice’ in section 6 of form WRD into the technical drawings as well. This will make any future reference easier by having all key information in the technical drawings;
· Please provide the dimensions of the submerged orifice on the technical to show HoF levels, as well as the mAOD of the upstream riverbed to allow us to understand the total height of the structures and height of the weirs – it is not clear what depth of water will be present over the intake screen;

· Not all dimentions have their units stated, please state the units of the measurements on the technical drawings;

Right of Access:

With regards to the Rights of Access letter submitted, please can you clarify whether Rufus and Cherry Fairweather intend to be the licence holders under the proposed scheme, or is the licence intended to be in the name of Cambrian Hydro Power Ltd? 
If not, we will need a formal statement completed and returned to us. We will not accept a copy of a letter from the landholder as proof of a right of access. It must be something that creates or leads to a legal right or an interest and is legally binding. 
You must be able to prove that your right of access for the purpose of water abstraction continues for 12 months after any abstraction licence is issued, unless you only need the licence for a period of less than 12 months. 

Section 35 of the Water Resources Act 1991 states that an application shall not be entertained unless the applicant satisfies Natural Resources Wales (‘NRW’) that they have, or at the time when the proposed licence is to take effect, will have a right of access to land contiguous to the inland waters at that place and that they will continue to have such a right for a period of at least one year beginning with the date on which the proposed licence is to take effect.

The formal statement for granting rights of access which can be found on our websites here:

https://cdn.naturalresources.wales/media/2596/supporting-guidance-note-sgn-1-rights-of-access-guidance-for-abstraction-licences.pdf?mode=pad&rnd=131503714960000000 
If we have not received the information we have asked for within 28 days of the date of this letter, we cannot accept your application and we will return it to you, along with your application fee.

If you have any questions about your application, please contact me (see below for details). 

Yours sincerely,
Elizabeth Smith
Water Resources Permitting Officer
Tŷ Cambria   (   29 Heol Casnewydd   (   Caerdydd   (    CF24 0TP
Cambria House   (   29 Newport Road    (   Cardiff   (    CF24 0TP
Croesewir gohebiaeth yn y Gymraeg a’r Saesneg
Correspondence welcomed in Welsh and English

www.naturalresourceswales.gov.uk
www.cyfoethnaturiolcymru.gov.uk

Tŷ Cambria   (   29 Heol Casnewydd   (   Caerdydd   (    CF24 0TP
Cambria House   (   29 Newport Road    (   Cardiff   (    CF24 0TP
Croesewir gohebiaeth yn y Gymraeg a’r Saesneg
Correspondence welcomed in Welsh and English


[image: image1.jpg][image: image2.jpg][image: image3.jpg]