Permit Number: 	AB3092ZE					Operator: 		Bryn Power Limited

Facility:		Gelliargwellt Farm Anaerobic Digester Facility		Form Number: 	WaterUsage1 / 10/06/21

# Reporting of Water Usage for the year YYYY

| Water Source | Usage (m3/year) | Specific Usage (m3/unit output) |  |
| --- | --- | --- | --- |
| Mains water |  |  |  |
| TOTAL WATER USAGE |  |  |  |

Operator’s comments:

Signed …………………………………………………………….  		Date………………………..

(authorised to sign as representative of Operator)

Permit Number: 	AB3092ZE		Operator: 		Bryn Power Limited

Facility:		Gelliargwellt Farm Anaerobic Digester Facility		Form Number: 	Energy1 / 10/06/21

# Reporting of Energy Usage for the year YYYY

| Energy Source | Energy Usage |  | Specific Usage (MWh/unit output) |  |
| --- | --- | --- | --- | --- |
|  | Quantity | Primary Energy (MWh) |  |  |
| Electricity * | MWh |  |  |  |
| Natural Gas | MWh |  |  |  |
| Gas Oil | tonnes |  |  |  |
| Recovered Fuel Oil | tonnes |  |  |  |
| TOTAL | - |  |  |  |

* Conversion factor for delivered electricity to primary energy = 2.4

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	AB3092ZE			Operator: 		Bryn Power Limited

Facility:		Gelliargwellt Farm Anaerobic Digester Facility		Form Number: 	 Air 1 / 17/08/22

# Reporting of emissions to air for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 CHP Exhaust (Jenbacher Engine) [5] | Oxides of Nitrogen (NO and NO2 expressed as NO2) | 500mg/m3 | Hourly mean |  | BS EN 14792 |  |  |
|  | Carbon monoxide | 1400mg/m3 | Hourly mean |  | BS EN 15058 |  |  |
|  | Sulphur dioxide | 350mg/m3 | Hourly mean |  | BS EN 14791 |  |  |
|  | VOC’s | 2000mg/m3 | Hourly mean |  | BS EN 12619 |  |  |
| A2 Flare Stack [5],[6] | Oxides of Nitrogen (NO and NO2 expressed as NO2) | No limit set | Hourly mean |  | BS EN 14792 |  |  |
|  | Carbon monoxide |  | Hourly mean |  | BS EN 15058 |  |  |
|  | Sulphur dioxide |  | Hourly mean |  | BS EN 14791 |  |  |
|  | VOC’s |  | Hourly mean |  | BS EN 12619 |  |  |
| A5 CHP Exhaust (Edina Engine) [5] | Oxides of Nitrogen (NO and NO2 expressed as NO2) | 500mg/m3 | Hourly mean |  | BS EN 14792 |  |  |
|  | Carbon monoxide | 1400mg/m3 | Hourly mean |  | BS EN 15058 |  |  |
|  | Sulphur dioxide | 350mg/m3 | Hourly mean |  | BS EN 14791 |  |  |
|  | VOC’s | 2000mg/m3 | Hourly mean |  | BS EN 12619 |  |  |
| A6 Carbon filter on the processing liquid tank | Ammonia (NH3) | 20 mg/Nm3 | - |  | EN ISO 21877 |  |  |
|  | Hydrogen sulphide (H2S) | No limits set | - |  | US EPA Method 11 (Impinger method) or CEN TS 13649 (Charcoal tube), US EPA Method 15 |  |  |
| A7 Biofilter serving the waste reception building | Ammonia (NH3) | 20 mg/Nm3 | - |  | EN ISO 21877 |  |  |
|  | Hydrogen sulphide (H2S) | No limits set | - |  | US EPA Method 11 (Impinger method) or CEN TS 13649 (Charcoal tube), US EPA Method 15 |  |  |
| A9 Covered digestate lagoon vents | Ammonia (NH3) | 20 mg/Nm3 | - |  | EN ISO 21877 |  |  |
|  | Hydrogen sulphide (H2S) | No limits set | - |  | US EPA Method 11 (Impinger method) or CEN TS 13649 (Charcoal tube), US EPA Method 15 |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

- The measurement uncertainty specified in LFTGN08 v2 2010 shall apply

- Monitoring of flare emissions is only necessary when the flare operated in excess of 10% of the time

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	AB3092ZE			Operator: 		Bryn Power Limited

Facility:		Gelliargwellt Farm Anaerobic Digester Facility		Form Number: 	Performance 1 / 17/08/22

# Reporting of other performance indicators for the period DD/MM/YYYY to DD/MM/YYYY effective from 17 August 2022

| Parameter |  | Units |  |
| --- | --- | --- | --- |
| Total raw material used |  | tonnes |  |
| Total amounts of waste treated |  | tonnes |  |
| Biogas produced by AD Facility |  | m3 |  |
| Power output - electricity |  | MWh |  |
| Energy efficiency |  | MWh/m3 biogas |  |
| Electrical energy exported to the grid |  | MWh |  |
| Electrical energy drawn from the grid |  | MWh |  |
| Operational time of emergency flare |  | % |  |
| Amount of gas sent to emergency flare |  | m3 |  |
| Generation of residue waste |  | tonnes |  |
| Generation of wastewater |  | m3 |  |

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)