	Document no:   EMF 005 
	Environmental Management Systems
	Issue no: 1.2
	Page 1 of 2

	Issue date: 07/04/21
	Issued by:  Technical & QA Department

	Link documents: EMS 013

	Reason for amendment:  Annual Review
	Authorised by:


[image: image1.png]




	RADNOR HILLS MINERAL WATER COMPANY

ENVIRONMENTAL MANAGEMENT SYSTEMS

 EMF 005 – NRW SCHEDULE 5 REPORTING FORM




Schedule 5 - Notification
These pages outline the information that the operator must provide.

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet, and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A

	Permit Number
	EPR / AB3697CN – (Emissions to Air and Water) 
or 
EPR / BB3298CT – (Wetland Treatment System)
(Highlight the applicable permit)

	Name of operator
	Radnor Hills Mineral Water Company Ltd

	Location of Facility
	Radnor Hills, Heartsease, Knighton, Powys, LD7 1LU

	Time and date of the detection
	07:00am – 20/07/21


	(a) Notification requirements for any activity that gives rise to an incident or accident which

significantly affects or may significantly affect the environment

	To be notified Immediately

	Date and time of the event
	07:00am – 20/07/21

	Reference or description of the

location of the event
	At discharge of MBR waste treatment plant 

	Description of where any release into the environment took place
	Discharge of treated wastewater is to ground.

	Substances(s) potentially released
	Treated wastewater leaving the plant has exceeded temperature limit on permit.

	Best estimate of the quantity or rate of release of substances
	6.5m3/hr

	Measures taken, or intended to

be taken, to stop any emission
	No discharge to river at present.

	Description of the failure or accident.
	Ambient temperatures of extreme heat causing the temperature of the effluent at the holding tanks, biomass in the bioreactor and thus the treated effluent to increase.


	(b) Notification requirements for the breach of a permit condition

	To be notified immediately

	Emission point reference/ source
	W1 – Treated effluent discharge

	Parameter(s)
	Temperature

	Limit
	25°C

	Measured value and uncertainty
	26.9°C
-
+/- 0.2°C

	Date and time of monitoring
	20/07/21

-
07:00am

	Measures taken, or intended to

be taken, to stop the emission
	Action 1: Checked calibration of the temperature. Unit has passed within tolerance of +/- 0.2°C.
Action 2: Sample taken at outfall prior to discharge to ground temperature reading 26°C. It has reduced but not within permit limits.  



	Time periods for notification following detection of a breach of a limit

	Parameter
	Notification period

	
	

	
	


	(c) In the event of a breach of permit condition which poses an immediate danger to human health

or threatens to cause an immediate significant adverse effect on the environment:

	To be notified immediately

	Description of where the effect on the environment was detected
	

	Substances(s) detected
	

	Concentrations of substances

detected
	

	Date of monitoring/sampling
	


Part B - to be submitted as soon as practicable

	Any more accurate information on the matters for notification under Part A.
	

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	Actions detailed in part A.


	Measures taken, or intended to be taken, to rectify,

limit or prevent any pollution of the environment which has been or may be caused by the emission
	No discharge to river at present.
 

	The dates of any unauthorised emissions from the facility in the preceding 24 months.
	26/02/19

24/07/19

12/11/19
07/01/20
24/11/20

01/12/20

08/12/20

12/01/21

26/01/21

02/02/21

09/02/21

16/02/21

23/02/21


	Name*
	R Isaac

	Post
	[image: image2.png]RADNOR
HILLS



Technical & Quality Manager

	Signature
	

	Date
	20/07/21


* authorised to sign on behalf of the operator

