HAF281 – 24.02.2021
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Part A 
	Permit Number
	PP3139GB

	Name of Operator
	Enovert (North) Limited

	Location of Installation
	Bangor Road
Johnstown
Wrexham
LL14 6ET

	Time and date of the detection
	12/01/2021

	b) Notification requirements for breach of a limit

	To be notified within 24 hours of detection unless otherwise specified

	Emission point reference/source
	HAF SW1a
Ammoniacal N 
1.8mg/l
1.9mg/l
12/01/2021

	Parameter(s)
	

	Limit
	

	Measured value and uncertainty
	

	Date and time of monitoring
	

	Measures taken, or intended to be taken, to stop the emission
	Surface Water Monitoring Point (SW2) will continue to be monitored monthly, in accordance with Environmental Permit PP3139GB.  


Part B
	Any more accurate information on the matters for notification under Part A.
	

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	The ammonia breach is very minor and falls well within the uncertainty of the laboratory test. The last compliance breach for this parameter in SW1a occurred in July 2019 (2.9mg/l). Since July 2019, the concentration of Ammoniacal N hasn’t exceeded the compliance limit, therefore is it unusual and we expect this to be a result of background variations. 
We have switched to a new accredited laboratory in January 2021 so there may be a slight variation to the results as a result.
Future monitoring results will be reviewed to see if the elevated concentrations continue or if, as the historical results suggest, that this particular set of results are likely to be anomalous.

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment or harm which has been or may be caused by the emission
	No pollution is considered to have been caused. If leachate leakage was the cause then we would be seeing a wide range of parameters being elevated, which is not the case.

	The dates of any unauthorised emissions from the installation in the preceding 24 months.
	


	Name*
	Elizabeth Forrest

	Post
	Environmental Data Analyst

	Date
	24/02/2021


* authorised to sign on behalf of Enovert (North) Ltd

