Permit Number: 	YP3937SH			Operator: 		Mekatek Limited

Facility:		Amex Park			Form Number: 	Water1 / DD/MM/YY

# Reporting of emissions to water (other than to sewer) and land for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| W1 | Suspended solids | 75mg/l (winter period) [5] | Monthly analysis of bulk daily sample. |  | As per Technical Guidance Note (Monitoring) M18: Monitoring of discharges to water and sewer or other method as agreed in writing with the Regulator. |  |  |
|  |  | 60mg/l (summer period) [6] |  |  |  |  |  |
|  | Total ammonium as N | 20mg/l (winter period) [5] | Spot sample |  |  |  |  |
|  |  | 15mg/l (summer period) [6 |  |  |  |  |  |
|  | Biochemical oxygen demand (5 day) | 75mg/l (winter period) [5] | Spot sample |  |  |  |  |
|  |  | 40 mg/l (summer period) [6 |  |  |  |  |  |
|  | Oils and grease | No visible release | Visual inspection |  |  |  |  |
|  | Temperature | ≤24ºC | Spot readings |  |  |  |  |
|  | pH | 6 to 8.5 | Continuous |  |  |  |  |
|  | Flow | 39l/second | Continuous |  |  |  |  |
|  |  | 2500m³/day |  |  |  |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

- Winter period is defined as 01 October to 31 March.

- summer period is defined as 01 April to 30 September

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	YP3937SH			Operator: 		Mekatek Limited

Facility:		Amex Park			Form Number: 	WaterUsage1 / DD/MM/YY

# Reporting of Water Usage for the year YYYY

| Water Source | Usage (m3/year) | Specific Usage (m3/unit output) |  |
| --- | --- | --- | --- |
| Mains water |  |  |  |
| Site borehole |  |  |  |
| River abstraction |  |  |  |
| TOTAL WATER USAGE |  |  |  |

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(authorised to sign as representative of Operator)

Permit Number: 	YP3937SH			Operator: 		Mekatek Limited

Facility:		Amex Park			Form Number: 	Energy1 / DD/MM/YY

# Reporting of Energy Usage for the year YYYY

| Energy Source | Energy Usage Quantity | Primary Energy (MWh) | Specific Usage (MWh/unit output) |  |
| --- | --- | --- | --- | --- |
| Electricity * | MWh |  |  |  |
| Natural Gas | MWh |  |  |  |
| Gas Oil | tonnes |  |  |  |
| Recovered Fuel Oil | tonnes |  |  |  |
| TOTAL | - |  |  |  |

* Conversion factor for delivered electricity to primary energy = 2.4

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)