# Schedule 5 - Notification

These pages outline the information that the operator must provide.

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

#### If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A

| Permit Number | EPR/AP3739KS |
| --- | --- |
| Name of operator | Flintshire County Council |
| Location of Facility | Brookhill Landfill Site. Brookhill Way, Pinfold Industrial Estate, Buckley, Flintshire CH7 3PL |
| Time and date of the detection | 11/06/21 |

| (a) Notification requirements for any activity that gives rise to an incident or accident which significantly affects or may significantly affect the environment |  |
| --- | --- |
| To be notified Immediately |  |
| Date and time of the event |  |
| Reference or description of the location of the event |  |
| Description of where any release into the environment took place |  |
| Substances(s) potentially released |  |
| Best estimate of the quantity or rate of release of substances |  |
| Measures taken, or intended to be taken, to stop any emission |  |
| Description of the failure or accident. |  |

| (b) Notification requirements for the breach of a permit condition |  |
| --- | --- |
| To be notified immediately |  |
| Emission point reference/ source | BH11 & BH14 |
| Parameter(s) | CH4 (respectively) |
| Limit | 1% (respectively) |
| Measured value and uncertainty | 9.6% & 1.3% (respectively) |
| Date and time of monitoring | 11/06//21 |
| Measures taken, or intended to be taken, to stop the emission | Increased suction on nearest gas wells. Subsequent visits show CH4 below limit - we will continue to closely monitor. |

| Time periods for notification following detection of a breach of a limit |  |
| --- | --- |
| Parameter | Notification period |

| (c) In the event of a breach of permit condition which poses an immediate danger to human health or threatens to cause an immediate significant adverse effect on the environment: |  |
| --- | --- |
| To be notified immediately |  |
| Description of where the effect on the environment was detected |  |
| Substances(s) detected |  |
| Concentrations of substances detected |  |
| Date of monitoring/sampling |  |

Part B - to be submitted as soon as practicable

| Any more accurate information on the matters for notification under Part A. |  |
| --- | --- |
| Measures taken, or intended to be taken, to prevent a recurrence of the incident |  |
| Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission |  |
| The dates of any unauthorised emissions from the facility in the preceding 24 months. |  |

| Name* | Paul Murphy |
| --- | --- |
| Post | Landfill Manager |
| Signature |  |
| Date | 16/08/21 |

* authorised to sign on behalf of the operator

=