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	Consent no
	NRWWIA273

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dwr Cymru


Linea


Fortrans Road


St Mellons


Cardiff



CF3 0LT
	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
De-chlorinated water 


	FROM: Clawddnewydd BPT LL15 2NL

	

	AT: NATIONAL GRID REFERENCE SJ 07515 51589

	

	TO: Nant mynian leading down to river clwyd

	

	SUBJECT TO: the conditions set out in the following schedule:

De-chlorinated water                    Schedule No. NRWWIA273

	

	This consent is issued on the 07st day of September 2021
This consent takes effect on the 22nd day of September 2021
This consent shall cease to have effect on the 29th day of September 2021
Signed: Melissa Broad


	


CONDITIONS OF CONSENT TO DISCHARGE

DE-CHLORINATED WATER (“the Discharge”)

NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of de-chlorinated water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Clawddnewydd BPT, LL15 2NL.
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR SJ 07515 51589, marked ‘Discharge/Sample Point’ on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total volume of the Discharge shall not exceed 182 cubic metres.

6. The total daily volume of the Discharge shall not exceed 172.8 cubic metres.

7. The rate of the Discharge shall not exceed 2 litres per second.
COMPOSITION

8.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
9.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water. 
FLOODING

10.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

11.
The Discharge shall only be made between 22nd day of September 2021 and the 29th day of September 2021.
ANNEX 1- PLAN No. NRWWIA273
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