[image: image2.png]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




	
	Consent no
	NRWWIA277

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO: 
Dwr Cymru 


Linea

Fortrans Road

St Mellons


Cardiff


CF3 0LT

	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
De-chlorinated water


	FROM: Dolbenmaen WTW, Porthmadog Road, Porthmadog, Gwynedd, LL51 9PJ 

	

	AT: NATIONAL GRID REFERENCE SH 49875 42917

	

	TO: Afon Dwyfor

	

	SUBJECT TO: the conditions set out in the following schedule:

De-chlorinated water                                     Schedule No. NRWWIA277-01

	

	This consent is issued on the 15th day of September 2021
This consent takes effect on the 8th day of October 2021
This consent shall cease to have effect on the 15th day of October 2021
Signed:  Melissa Broad


	


CONDITIONS OF CONSENT TO DISCHARGE

DE-CHLORINATED WATER (“the Discharge”)

NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of de-chlorinated potable water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Dolbenmaen WTW, Porthmadog Road, Porthmadog, Gwynedd, LL51 9PJ.
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR SH 49875 42917, marked ‘Discharge Point’ on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total volume of the Discharge shall not exceed 347 cubic metres.

6. The total daily volume of the Discharge shall not exceed 116 cubic metres.

7. The rate of the Discharge shall not exceed 15 litres per second.
COMPOSITION

8.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
9.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water. 
FLOODING

10.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

11.
The Discharge shall only be made between 8th day of October 2021 and the 15th day of October 2021.
ANNEX 1- PLAN No. NRWWIA277
[image: image1.emf]
© Crown Copyright and database right 2021. Ordnance Survey licence number 100019741.

