Permit Number: 
KP3094FZ 






Operator: 

Cyngor Gwynedd Council

Facility:

Cilgwyn Landfill site





Form Number: 
Water 1 / Oct 2021
Reporting of emissions to water (other than to sewer) and land for the period from 01/03/21 to 30/09/21
	Emission

Point
	Substance /

Parameter
	Emission Limit Value
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	W1 Adit Consent Point (W1) NGR:SH 250100, 353651
	Total suspended solids
	60mg/l
	Spot Sample

Quarterly, or otherwise agreed in writing with NRW
	2 to 25mg/l
	As per the Natural Resources Wales’s Technical Guidance M18 Monitoring of Discharges to Water and Sewer, or otherwise agreed in writing with NRW
	09/03/21 (25mg/l)
23/06/21 (6mg/l)

22/09/21 (2mg/l)
	

	
	pH
	>6 and <9 pH units
	
	7.5 to 7.6
	
	09/03/21 (7.6)

23/06/21 (7.6)

22/09/21 (7.5)
	

	
	Biological Oxygen Demand (BOD)
	40mg/l
	
	<1 to 1mg/l
	
	09/03/21 (<1mg/l)

23/06/21 (1mg/l)

22/09/21 (<1mg/l)
	

	
	Ammoniacal Nitrogen
	50mg/l
	
	All <0.06 mg/l
	
	09/03/21 (<0.06mg/l)

23/06/21 (<0.06mg/l)

22/09/21 (<0.06mg/l)
	


[image: image1.png][1] The result given is the maximum value (or the minimurm value in the case of a limit hat is expressed as a minimum) obtained during the reporting period, expressed in the.
same terms as the emission limit valus. Where the emission it value is expressed ac a range, the result is given s the ‘minimum — maximum’ measured values

[2] VWihere an intemationally recognised standard test metnod is used the reference number is given Wnere another method hat has been formally agresd with Natural
Resources Wales is used, then the appropriate identiier i given. In ofher cases the principal technique is stated, for example gas chromatography.

3] For non-continuous measurements the date and time of the sample that produced the result i given. For continuous measurements the percentage of the process operating
time covered by the resut is given.

[4] The uncertainty associated with the quoted result at the 95% confidence inerval, unless othenvise stated

Signed Date.
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