
[image: image2.png]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




	
	Consent no
	NRWWIA283

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dŵr Cymru Cyfyngedig


Linea

Fortran Road

St Mellons

CARDIFF 

CF3 0LT
	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
De-chlorinated water 


	FROM: north compartment, Felindre WTW, Heol Penfidy, Felindre, Swansea SA5 7NL

	

	AT: NATIONAL GRID REFERENCE SN 64094 02396

	

	TO: Afon Lliw

	

	SUBJECT TO: the conditions set out in the following schedule:

De-chlorinated water                                          Schedule No. NRWWIA283

	 

	This consent is issued on the 14 day of October 2021
This consent takes effect on the 19th day of October 2021
This consent shall cease to have effect on the 2nd of November 2021
Signed: Melissa Broad


	


CONDITIONS OF CONSENT TO DISCHARGE

DE-CHLORINATED WATER (“the Discharge”)

NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of de-chlorinated water 
SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from FELINDRE WTW.
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at SN 64094 02396, marked OSM sample chamber on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total volume of the Discharge shall not exceed 5000 cubic metres.

6. The total daily volume of the Discharge shall not exceed 1250 cubic metres.

7. The rate of the Discharge shall not exceed 14 litres per second.
COMPOSITION

8.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
9.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water. 
FLOODING

10.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

11.
The Discharge shall only be made between 19th day of October 2021 and the 2nd of November 2021.
ANNEX 1- PLAN No. NRWWIA283
[image: image1.png]— [
- ODOQWG} Bkt
SR s |—D_ o
L]
=]





© Crown Copyright and database right 2021. Ordnance Survey licence number 100019741.

