# Natural Resources Wales permitting decisions

# Variation

We have decided to issue the variation for Cwmbran Service Centre operated by Rentokil Initial UK Ltd.

The variation number is EPR/RP3195FP

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Key issues

- Annex 1 the decision checklist

# Key issues of the decision

Variation type and Odour management plan.

The inclusion of the additional waste codes within the permit increased the risk of odour pollution from the site. It was decided that due to this increased risk that a minor technical variation would be needed and an odour management submitted and incorporated into the permit.

Fire prevention and mitigation plan

A fire prevention and mitigation plan was submitted following a request at the duly making stage. During permit determination it was decided that the waste codes being added under this variation were not considered to be combustible and assessment of the fire prevention and mitigation plan was not required for the variation. Conditions relating to fire and the requirement to provide a fire prevention and mitigation plan were included within the variation notice to cover the wastes already accepted on site that are considered to be combustible.

# Annex 1: decision checklist

This document should be read in conjunction with the Duly Making checklist, the application and supporting information and permit/ notice.

| ### Aspect considered | ### Justification / Detail |  | Criteria met |  |
| --- | --- | --- | --- | --- |
|  |  |  | Yes |  |
| European Directives |  |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. |  |  |  |
| Sustainable Management of Natural Resources (SMNR) |  |  |  |
| Considerations of SMNR - Compliance with our General Purpose |  | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” |  |
| Environmental Risk Assessment and operating techniques |  |  |  |  |
| Environmental risk | We have reviewed the operator's assessment of the environmental risk from the facility. The operator’s risk assessment is satisfactory. |  |  |  |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The operator has identified appropriate measures, as set out in the relevant technical guidance note for waste activities; ‘How to comply with your environmental permit’ These have been included to ensure that risk of fire is minimised, and appropriate measures are in place to prevent fire. |  |  |  |
| The permit conditions |  |  |  |  |
| Waste types | We have specified the permitted waste types, descriptions and quantities, which can be accepted at the regulated facility. We are satisfied that the operator can accept these wastes for the following reasons - Appropriate management systems are in place - Appropriate risk assessments are in place - Suitable infrastructure and drainage is in place. We made these decisions with respect to waste types in accordance with “how to Comply with your environmental permit”. |  |  |  |
| Improvement conditions | We consider that we need to impose improvement conditions. We have imposed improvement conditions to ensure that appropriate measures are in place to ensure that risk of fires are minimised and prevent fire. |  |  |  |
| Incorporating the application | We have specified that the applicant must operate the permit in accordance with descriptions in the application, including all additional information received as part of the determination process. These descriptions are specified in the Operating Techniques table in the permit. |  |  |  |