Notice of variation and consolidation with introductory note

The Environmental Permitting (England & Wales) Regulations 2016

Biffa Waste Services Limited

Trecatti Landfill Site

Fochriw Road

Merthyr Tydfil

CF48 4AB

Variation number

EPR/RP3733PC/V012

Permit number

EPR/RP3733PC

Trecatti Landfill site

Permit number EPR/RP3733PC

Introductory note

This introductory note does not form a part of the notice.

The following notice gives notice of the variation and consolidation of an environmental permit.

Biffa Waste Services Limited has applied for a variation to the permit to extent the waste codes to allow a wider range of stable hazardous non-reactive waste to be accepted in the monocell that was reserved for asbestos waste.

The application has four parts that were assessed for the variation:

- The extension of Schedule 2 Table S2.4 of the permit to include additional waste codes that are classified as Stable Non-Reactive Hazardous Wastes (SNRHW), to be deposited into the cell previously designated for asbestos waste only.

- Extend the hazardous characteristics displayed by wastes imported under waste codes 17 05 03 and 19 13 01, limited to inorganic substances only.

- The discharge of treated waters/leachate from the SNRHW monocell to sewer following initial treatment in the on-site Leachate Treatment Plant (LTP).

- Removal of the requirement to install, maintain and monitor inclinometers within the separation bund constructed around the edges of the asbestos/SNRHW monocell.

The schedules specify the changes made to the permit.

The status log of a permit sets out the permitting history, including any changes to the permit reference number.

| ### Status log of the permit |  |  |
| --- | --- | --- |
| ### Description | ### Date | ### Comments |
| ### Application EPR/RP3733PC (reference EPR/RP3733PC/A001) | ### Received 07/05/2004 | ### Duly Made on 21/05/2004 |
| ### Permit EPR/RP3733PC determined | ### 09/03/2005 |  |
| ### Application for permit variation YP3037UA (reference EPR/RP3733PC/V002) | ### Received 28/09/2007 | ### Duly Made 09/10/2007 |
| ### Application for permit variation EPR/DP3037UY (reference EPR/RP3733PC/V003 | ### Received ### 17/12/2007 | ### Duly Made 02/01/2008 |
| ### Variation notice DP3037UY (reference EPR/RP3733PC/V003) determined | ### 18/01/2008 |  |
| ### Variation notice YP3037UA (reference EPR/RP3733PC/V002) determined | ### 14/04/2008 |  |
| ### EA-initiated Variation EPR/RP3733PC/V004 determined | ### 18/01/2011 |  |
| ### Admin variation determined EPR/RP3733PC/V005 | ### 17/10/2012 |  |
| ### Admin variation determined EPR/RP3733PC/V006 | ### 12/02/2013 |  |
| ### Agency variation determined EPR/RP3733PC/V007 | ### 12/06/2013 | ### Agency variation to implement the changes introduced by IED. |
| ### Application EPR/RP3733PC/V008 | ### Duly Made 16/05/2014 | ### Application for variation and consolidation of permit to allow the acceptance of asbestos in a dedicated monocell. |
| ### Additional information received | ### 13/06/2014 | ### Addendum to Stability Risk Assessment |
| ### Additional information received | ### 26/09/2014 | ### Revised Stability Risk Assessment |
| ### Additional information received | ### 12/09/2014 | ### Response to Schedule 5 Notice |
| ### Additional information received | ### 21/10/2014 | ### Further information relating to Schedule 5 Notice |
| ### Additional information received | ### 02/12/2014 | ### Clarification of information relating to Stability Risk Assessment |
| ### Permit determined | ### 27/02/2015 | ### Consolidated Permit issued |
| ### Application for substantial variation EPR/RP3733PC/V009 | ### Received 04/08/2015 | ### Duly Made 07/08/2015 |
| ### Application for a substantial variation EPR/RP3733PC/V009 determined | ### 15/01/2015 |  |
| ### Application received ### EPR/RP3733PC/V010 | ### Duly made ### 11/07/2018 | ### Application to add additional waste codes to permit |
| ### Application determined ### EPR/RP3733PC/V010 | ### 22/08/2018 | ### Varied and consolidated permit issued |
| ### Application for substantial variation received EPR/RP3733PC/V011 | ### Received 14/03/2019 | ### Duly Made 14/03/2019 ### Application to include an asbestos picking station and associated waste codes |
| ### Application for a substantial variation EPR/RP3733PC/V011 determined | ### 25/07/2019 | ### Varied and consolidated permit issued |
| ### Application for variation ### EPR/RP3733PC/V012 | ### 22/06/2020 | ### Application for minor technical variation to add additional waste to Stable Non-reactive hazardous waste/ asbestos waste cell |
| ### Additional information received | ### Duly made ### 19/02/2021 | ### Application upgrade to normal variation and amend to include removal of inclinometers |
| ### Additional information received | ### 26/07/2021 | ### Response to schedule 5 on compliance with landfill directive |
| ### Additional information received | ### 30/09/2021 | ### Waste acceptance procedure and site-specific instructions submitted |
| ### Variation Issued ### EPR/RP3733PC/V012 | ### 18/10/2021 | ### Variation issued to Biffa Waste Services Limited |

| ### 372B372BOther existing licenses/authorisations/registrations relating to this site |  |  |
| --- | --- | --- |
| ### Operator | ### Reference Number | ### Date of issue |
| ### Biffa Waste Services Limited | ### Trade effluent discharge consent (to sewer) reference number TE456 | ### 14/04/1993 |

### End of introductory note.

Notice of variation and consolidation

The Environmental Permitting (England and Wales) Regulations 2016

The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2016 varies and consolidates

Permit number

EPR/RP3733PC

issued to

Biffa Waste Services Limited (“the operator”)

whose registered office is

### Coronation Road

### Cressex

### High Wycombe

### Bucks

### HP12 3TZ

company registration number 00946107

to operate an installation at

### Trecatti Landfill Site

### Fochriw Road

### Merthyr Tydfil

### CF48 4AB

to the extent set out in the schedules.

The notice shall take effect from 18/10/2021

| Signed | Date |
| --- | --- |
| Holly Noble | 18/10/2021 |

Authorised on behalf of Natural Resources Wales

Schedule 1

All conditions have been varied by the consolidated permit as a result of the application made by the operator.

Schedule 2 – consolidated permit

Consolidated permit issued as a separate document.