Mr Richard Taylor

Natural Resources Wales

St Mellons Business Park

Fortran Road

St Mellons

Cardiff

CF3 0EY

26th September 2019

Dear Mr Taylor,

RE:	PPC Permit MP3036SS, Variation LP3630MR – Whitehall Landfill

# Quarterly Review Report – condition 4.2.2

As required by the condition 4.2.2, this review of monitoring data covers the quarter commencing 17th June 2019.

Results of the monitoring conducted in this quarter are presented in the attached spreadsheet.  There is also a graph showing the carbon dioxide concentrations.

The in-waste gas boreholes have not been drilled, therefore no in-waste gas monitoring has been undertaken. No significant amounts of methane were detected nor breaches of the carbon dioxide trigger levels in the perimeter gas monitoring.

There were two action level breaches for groundwater quality in this quarter. The breaches of ammoniacal nitrogen at BH13 and of potassium at BH12 were reported on 25th July and the results of the retests were presented on 29th July.

Should you have any further questions regarding this matter, please do not hesitate to contact me.

Yours sincerely,

Annette Symonds