Mr Richard Taylor

Natural Resources Wales

St Mellons Business Park

Fortran Road

St Mellons

Cardiff

CF3 0EY

3rd January 2019

Dear Mr Taylor,

RE:	PPC Permit MP3036SS, Variation LP3630MR – Whitehall Landfill

# Quarterly Review Report – condition 4.2.2

As required by the condition 4.2.2, this review of monitoring data covers the quarter commencing 17th September 2018.

The site has now ceased accepting waste as of the 31st October 2018.

Results of the monitoring conducted in this quarter are presented in the attached spreadsheet.  There is also a graph showing the carbon dioxide concentrations.

The in-waste gas boreholes have not been drilled, therefore no in-waste gas monitoring has been undertaken. No significant amounts of methane were detected nor breaches of the carbon dioxide trigger levels in the perimeter gas monitoring.

There was one action level breach in this quarter, for potassium at BH12. A schedule 6 notification was sent on 18th October.  The sample was retested and both retest results were found to be within limits.

As all waste accepted on the site were from our Approved List (as detailed in the PPC application, Site Operation Plan), no waste characterisation was required or undertaken.

Should you have any further questions regarding this matter, please do not hesitate to contact me.

Yours sincerely,

Annette Symonds