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Mr Richard Taylor
Natural Resources Wales
St Mellons Business Park
Fortran Road
St Mellons
Cardiff
CF3 0EY

								 7th April 2020 

Dear Mr Taylor,


RE:	PPC Permit MP3036SS, Variation LP3630MR – Whitehall Landfill
	Quarterly Review Report – condition 4.2.2


As required by the condition 4.2.2, this review of monitoring data covers the quarter commencing 17th December 2019. 

Results of the monitoring conducted in this quarter are presented in the attached spreadsheet.  There is also a graph showing the carbon dioxide concentrations.

The in-waste gas boreholes have not been drilled, therefore no in-waste gas monitoring has been undertaken. No significant amounts of methane were detected nor breaches of the carbon dioxide trigger levels in the perimeter gas monitoring. 

There were no groundwater trigger level breaches in this monitoring period, although at BH12 and BH13 the potassium warning level was exceeded. A close eye will be kept on the next set of results. Note that boreholes BH14 and BH15 were located in March and analysis exists for these locations.
 
Should you have any further questions regarding this matter, please do not hesitate to contact me. 

Yours sincerely,
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Annette Symonds
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