Permit Number: 
JP3239ST



Operator: 

The County council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
… …
Reporting of ……Ground Water…… monitoring for the period for … September  2021
	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C1


	Am Nitrogen


	TBA


	Sep  - 21
	0.83
	INORG-L12
	08th Sep 2021
	12.69



	C1


	Cadmium


	1 ug/l
	Sep  - 21
	Not tested
	1450
	08th Sep 2021
	3.93

	C1


	Nickel


	0.22 ug/l


	Sep  - 21
	Not tested
	METALS-L
	08th Sep 2021
	5.23

	C1


	Chloride
	TBA


	Sep  - 21
	479
	INORG-L13
	08th Sep 2021
	6.71



	C1


	MP Xylene


	1 ug/l
	Sep  - 21
	Not tested
	ORG-LO5
	08th Sep 2021
	7.66



	C1


	Mecoprop


	0.1 ug/l
	Sep  - 21
	Not tested
	ORG-L17
	08th Sep 2021
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C2
	Am Nitrogen


	TBA


	Sep  - 21
	0.01
	INORG-L12
	08th Sep 2021
	12.69



	C2
	Cadmium


	1 ug/l
	Sep  - 21
	Not tested
	1450
	08th Sep 2021
	3.93

	C2
	Nickel


	0.22 ug/l


	Sep  - 21
	Not tested
	METALS-L
	08th Sep 2021
	5.23

	C2
	Chloride


	TBA


	Sep  - 21
	24.1
	INORG-L13
	08th Sep 2021
	6.71



	C2
	MP Xylene


	1 ug/l
	Sep  - 21
	Not tested
	ORG-LO5
	08th Sep 2021
	7.66



	C2
	Mecoprop


	0.1 ug/l
	Sep  - 21
	Not tested
	ORG-L17
	08th Sep 2021
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C3
	Am Nitrogen


	TBA


	Sep  - 21
	1.1
	INORG-L12
	08th Sep 2021
	12.69



	C3
	Cadmium


	1 ug/l
	Sep  - 21
	Not tested
	1450
	08th Sep 2021
	3.93

	C3
	Nickel


	0.22 ug/l


	Sep  - 21
	Not tested
	METALS-L
	08th Sep 2021
	5.23

	C3
	Chloride


	TBA


	Sep  - 21
	175
	INORG-L13
	08th Sep 2021
	6.71



	C3
	MP Xylene


	1 ug/l
	Sep  - 21
	Not tested
	ORG-LO5
	08th Sep 2021
	7.66



	C3
	Mecoprop


	0.1 ug/l
	Sep  - 21
	Not tested
	ORG-L17
	08th Sep 2021
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C4
	Am Nitrogen


	TBA


	Sep  - 21
	DNR
	INORG-L12
	08th Sep 2021
	12.69



	C4
	Cadmium


	1 ug/l
	Sep  - 21
	Not tested
	1450
	08th Sep 2021
	3.93

	C4
	Nickel


	0.22 ug/l


	Sep  - 21
	Not tested
	METALS-L
	08th Sep 2021
	5.23

	C4
	Chloride


	TBA


	Sep  - 21
	DNR
	INORG-L13
	08th Sep 2021
	6.71



	C4
	MP Xylene


	1 ug/l
	Sep  - 21
	Not tested
	ORG-LO5
	08th Sep 2021
	7.66



	C4
	Mecoprop


	0.1 ug/l
	Sep  - 21
	Not tested
	ORG-L17
	08th Sep 2021
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C5
	Am Nitrogen


	TBA


	Sep  - 21
	0.68
	INORG-L12
	08th Sep 2021
	12.69



	C5
	Cadmium


	1 ug/l
	Sep  - 21
	Not tested
	1450
	08th Sep 2021
	3.93

	C5
	Nickel


	0.22 ug/l


	Sep  - 21
	Not tested
	METALS-L
	08th Sep 2021
	5.23

	C5
	Chloride


	TBA


	Sep  - 21
	1570
	INORG-L13
	08th Sep 2021
	6.71



	C5
	MP Xylene


	1 ug/l
	Sep  - 21
	Not tested
	ORG-LO5
	08th Sep 2021
	7.66



	C5
	Mecoprop


	0.1 ug/l
	Sep  - 21
	Not tested
	ORG-L17
	08th Sep 2021
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C6
	Am Nitrogen


	TBA


	Sep  - 21
	2.1
	INORG-L12
	08th Sep 2021
	12.69



	C6
	Cadmium


	1 ug/l
	Sep  - 21
	Not tested
	1450
	08th Sep 2021
	 3.93

	C6
	Nickel


	0.22 ug/l


	Sep  - 21
	Not tested
	METALS-L
	08th Sep 2021
	5.23

	C6
	Chloride


	TBA


	Sep  - 21
	5990
	INORG-L13
	08th Sep 2021
	6.71



	C6
	MP Xylene


	1 ug/l
	Sep  - 21
	Not tested
	ORG-LO5
	08th Sep 2021
	7.66



	C6
	Mecoprop


	0.1 ug/l
	Sep  - 21
	Not tested
	ORG-L17
	08th Sep 2021
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C8
	Am Nitrogen


	TBA


	Sep  - 21
	2.4
	INORG-L12
	08th Sep 2021
	12.69



	C8
	Cadmium


	1 ug/l
	Sep  - 21
	Not tested
	1450
	08th Sep 2021
	3.93

	C8
	Nickel


	0.22 ug/l


	Sep  - 21
	Not tested
	METALS-L
	08th Sep 2021
	5.23

	C8
	Chloride


	TBA


	Sep  - 21
	6800
	INORG-L13
	08th Sep 2021
	6.71



	C8
	MP Xylene


	1 ug/l
	Sep  - 21
	Not tested
	ORG-LO5
	08th Sep 2021
	7.66



	C8
	Mecoprop


	0.1 ug/l
	Sep  - 21
	Not tested
	ORG-L17
	08th Sep 2021
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C10
	Am Nitrogen


	TBA


	Sep  - 21
	DNR
	INORG-L12
	08th Sep 2021
	12.69



	C10
	Cadmium


	1 ug/l
	Sep  - 21
	Not tested
	1450
	08th Sep 2021
	3.93

	C10
	Nickel


	0.22 ug/l


	Sep  - 21
	Not tested
	METALS-L
	08th Sep 2021
	5.23

	C10
	Chloride


	TBA


	Sep  - 21
	DNR
	INORG-L13
	08th Sep 2021
	6.71



	C10
	MP Xylene


	1 ug/l
	Sep  - 21
	Not tested
	ORG-LO5
	08th Sep 2021
	7.66



	C10
	Mecoprop


	0.1 ug/l
	Sep  - 21
	Not tested
	ORG-L17
	08th Sep 2021
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C12
	Am Nitrogen


	TBA


	Sep  - 21
	21.7
	INORG-L12
	08th Sep 2021
	12.69



	C12
	Cadmium


	1 ug/l
	Sep  - 21
	Not tested
	1450
	08th Sep 2021
	3.93

	C12
	Nickel


	0.22 ug/l


	Sep  - 21
	Not tested
	METALS-L
	08th Sep 2021
	5.23

	C12
	Chloride


	TBA


	Sep  - 21
	6710
	INORG-L13
	08th Sep 2021
	6.71



	C12
	MP Xylene


	1 ug/l
	Sep  - 21
	Not tested
	ORG-LO5
	08th Sep 2021
	7.66



	C12
	Mecoprop


	0.1 ug/l
	Sep  - 21
	Not tested
	ORG-L17
	08th Sep 2021
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C13
	Am Nitrogen


	TBA


	Sep  - 21
	8.0
	INORG-L12
	08th Sep 2021
	12.69



	C13
	Cadmium


	1 ug/l
	Sep  - 21
	Not tested
	1450
	08th Sep 2021
	3.93

	C13
	Nickel


	0.22 ug/l


	Sep  - 21
	Not tested
	METALS-L
	08th Sep 2021
	5.23

	C13
	Chloride


	TBA


	Sep  - 21
	4320
	INORG-L13
	08th Sep 2021
	6.71



	C13
	MP Xylene


	1 ug/l
	Sep  - 21
	Not tested
	ORG-LO5
	08th Sep 2021
	7.66



	C13
	Mecoprop


	0.1 ug/l
	Sep  - 21
	Not tested
	ORG-L17
	08th Sep 2021
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C14
	Am Nitrogen


	TBA


	Sep  - 21
	19.1
	INORG-L12
	08th Sep 2021
	12.69



	C14
	Cadmium


	1 ug/l
	Sep  - 21
	Not tested
	1450
	08th Sep 2021
	3.93

	C14
	Nickel


	0.22 ug/l


	Sep  - 21
	Not tested
	METALS-L
	08th Sep 2021
	5.23

	C14
	Chloride


	TBA


	Sep  - 21
	5400
	INORG-L13
	08th Sep 2021
	6.71



	C14
	MP Xylene


	1 ug/l
	Sep  - 21
	Not tested
	ORG-LO5
	08th Sep 2021
	7.66



	C14
	Mecoprop


	0.1 ug/l
	Sep  - 21
	Not tested
	ORG-L17
	08th Sep 2021
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C16
	Am Nitrogen


	TBA


	Sep  - 21
	DNR
	INORG-L12
	08th Sep 2021
	12.69



	C16
	Cadmium


	1 ug/l
	Sep  - 21
	Not tested
	1450
	08th Sep 2021
	3.93

	C16
	Nickel


	0.22 ug/l


	Sep  - 21
	Not tested
	METALS-L
	08th Sep 2021
	5.23

	C16
	Chloride


	TBA


	Sep  - 21
	DNR
	INORG-L13
	08th Sep 2021
	6.71



	C16
	MP Xylene


	1 ug/l
	Sep  - 21
	Not tested
	ORG-LO5
	08th Sep 2021
	7.66



	C16
	Mecoprop


	0.1 ug/l
	Sep  - 21
	Not tested
	ORG-L17
	08th Sep 2021
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C17
	Am Nitrogen


	TBA


	Sep  - 21
	DNR
	INORG-L12
	08th Sep 2021
	12.69



	C17
	Cadmium


	1 ug/l
	Sep  - 21
	Not tested
	1450
	08th Sep 2021
	3.93

	C17
	Nickel


	0.22 ug/l


	Sep  - 21
	Not tested
	METALS-L
	08th Sep 2021
	5.23

	C17
	Chloride


	TBA


	Sep  - 21
	DNR
	INORG-L13
	08th Sep 2021
	6.71



	C17
	MP Xylene


	1 ug/l
	Sep  - 21
	Not tested
	ORG-LO5
	08th Sep 2021
	7.66



	C17
	Mecoprop


	0.1 ug/l
	Sep  - 21
	Not tested
	ORG-L17
	08th Sep 2021
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C18
	Am Nitrogen


	TBA


	Sep  - 21
	<0.01
	INORG-L12
	08th Sep 2021
	12.69



	C18
	Cadmium


	1 ug/l
	Sep  - 21
	Not tested
	1450
	08th Sep 2021
	3.93

	C18
	Nickel


	0.22 ug/l


	Sep  - 21
	Not tested
	METALS-L
	08th Sep 2021
	5.23

	C18
	Chloride


	TBA


	Sep  - 21
	159
	INORG-L13
	08th Sep 2021
	6.71



	C18
	MP Xylene


	1 ug/l
	Sep  - 21
	Not tested
	ORG-LO5
	08th Sep 2021
	7.66



	C18
	Mecoprop


	0.1 ug/l
	Sep  - 21
	Not tested
	ORG-L17
	08th Sep 2021
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C19
	Am Nitrogen


	TBA


	Sep  - 21
	0.17
	INORG-L12
	08th Sep 2021
	12.69



	C19
	Cadmium


	1 ug/l
	Sep  - 21
	Not tested
	1450
	08th Sep 2021
	3.93

	C19
	Nickel


	0.22 ug/l


	Sep  - 21
	Not tested
	METALS-L
	08th Sep 2021
	5.23

	C19
	Chloride


	TBA


	Sep  - 21
	2980
	INORG-L13
	08th Sep 2021
	6.71



	C19
	MP Xylene


	1 ug/l
	Sep  - 21
	Not tested
	ORG-LO5
	08th Sep 2021
	7.66



	C19
	Mecoprop


	0.1 ug/l
	Sep  - 21
	Not tested
	ORG-L17
	08th Sep 2021
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C20
	Am Nitrogen


	TBA


	Sep  - 21
	2.9
	INORG-L12
	08th Sep 2021
	12.69



	C20
	Cadmium


	1 ug/l
	Sep  - 21
	Not tested
	1450
	08th Sep 2021
	3.93

	C20
	Nickel


	0.22 ug/l


	Sep  - 21
	Not tested
	METALS-L
	08th Sep 2021
	5.23

	C20
	Chloride


	TBA


	Sep  - 21
	10400
	INORG-L13
	08th Sep 2021
	6.71



	C20
	MP Xylene


	1 ug/l
	Sep  - 21
	Not tested
	ORG-LO5
	08th Sep 2021
	7.66



	C20
	Mecoprop


	0.1 ug/l
	Sep  - 21
	Not tested
	ORG-L17
	08th Sep 2021
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C21
	Am Nitrogen


	TBA


	Sep  - 21
	0.76
	INORG-L12
	08th Sep 2021
	12.69



	C21
	Cadmium


	1 ug/l
	Sep  - 21
	Not tested
	1450
	08th Sep 2021
	3.93

	C21
	Nickel


	0.22 ug/l


	Sep  - 21
	Not tested
	METALS-L
	08th Sep 2021
	5.23

	C21
	Chloride


	TBA


	Sep  - 21
	7110
	INORG-L13
	08th Sep 2021
	6.71



	C21
	MP Xylene


	1 ug/l
	Sep  - 21
	Not tested
	ORG-LO5
	08th Sep 2021
	7.66



	C21
	Mecoprop


	0.1 ug/l
	Sep  - 21
	Not tested
	ORG-L17
	08th Sep 2021
	8.27


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C22
	Am Nitrogen


	TBA


	Sep  - 21
	0.29
	INORG-L12
	08th Sep 2021
	12.69



	C22
	Cadmium


	1 ug/l
	Sep  - 21
	Not tested
	1450
	08th Sep 2021
	3.93

	C22
	Nickel


	0.22 ug/l


	Sep  - 21
	Not tested
	METALS-L
	08th Sep 2021
	5.23

	C22
	Chloride


	TBA


	Sep  - 21
	8890
	INORG-L13
	08th Sep 2021
	6.71



	C22
	MP Xylene


	1 ug/l
	Sep  - 21
	Not tested
	ORG-LO5
	08th Sep 2021
	7.66



	C22
	Mecoprop


	0.1 ug/l
	Sep  - 21
	Not tested
	ORG-L17
	08th Sep 2021
	8.27


1. The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
2. Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

3. For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

4. The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

[image: image1.png]



Signed …………………………………………………………….  

Date 03/11/2021



(Authorised to sign as representative of Operator)
