## CoverSheet
240
Water Abstraction Return
|  |  | Return ID: | 16910 |  |  | MD/054/0001/004
| Customer Care Centre Natural Resources Wales Ty Cambria 29 Newport Road Cardiff CF24 0TP |  |  |  |  | Return period
[6 empty] | Return period start date |  | 01/04/2018
[6 empty] | Return period end date |  | 31/03/2019
[6 empty] | Submission date |  | 31/07/2019
3. Nil return
[6 empty] | Nil return | No
4. Measurement details
| 1.Operator and site details |  |  |  |  | Was a water meter used? |  | No
| Site name |  |  |  |  | If yes, go to section 4.1, if no go to section 4.2
| Licence number | MD/054/0001/004
| Two-part tariff | No |  |  |  | 4.1 Water meter details
| Purpose | Hydro-electric Power Generation |  |  |  | Meter make
Serial number
2. Return contact details
| Title |  | NotKnown
4.2 Assessment details
| Forename |  | Julian |  |  | Method of non-meter assessment. For example, Volume calculated from pump capacity by hours run, site Hydro Abstraction Factor (HAF) and kilowatt-hours generated.
| Surname |  | Attwood
Telephone
| Email |  | julianattwood@yahoo.co.uk |  |  | Each KWh requires 7.538 Cubic meters. Total annual generation 192,732 Kwhs.
5. Further information
| Are you attaching further information? |  |  |  |  | No
If you need to explain any entry or want to give us other information, please do so on a separate sheet of paper. Please write the licence number (which you will find in Section 1 – Operator and site details) and Return ID (which you will find at the top of the page) on any attachment
Office use only
Date of issue
Date received
Under query
| Water Abstraction Form V1.4 |  |  |  | Version Date : 06/11/2018
Paper return?
Yes
No
1950-01-01
2100-01-01

## DailyReturn (hidden)
6. Start meter reading | 7. Readings / volumes
Date | Please confirm whether information you have provided are meter readings or actual abstraction volumes
Reading | 0
Please confirm the units of measurement
0
Yes
| Make all blank fields Yes/No |  | No
November |  | Estimated
amount of no's
3
December |  | Estimated
January |  | Estimated
February |  | Estimated
March |  | Estimated
April |  | Estimated
May |  | Estimated
June |  | Estimated
July |  | Estimated
August |  | Estimated
September |  | Estimated
October |  | Estimated
8. End meter reading | Completion checklist |  |  | Month | yes | no | amount of readings | filled reading fields | filled estimated fields
Date |  |  |  | november | 0 | 0 | 0 | 0 | 0
Reading |  |  |  | december | 0 | 0 | 0 | 0 | 0
| 3.Nil return complete? | Yes |  | january | 0 | 0 | 0 | 0 | 0
| 4.Measurement details complete? | Yes |  | february | 0 | 0 | 0 | 0 | 0
9. Total water abstracted | 5.Further information complete? | Yes |  | march | 0 | 0 | 0 | 0 | 0
Amount abstracted | 6.Start meter reading complete? | Yes |  | april | 0 | 0 | 0 | 0 | 0
| 7.Readings / volumes complete? | No |  | may | 0 | 0 | 0 | 0 | 0
| 7.At least one day's meter reading complete and all fields valid? | No |  | june | 0 | 0 | 0 | 0 | 0
10. Declaration |  |  |  | july | 0 | 0 | 0 | 0 | 0
Signature (paper return) | 8.End meter reading complete? | Yes |  | august | 0 | 0 | 0 | 0 | 0
| 9.Total water abstracted complete? | No |  | september | 0 | 0 | 0 | 0 | 0
|  |  |  | october | 0 | 0 | 0 | 0 | 0
Please return the completed form to: Customer Care Centre Natural Resources Wales Ty Cambria 29 Newport Road Cardiff CF24 0TP |  |  |  | total | 0 | 0 | 0 | 0 | 0
Logic tests
|  |  |  | Yes/No = Amount of readings? |  |  | True
|  |  |  | Le/Na = Filled estimated fields? |  |  | True
|  |  |  | amount of readings = filled reading fields? |  |  | True
|  |  |  | filled reading fields = filled estimated fields? |  |  | True
Data Protection Act 2018 The information provided by you will be processed by Natural Resources Wales in line with the Data Protection Principles to enable us to deal with your abstraction return, to monitor compliance with the licence conditions, to process renewals, and for maintaining the relevant public register. We may process and/or disclose the information in connection with the following: • Consultation with third parties who are relevant and responsible for responding to consultation requests from NRW • Prevent and investigate possible breaches of environmental law and taking any resulting action • Responding to requests for information under the Freedom of Information Act 2000 and the Environmental Information Regulations 2004, where the Data Protection Act allows • Carrying out statistical analysis, research and development on environmental issues
Meter readings
Abstraction volumes
Cubic Metres
Litres
Gallons
Create XML

## WeeklyReturn (hidden)
6. Start meter reading |  | 7. Readings / volumes
Date |  | Please confirm whether information you have provided are meter readings or actual abstraction volumes
Reading |  | 0
Please confirm the units of measurement
0
Yes
|  | Make all blank fields Yes/No |  | No
Week ending | Actual reading / estimated reading |  | Estimated
01/04/2018
08/04/2018
15/04/2018
22/04/2018
29/04/2018
06/05/2018
13/05/2018
20/05/2018
27/05/2018
03/06/2018
10/06/2018
17/06/2018
24/06/2018
01/07/2018
08/07/2018
15/07/2018
22/07/2018
29/07/2018
05/08/2018
12/08/2018
19/08/2018
26/08/2018
02/09/2018
09/09/2018
16/09/2018
23/09/2018
30/09/2018
07/10/2018
14/10/2018
21/10/2018 | [5 empty] | amount of no's
28/10/2018 | [5 empty] | 3
04/11/2018
11/11/2018
18/11/2018
25/11/2018
02/12/2018
09/12/2018
16/12/2018
23/12/2018
30/12/2018
06/01/2019
13/01/2019
20/01/2019
27/01/2019
03/02/2019
10/02/2019
17/02/2019
24/02/2019
03/03/2019
10/03/2019
17/03/2019
24/03/2019
8. End meter reading |  | Completion Checklist
Date
Reading |  |  |  |  | Logic tests
|  | 3.Nil return complete? | Yes |  | Yes/No = Amount of readings? |  | False
|  | 4.Measurement details complete? | Yes |  | yes/No = Filled estimated fields? |  | True
9. Total water abstracted |  | 5.Further information complete? | Yes |  | amount of readings = filled reading fields? |  | True
Amount abstracted |  | 6.Start meter reading complete? | Yes |  | filled reading fields = filled estimated fields? |  | False
|  | 7.Readings / volumes complete? | No
|  | 7.At least one week's meter reading complete and all fields valid? | No
10. Declaration
Signature (paper return) |  | 8.End meter reading complete? | Yes
|  | 9.Total water abstracted complete? | No
Please return the completed form to: Customer Care Centre Natural Resources Wales Ty Cambria 29 Newport Road Cardiff CF24 0TP
Data Protection Act 2018 The information provided by you will be processed by Natural Resources Wales in line with the Data Protection Principles to enable us to deal with your abstraction return, to monitor compliance with the licence conditions, to process renewals, and for maintaining the relevant public register. We may process and/or disclose the information in connection with the following: • Consultation with third parties who are relevant and responsible for responding to consultation requests from NRW • Prevent and investigate possible breaches of environmental law and taking any resulting action • Responding to requests for information under the Freedom of Information Act 2000 and the Environmental Information Regulations 2004, where the Data Protection Act allows • Carrying out statistical analysis, research and development on environmental issues
Meter readings
Abstraction volumes
Cubic Metres
Litres
Gallons
Create XML

## MonthlyReturn (hidden)
6. Start meter reading |  | 7. Readings / volumes
Date |  | Please confirm whether information you have provided are meter readings or actual abstraction volumes
Reading |  | 0
Please confirm the units of measurement
0
Yes
|  | Make all blank fields Yes/No |  | No
Month ending | Actual reading / estimated reading |  | Estimated
8. End meter reading |  | Completion Checklist
Date
Reading
|  | 3.Nil return complete? | Yes
|  | 4.Measurement details complete? | Yes
9. Total water abstracted |  | 5.Further information complete? | Yes
Amount abstracted |  | 6.Start meter reading complete? | Yes
|  | 7.Readings/ volumes complete? | No
|  | 7.At least one month's meter reading complete and all fields valid? | No
10. Declaration
Signature |  | 8.End meter reading complete? | Yes
(paper return) |  | 9.Total water abstracted complete? | No |  | Logic tests
[5 empty] | Yes/No = Amount of readings? |  | True
Please return the completed form to: Customer Care Centre Natural Resources Wales Ty Cambria 29 Newport Road Cardiff CF24 0TP |  |  |  |  | yes/No = Filled estimated fields? |  | True
[5 empty] | amount of readings = filled reading fields? |  | True
[5 empty] | filled reading fields = filled estimated fields? |  | False
amount of no's
[6 empty] | 0 | 3
Data Protection Act 2018 The information provided by you will be processed by Natural Resources Wales in line with the Data Protection Principles to enable us to deal with your abstraction return, to monitor compliance with the licence conditions, to process renewals, and for maintaining the relevant public register. We may process and/or disclose the information in connection with the following: • Consultation with third parties who are relevant and responsible for responding to consultation requests from NRW • Prevent and investigate possible breaches of environmental law and taking any resulting action • Responding to requests for information under the Freedom of Information Act 2000 and the Environmental Information Regulations 2004, where the Data Protection Act allows • Carrying out statistical analysis, research and development on environmental issues
Meter readings
Abstraction volumes
Cubic Metres
Litres
Gallons
Create XML

## HydroDailyReturn (hidden)
6. Start electricity meter reading
Date
Reading
| Net operating head in metres |  | Turbine/water wheel efficiency
[5 empty] | 1 > gen > 0 | 1 > trans > 0
| Generator efficiency |  | Transmission system efficiency |  | true | true
Yes
Calculated HAF
November | kWh generated in period |  |  | Calculated abstraction m3
amount of no's in checklist
4
December | kWh generated in period |  |  | Calculated abstraction m3
January | kWh generated in period |  |  | Calculated abstraction m3
February | kWh generated in period |  |  | Calculated abstraction m3
March | kWh generated in period |  |  | Calculated abstraction m3
April | kWh generated in period |  |  | Calculated abstraction m3
May | kWh generated in period |  |  | Calculated abstraction m3
June | kWh generated in period |  |  | Calculated abstraction m3
July | kWh generated in period |  |  | Calculated abstraction m3
August | kWh generated in period |  |  | Calculated abstraction m3
September | kWh generated in period |  |  | Calculated abstraction m3
October | kWh generated in period |  |  | Calculated abstraction m3
[8 empty] | Month | amount of readings | filled reading fields
7. End electricity meter reading |  |  | Completion checklist |  |  |  |  | november | 0 | 0
Date | [7 empty] | december | 0 | 0
Reading | [7 empty] | january | 0 | 0
|  |  | 3. Nil return complete? |  | Yes |  |  | february | 0 | 0
|  |  | 4.Measurement details complete? |  | Yes |  |  | march | 0 | 0
[8 empty] | april | 0 | 0
8. Total water abstracted m³ |  |  | 5. Further information complete? |  | Yes |  |  | may | 0 | 0
Amount abstracted |  |  | 6. Start electricity meter reading complete? |  | No |  |  | june | 0 | 0
[8 empty] | july | 0 | 0
|  |  | 6.Fields for HAF calculation complete? |  | No |  |  | august | 0 | 0
[8 empty] | september | 0 | 0
9. Declaration |  |  | 6.At least one day's meter reading complete and all fields valid? |  | No |  |  | october | 0 | 0
Signature (paper return) | [7 empty] | total | 0 | 0
|  |  | 7. End electricity meter reading complete? |  | No
Logic tests
|  |  | 8. Total water abstracted complete? |  | No |  |  | amount of readings = filled reading fields? |  |  | True
Please return the completed form to: Customer Care Centre Natural Resources Wales Ty Cambria 29 Newport Road Cardiff CF24 0TP
Data Protection Act 2018 The information provided by you will be processed by Natural Resources Wales in line with the Data Protection Principles to enable us to deal with your abstraction return, to monitor compliance with the licence conditions, to process renewals, and for maintaining the relevant public register. We may process and/or disclose the information in connection with the following: • Consultation with third parties who are relevant and responsible for responding to consultation requests from NRW • Prevent and investigate possible breaches of environmental law and taking any resulting action • Responding to requests for information under the Freedom of Information Act 2000 and the Environmental Information Regulations 2004, where the Data Protection Act allows • Carrying out statistical analysis, research and development on environmental issues
Create XML

## HydroWeeklyReturn
6. Start electricity meter reading
Date | 2019-04-01
Reading | 1605493
| Net operating head in metres |  | Turbine/water wheel efficiency
| 65 |  | 0.85
[5 empty] | 1 > gen > 0 | 1 > trans > 0
| Generator efficiency |  | Transmission system efficiency |  | true | true
| 0.89 |  | 0.99
Yes
|  | Calculated HAF | 7.5383
Week ending | kWh generated in period |  |  | Calculated abstraction m3
01/04/2018 | 1419 |  |  | 10696.8977
08/04/2018 | 483 |  |  | 3641.0159
15/04/2018 | 625 |  |  | 4711.4595
22/04/2018 | 367 |  |  | 2766.569
29/04/2018 | 253 |  |  | 1907.1988
06/05/2018 | 486 |  |  | 3663.6309
13/05/2018 | 0 |  |  | 0
20/05/2018 | 0 |  |  | 0
27/05/2018 | 0 |  |  | 0
03/06/2018 | 0 |  |  | 0
10/06/2018 | 0 |  |  | 0
17/06/2018 | 1698 |  |  | 12800.0932
24/06/2018 | 3105 |  |  | 23406.5308
01/07/2018 | 3963 |  |  | 29874.4224
08/07/2018 | 5214 |  |  | 39304.8798
15/07/2018 | 2503 |  |  | 18868.453
22/07/2018 | 998 |  |  | 7523.2585
29/07/2018 | 2355 |  |  | 17752.7794
05/08/2018 | 1363 |  |  | 10274.7509
12/08/2018 | 3269 |  |  | 24642.8178
19/08/2018 | 5145 |  |  | 38784.7346
26/08/2018 | 7059 |  |  | 53213.1082
02/09/2018 | 4596 |  |  | 34646.1886
09/09/2018 | 2489 |  |  | 18762.9163
16/09/2018 | 2120 |  |  | 15981.2706 | [6 empty] | amount of no's
23/09/2018 | 1541 |  |  | 11616.5746 | [6 empty] | 0
30/09/2018 | 3051 |  |  | 22999.4607
07/10/2018 | 6326 |  |  | 47687.5085
14/10/2018 | 6073 |  |  | 45780.3097
21/10/2018 | 3130 |  |  | 23594.9892
28/10/2018 | 6824 |  |  | 51441.5994
04/11/2018 | 7252 |  |  | 54668.0069
11/11/2018 | 4780 |  |  | 36033.2423
18/11/2018 | 5959 |  |  | 44920.9395
25/11/2018 | 5496 |  |  | 41430.6903
02/12/2018 | 3543 |  |  | 26708.3216
09/12/2018 | 6095 |  |  | 45946.1531
16/12/2018 | 7292 |  |  | 54969.5403
23/12/2018 | 7749 |  |  | 58414.5595
30/12/2018 | 5298 |  |  | 39938.0999
06/01/2019 | 2789 |  |  | 21024.4169
13/01/2019 | 4879 |  |  | 36779.5375
20/01/2019 | 7569 |  |  | 57057.6592
27/01/2019 | 4830 |  |  | 36410.159
03/02/2019 | 7858 |  |  | 59236.238
10/02/2019 | 3746 |  |  | 28238.6037
17/02/2019 | 5491 |  |  | 41392.9986
24/02/2019 | 7914 |  |  | 59658.3848
03/03/2019 | 3664 |  |  | 27620.4602
10/03/2019 | 4542 |  |  | 34239.1185
17/03/2019 | 5461 |  |  | 41166.8486
24/03/2019 | 3570 |  |  | 26911.8567
[8 empty] | Month | amount of readings | filled reading fields
7. End electricity meter reading |  |  | Completion checklist |  |  |  |  | november | 0 | 1
Date | 2020-03-31 | [6 empty] | december | 0 | 1
Reading | 1798225 | [6 empty] | january | 0 | 1
|  |  | 3. Nil return complete? |  | Yes |  |  | february | 0 | 1
|  |  | 4.Measurement details complete? |  | Yes |  |  | march | 0 | 1
[8 empty] | april | 0 | 1
8. Total water abstracted m³ |  |  | 5. Further information complete? |  | Yes |  |  | may | 0 | 1
Amount abstracted |  | 1452813 | 6. Start electricity meter reading complete? |  | Yes |  |  | june | 0 | 1
[8 empty] | july | 0 | 1
|  |  | 6.Fields for HAF calculation complete? |  | Yes |  |  | august | 0 | 1
[8 empty] | september | 23 | 28
9. Declaration |  |  | 6.At least one week's meter reading complete and all fields valid? |  | Yes |  |  | october | 31 | 31
Signature (paper return) | [7 empty] | total | 54 | 69
|  |  | 7. End electricity meter reading complete? |  | Yes
Logic tests
|  |  | 8. Total water abstracted complete? |  | Yes |  |  | amount of readings = filled reading fields? |  |  | False
Please return the completed form to: Customer Care Centre Natural Resources Wales Ty Cambria 29 Newport Road Cardiff CF24 0TP
Data Protection Act 2018 The information provided by you will be processed by Natural Resources Wales in line with the Data Protection Principles to enable us to deal with your abstraction return, to monitor compliance with the licence conditions, to process renewals, and for maintaining the relevant public register. We may process and/or disclose the information in connection with the following: • Consultation with third parties who are relevant and responsible for responding to consultation requests from NRW • Prevent and investigate possible breaches of environmental law and taking any resulting action • Responding to requests for information under the Freedom of Information Act 2000 and the Environmental Information Regulations 2004, where the Data Protection Act allows • Carrying out statistical analysis, research and development on environmental issues
Create XML

## HydroMonthlyReturn (hidden)
6. Start electricity meter reading
Date
Reading
| Net operating head in metres |  | Turbine/water wheel efficiency
|  |  | 2 |  | 1 > gen > 0 | 1 > trans > 0
| Generator efficiency |  | Transmission system efficiency |  | true | true
Calculated HAF
Month ending | kWh generated in period |  |  | Calculated abstraction m3
7. End electricity meter reading |  |  | Completion checklist
Date
Reading
|  |  | 3. Nil return complete? |  | Yes
|  |  | 4.Measurement details complete? |  | Yes
8. Total water abstracted m³ |  |  | 5. Further information complete? |  | Yes
Amount abstracted |  |  | 6. Start electricity meter reading complete? |  | No
|  |  | 6. Fields for HAF calculation complete? |  | No |  | Logic tests
Yes/No = Amount of readings?
9. Declaration |  |  | 6. At least one month's meter reading complete and all fields valid? |  | No |  | yes/No = Filled estimated fields? | amount of no's
Signature (paper return) | [6 empty] | amount of readings = filled reading fields? | 5
|  |  | 7. End electricity meter reading complete? |  | No |  | filled reading fields = filled estimated fields?
|  |  | 8. Total water abstracted complete? |  | No
Please return the completed form to: Customer Care Centre Natural Resources Wales Ty Cambria 29 Newport Road Cardiff CF24 0TP
Data Protection Act 2018 The information provided by you will be processed by Natural Resources Wales in line with the Data Protection Principles to enable us to deal with your abstraction return, to monitor compliance with the licence conditions, to process renewals, and for maintaining the relevant public register. We may process and/or disclose the information in connection with the following: • Consultation with third parties who are relevant and responsible for responding to consultation requests from NRW • Prevent and investigate possible breaches of environmental law and taking any resulting action • Responding to requests for information under the Freedom of Information Act 2000 and the Environmental Information Regulations 2004, where the Data Protection Act allows • Carrying out statistical analysis, research and development on environmental issues
Create XML