# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for Betlands Farm operated by Mr. David Gambold.

The application number is PAN-014905

The permit number is EPR/CB3299CC

The discharge is for the discharge of organophosphate sheep dip, diluted to a ratio of 1 part dip to 3 parts water/slurry. The sheep dip will be discharged to ground via a vacuum tanker over a minimum area of 0.2ha per disposal.  Maximum daily loading of diluted dip shall not exceed 4m3/day. The total volume of sheep dip being disposed will be 4m3 per annum. This will comprise of 1m3 of working strength dip and 3m3 of water/slurry. Owing to the farm being located over a principle aquifer disposals will take place once a year rotating annually between two separate disposal sites each with an overall minimum area of 0.2ha.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Consultation |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. | ü |
| ### Responses to consultation, web publicising | The web publicising and consultation responses were taken into account in the decision. None Received The decision was taken in accordance with our guidance. | ü |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. | ü |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. | ü |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. | ü |
| Biodiversity, Heritage, Landscape and Nature Conservation and a designated site under the Wildlife and Countryside Act. | The application is not within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat . Consultation was undertaken with Clwyd-Powys Archaeological Trust. No response was received. | ü |
| Habitat Regulation Assessment for a designated site under the EU Habitats Directive | No FORM 1 completed: HRA is not required because there is no conceivable impact pathway to any Natura 2000/Ramsar site Note: From OGN 200 - no conceivable impact on any Natura 2000 site, by virtue of the scale or location or nature of the project. | ü |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have carried out a risk assessment on behalf of the operator. The farm is located above a principle aquifer and there are concerns that annual disposal may not allow sufficient time for the chemicals to breakdown in the ground and subsoil before hitting the bedrock and subsequently going into the aquifer. The chemicals in the sheep dip tend to decay over a 18month – 2 year period but continued application can create a concentration being built up. The proposed solution is to have two disposal sites that are used on alternate years, thus allowing sufficient time for the chemicals to decay. The operator considers this risk assessment is satisfactory. | ü |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the Horizontal Guidance H1 – Annex J1 and we consider them to represent appropriate techniques for the facility. | ü |
| Operator Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. | ü |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” | ü |
| Environment Wales Act 2016 |  |  |
| Biodiversity and resilience of ecosystems duty | Section 6 of the Environment Wales Act 2016 requires that we seek to maintain and enhance biodiversity in the exercise of our functions, and in so doing promote the resilience of ecosystems, in a manner that is consistent with the proper exercise of our functions. NRW is satisfied that in this case, we have taken into account and had due regard to this duty in so far as it is consistent with the function of determining an application for a groundwater discharge activity permit under EPR2016. | ü |