Permit Number: 	DP3934EW			Operator: 		ENI UK Limited

Facility:		Point of Ayr Gas Terminal		Form Number: 	 Air1 / 26/10/18

# Reporting of emissions to air for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | Oxides of Nitrogen | 120 mg/m3 | (average of hourly averages) over minimum 4 hour period |  | BS EN 14792 |  |  |
| A1 | Sulphur dioxide | 190 mg/m3 | Continuous |  | BS EN 14181 |  |  |
| A2 | Oxides of Nitrogen | 100 mg/m3 | (average of hourly averages) over minimum 4 hour period |  | BS EN 14792 |  |  |
| A2 | Carbon Monoxide | 100 mg/m3 | (average of hourly averages) over minimum 4 hour period |  | BS EN 15058 |  |  |
| A3 | Oxides of Nitrogen | 100 mg/m3 | (average of hourly averages) over minimum 4 hour period |  | BS EN 14792 |  |  |
| A3 | Carbon monoxide | 100 mg/m3 | (average of hourly averages) over minimum 4 hour period |  | BS EN 15058 |  |  |
| A4 | Oxides of Nitrogen | 100 mg/m3 | (average of hourly averages) over minimum 4 hour period |  | BS EN 14792 |  |  |
| A4 | Carbon monoxide | 100 mg/m3 | (average of hourly averages) over minimum 4 hour period |  | BS EN 15058 |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	DP3934EW			Operator: 		ENI UK Limited

Facility:		Point of Ayr Gas Terminal		Form Number: 	 Water 1 / 26/10/18

# Reporting of emissions to water (other than to sewer) and land for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| W1 | BOD | 15 mg/l | Prior to each discharge |  | BS EN 1899-1 (1998) |  |  |
| W1 | pH | 6-10 | Prior to each discharge |  | BS ISO 10523 |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	DP3934EW			Operator: 		ENI UK Limited

Facility:		Point of Ayr Gas Terminal		Form Number: 	 Water Usage1 / 26/10/18

# Reporting of Water Usage for the year 20XX

| Water Source | Usage (m3/year | Specific Usage (m3/unit output) |  |
| --- | --- | --- | --- |
| Mains water |  |  |  |
| Site borehole |  |  |  |
| River abstraction |  |  |  |
| TOTAL WATER USAGE |  |  |  |

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(authorised to sign as representative of Operator)

Permit Number: 	DP3934EW			Operator: 		ENI UK Limited

Facility:		Point of Ayr Gas Terminal		Form Number: 	 Energy 1 / 26/10/18

# Reporting of Energy Usage for the year 20XX

| Energy Source | Energy Usage |  | Specific Usage (MWh/unit output) |  |
| --- | --- | --- | --- | --- |
|  | Quantity | Primary Energy (MWh) |  |  |
| Electricity * | MWh |  |  |  |
| Natural Gas | MWh |  |  |  |
| Gas Oil | tonnes |  |  |  |
| Recovered Fuel Oil | tonnes |  |  |  |
| TOTAL | - |  |  |  |

* Conversion factor for delivered electricity to primary energy = 2.4

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	DP3934EW			Operator: 		ENI UK Limited

Facility:		Point of Ayr Gas Terminal		Form Number: 	 Performance1 / 26/10/18

# Reporting of other performance indicators for the period DD/MM/YYYY to DD/MM/YYYY

| Parameter |  | Units |  |
| --- | --- | --- | --- |
| Total raw material used |  | tonnes |  |

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)