| Permit Number: | PAN-006532 |
| --- | --- |
| Applicant name: | Field Studies Council, Preston Montford, Montford Bridge, Shrewsbury SY4 1HW |
| Site Address: | Rhyd-y-Creuau, The Drapers Field Centre, Betws-y-Coed, North Wales LL24 0HB |
| Discharge Point NGR: | SH 79999 56969 |
| Respond by date: | 8th November 2019 (10 working days) |
| Permitting Officer: | Katrin Raynor-Evans |

Brief Description of proposal:

The application is to vary existing permit EPR-XB3590HS. A descriptive permit was issued for the site in 2015 for a discharge volume of 14m3/day of domestic sewage effluent from a Field Studies Centre. The effluent was treated by a primary settlement tank and a biological filter bed, discharging to the Afon Conwy via a final settlement tank.

The variation is to change the volume on the permit. When the permit was originally applied for, the volumes were incorrectly stated as 14m3/day. During the sizing and installation of a new package treatment plant, the applicant realised that the volume should have been permitted as 19m3/day.  There are no additional flows entering the system, the variation is to reflect what is happening on site.

Habitats Screening Report – Designations or protected species/habitats:

-	Mwyngloddiau Fforest Gwydir SAC

-	Mwyngloddiau a Chreigiau Gwydyr SSSI

-	Afon Llugwy SSSI

-	The Afon Conwy is a migratory route for Atlantic salmon, European eel and Brown/Sea trout.

-	There is a Code 1 protected species within 500m of the discharge point

Please can I have some direction, do I need to do a further HRA or Appendix 4 given that there will be no change to the permit conditions or impact on the designated features as concluded in 2015.

Risk Assessment Results (modelling or L1 Risk Assessment):

Modelling was undertaken for the original application in 2015 and this showed no deterioration to the receiving watercourse as the flow in river is very high.

Hydrology data provided on the 15th October shows:

Mean flow – 1123200 m3/day

Q95 – 89856 m3/day

Due to the flow in the river, I will not carry out any further modelling.

Miscellaneous:

NRM Responses:

Environment Management comments:

Officers name:
Date:

Biodiversity comments:

Officers name:
Date:

Fisheries comments:

Officers name:
Date:

Conservation/Ecology Comments:

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | Yes |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | No |
| Environmental Health | No |

Any Permitting Responses:

Date: