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Emergency Plan Spillage of Oil



    


1. Purpose

1.1 To define the response to accidental spillage of oils and coolants, and defines the required response.

2. Scope

2.1
Accidental spillage may occur in the following situations:

i) Off loading

ii) Transportation

iii) Filling

iv) During use (e.g. lubrication)

v) Maintenance operations

vi) Oils on parts
vii) Leakage from containers tanks etc as a result of accidental damage

2.2
Spillage is classified as follows:

Minor

- Up to 5 litres with no threat to drainage or water

Medium
- Between 5 and 25 litres with no potential to contaminate drainage or water

Major

- Any volume with the potential to contaminate drainage or water

3. Responsibilities

3.1 The Machine Shop Manager is responsible for co-ordinating the activities of this plan.

3.2 Individual responsibilities are defined within the plan.

3.3 All associates are responsible for reporting spillages.

4. Emergency Plan
4.1 Minor Spillage Of Oil

a) Cover with granules, absorbent cloth or sock.

b) Sweep up

c) Dispose of small quantities in machine shop waste bins under guidance from the Team Leader/Machine Shop Manager.

d) Contaminated absorbents will be disposed of as defined in AB-EW07-05-03 Special/Hazardous Waste Work Instruction
e) Inform Team Leader if required, record incident on AB-EF08-02-02 Environmental Incident Report if additional actions are required to prevent re-occurrence of spillage.

f) Completed reports to be passed to the departmental manager for review.
4.2 Medium Spillage Of Oil

a) Contain with granules, absorbent cloth or sock from the spill kits located in the area.

b) Inform Team Leader

c) Proceed with clean up
d) Dispose of small quantities in machine shop waste bins under guidance from the Team Leader/Machine Shop Manager.

e) Contaminated absorbents will be disposed of as defined in AB-EW07-05-03 Special/Hazardous Waste Work Instruction
f) Record incident on AB-EF08-02-02 Environmental Incident Report (obtain Record from System) Completed reports to be passed to the departmental manager for review.
g) This report will be logged in AB-EF08-02-04 Environmental Incident Log by the departmental manager.

4.3 Major Spillage Of Oil

a) Contain with granules, absorbent cloth or sock from the spill kits located in the area.

b) Protect drains and watercourses with granules or absorbent sock.

c) Inform Team Leader

d) Proceed with clean up

e) If contamination of watercourse or drains are suspected Team Leader is to inform management who will in-turn notify the Environment Agency (Tel 0800 807060) or Welsh Water (Tel 0800 052 0130) of the incident.

f) Record incident on AB-EF08-02-02 Environmental Incident Report (obtain Record from System) Completed reports to be passed to the departmental manager for review.

g) This report will be logged in AB-EF08-02-04 Environmental Incident Log by the departmental manager and the Environmental Management Representative must be informed.

4.4 Bulk Fuels  

a) Contain with granules, absorbent cloth or sock from the spill kits located in the area.

b) Protect drains and watercourses with granules or absorbent sock.

c) Inform Team Leader

d) Proceed with clean up

e) If contamination of watercourse or drains are suspected Team Leader is to inform management who will in-turn notify the Environment Agency (Tel 0800 807060) or Welsh Water (Tel 0800 052 0130) of the incident.

f) Record incident on AB-EF08-02-02 Environmental Incident Report (obtain Record from System) Completed reports to be passed to the departmental manager for review.

g) This report will be logged in AB-EF08-02-04 Environmental Incident Log by the departmental manager and the Environmental Management Representative must be informed.
4.5 Re-instatement of Spill Kit following Incident

a) If a spill kit is used during an incident a full review of it’s contents against the checklist provided must be completed.

b) Additional absorbents can be obtained from the department manager or environmental manager.

c) Once the kit has been checked and all required items replaced a new tag should be fitted to identify that the kit is fully stocked ready for use.

d) Complete the checklist AB-EF08-01-08 identifying the reason that the kit was opened and the date that the kit was resealed. 

5. Training
5.1 All relevant personnel shall be trained in the operation of this emergency procedure and in pollution prevention and control techniques. (Spill Response Team Sheets AB-EF08-01-09)
6. Documentation
6.1 Environmental Incident Report 



AB-EF08-02-02
6.2 Environmental Incident Log




AB-EF08-02-04

6.3 Spill Response Team Sheets



AB-EF08-01-09

6.4 Spill kit Checklists
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