Appendix 7: Technical Standards

Operations

The operation of the farm will be in accordance with Sector Guidance Note (SGN) EPR6.09.

Feed

Selection and use of feed will be in accordance with the SGN EPR6.09.

Protein will be reduced over the growing cycle by providing different feeds. 

Phosphorus levels in rations will be reduced over the production cycle.

Feed storage bins will be specifically designed to accommodate the required feeding regime.  

Housing

Housing design and management will be in accordance with the SGN EPR6.09.  

The housing will be well insulated and the sheds will have a damp proof course.  

The sheds will be fully insulated with a U-Value better than 0.4 W/m2/˚C to reduce condensation and heat lost.  

The sheds will be fan ventilated with a fully littered floor equipped with non-leaking drinking systems. In all houses there will be high velocity roof extraction fans with side air inlets for all minimum house ventilation plus some gable end fans for hot summer weather.
Litter will be kept loose and friable.  The quality will be regularly inspected to ensure it does not become excessively wet or dry.  Steps as described in the SGN6.09 will be taken to rectify any changes to the quality of the litter.  

Temperature in the sheds will meet the health and welfare needs for the age and number of the birds.  

Hot Water will be provided by three 220 Kilowatt (242 Kilowatt input) clean biomass boilers. The sheds will be heated using an under-floor hot water system, (see site plan for location of Biomass Boilers), the pipes will be spaced regularly within the sheds to prevent cold spots and extremes of temperature. Back up will be provided by 350 Kilowatt LPG Boiler system. 
The fans will be fitted with back draft shutters to prevent drafts and unnecessary heat loss. 

The houses will be accessed via the control rooms, which prevent drafts.

A computer will automatically control ventilation and heating so that heat is not wasted by being drawn out of the building.  

The ventilation management system controls the ventilation rates depending on the health and welfare needs of the birds and the outside weather conditions.  
General Management

In accordance with the management system at the farm, the buildings will be regularly inspected and maintained.  The floors and walls of the sheds will be kept clean.  

The site will be regularly inspected and well maintained.  

Livestock Numbers and Movements

A system will be in place to record the number animal places and animal movements.  

These records will be available for inspection.  

Slurry spreading and manure management planning – off site-activity 

Used litter will not stored at the installation.  

All litter will be exported from the installation.  Records will be kept of the quantities and the dates of transfer.
Contingency arrangements will be in place with other surrounding farms to accept the manure in case of an emergency. 

Records will be kept of the names and addresses of all receiving farms.  
All receiving farms will sign that litter will be spread to land in accordance with the Code of Good Agricultural Practice, or in accordance with the manure management plan for the receiving land. 
Some litter may be spread to land owned by the same business, the farm will have a manure management plan and will spread to land in accordance with the Code of Good Agricultural Practice
Emissions and Monitoring

Table of emission points 

	Emission point description/source and location
	Source

	Air
	

	High Velocity roof fan outlets for all minimum ventilation plus some gable end fans for summer use only as shown on the site layout plan.
	Broiler House 1

	High Velocity roof fan outlets for all minimum ventilation plus some gable end fans for summer use only as shown on the site layout plan.
	Broiler House 2

	High Velocity roof fan outlets for all minimum ventilation plus some gable end fans for summer use only as shown on the site layout plan.
	Broiler House 3

	Exhaust from Biomass boilers
	BB1  Grid Ref; 321917,318433

	Exhaust from Biomass boilers
	BB2  Grid Ref; 321917,318430

	Exhaust from Biomass boilers
	BB3  Grid Ref; 321917,318427

	Exhaust from LPG boiler
	Same building as Boilers GB1

	Emergency pressure release vent on LPG tanks shown on layout site plan
	LPG Tanks

	Air breather on fuel oil tank (Integral)
	Generator 

	Exhaust on generator as shown on site layout plan
	Generator

	Land
	

	All roof and clean surface water is piped off site
	Uncontaminated surface water from all the broiler sheds and the surrounding yard area. 

	Water
	

	Yard drainage discharge to off site open drainage ditch leading to River Vrynwy, as shown on the site drainage plan.
	Uncontaminated surface water from yard areas around the office.


There will be no emissions to groundwater of list I or list II substances.

Fugitive Emissions

Appropriate measures for preventing and minimising fugitive emissions will be in place in accordance with the SGN EPR6.09.

Buildings will be maintained in good repair.

Areas around buildings will be kept free from build-up of manure, slurry and spilt feed.  

Footbaths will be managed so that they do not overflow. 

Drainage from animal housing and water from cleaning out will be collected in an underground storage tank as shown on the site drainage plan.  Diverter bungs will be used during wash down periods to prevent the contamination of surface water systems and to divert the wash water to the dirty water tanks. 
Clean drainage systems will not be contaminated.

Drainage from yards contaminated by litter or wash water will be collected in a dirty water tank.

The wash water tank was built to conform to specifications in SGN EPR6.09.   

Spent disinfectants are added to the dirty water collection tanks.

Dust

Ventilation systems will be operated to Feed will be stored in purpose built covered feed silos located next to the broiler sheds.   

No milling of feed will take place at the farm. All mixing of whole wheat with propriety feeds will be in a sealed steel shed. All feed will be delivered to the farm by lorry from feed suppliers. Feed will be blown directly from the lorry into the storage silos. Feed will be piped from the silos to the sheds minimising dust emissions.    

Ventilation systems will be operated to achieve optimum humidity levels for the stage of production in all weather and seasonal conditions.

Control of minimum ventilation rates will be planned to avoid the build-up of moisture in the house.  
Ventilation will be appropriate to the age and weight of the animal.

The sheds will be managed to maintain the poultry litter is as dry and friable condition as possible.  Dust will be controlled through the management of litter and air quality.  

All minimum ventilation in all the Broiler houses will be by high velocity roof outlets with some gable end fanning in hot summer weather.
Rainwater from the houses is captured and directed using ‘french’ drains before being directed off site. 
Litter will not be stored on the site.

The biomass used in this system will be clean biomass and will not contain any used or recycled material. The biomass will be delivered in to a sealed store thus minimising any dust. From the store the biomass is augured in to the boiler using a sealed system to prevent dust escaping in to the atmosphere. The boiler room itself is also sealed again to prevent dust from escaping in to the atmosphere.

Carcass management

Fallen stock will be stored in sealed, vermin proof containers before being collected by a licensed contractor under the National Fallen Stock Scheme.
Flies

There will be no incidents of fly nuisance at the farm.  Appropriate actions will be put into place to prevent and control flies should a nuisance arise.

Bunding and containment

Agriculture Fuel oil and other chemical storage

The fuel oil storage tank for generator will be bunded and will be integral to the generator.  The bunds meet the requirements of the Control of Pollution (Silage, Slurry and Agricultural Fuel Oil) Regulations 1991 (amended 1997) and meet the requirements outlined in SGN EPR6.09.   The tanks will be regularly inspected.  

The Liquid Petroleum Gas tanks will be protected from collision damage by guard rails.  

Pesticides and veterinary medicines will be kept in a store capable of retaining spillage, resistant to fire, dry, frost free and secure. 

Foodstuff

Feed will be kept in silos adjacent to the broiler sheds.  No liquid feed will be stored at the site. 

The silos will be sited away from site traffic and protected from collision damage. 

Odour

There are neighbours (sensitive receptors) within 400m of the farm, the site will have an odour management plan in line with the SGN EPR6.09 and the H1 assessment refer to Appendix 8 Odour Management Plan.
Noise and vibration

There are neighbours (sensitive receptors) within 400m of the farm, the site will have a noise management plan in line with the SGN EPR6.09 and the H1 assessment refer to Appendix 9 Noise Management Plan.

Biomass Boiler

There will be three 220 Kilowatt (242 Kilowatt input) clean biomass boilers. The Biomass boilers will use only clean biomass and have an exhaust height of at least 1 metre higher than any building within 25 metres. There are no Special Areas of Conservation, Special Protection Areas, Ramsar Sites or Sites of Special Scientific Interest within 500 metres. There are no National Nature Reserves, Local Nature Reserves, Ancient Woodlands or Local Willdlife Sites within 100 metres. The boiler will meet the technical criteria to be able to receive Renewable Heat Incentive.

The bulk biomass is stored totally separate to the boilers themselves, the biomass is then passes through a sealed augured (dust control) in to the boilers. This is standard practice for keeping the bulk of the biomass separate to the ‘hot’ area where the actual burning takes place effectively preventing cross over between the 2 areas as there is very limited oxygen available to support combustion in the sealed augur and there is also quite a distance between the end the auger and the fire itself as well as a fire plate that only opens when additional biomass is required. Added to all this there is a monitoring system that should the boiler overheat in any way then it is dowsed with water automatically.
RHI certificate is attached.
All biomass must be accompanied by the correct paperwork and will be inspected at the time of delivery. Failure to comply with the correct standard will result in the delivery being rejected.
Hendreboeth

