
Environment Management Systems


	Farm Name; Hendreboeth
	Operator; Wallace Bebb Farms Ltd


Records are kept of inspection and maintenance of farm structures and plant.

Staff report any problems encountered and actions taken on a daily basis to the site manager. A record is made in a log kept in the site office. This reviewed daily by the person with overall responsibility for the site for that day and appropriate action is implemented.

Equipment is inspected between each crop of birds with the structure inspected annually, the inspection and maintenance programme covers the following areas;
Pre-crop inspection

· Fans

· Vents

· Heaters

· Feeders including X auger 

· Alarm and pager
· Guttering and Drains

· Pollution Point

· Diverter value

· Biomass Boiler
Annual inspection

· Building structures and yards. Includes

· Structural integrity

· Water system

· Roofs

· Drainage systems

· Gutters and downspouts

· Emergency Generator

· Dirty water tank, drains and pipe work 
· Medicines/chemical store, including bunding and security

· Fuel storage tanks, pipe work, bunding and security

· Feed storage bins including collision protection

· Feed delivery pipe work

· Carcass storage
· Gas tanks

· Biomass Boiler

Hendreboeth
Plan Date 

Review Date

