Appendix 10: Energy Efficiency

Energy usage at Ty Brith Farm
	Energy source
	Use

	Electricity
	Lighting, ventilation, computer control systems,  feed augers, water pumps

	LPG Gas
	Heating

	Diesel
	Standby generator, jet wash and vehicles.  

	Biomass Fuel
	Hot Water Boiler


Heating

The correct environment for the birds is maintained in the sheds through a combination of Hot Water radiators located within the house and ventilation fans located in the roof of the houses (unchanged), see site layout plan Appendix 1. 
Each shed is monitored by a computer system, which automatically controls and records the humidity and the temperature.  

Hot Water will be provided by two 199 Kilowatt (221 Kilowatt input)  boilers using clean, virgin biomass or Grade A recycled timber biomass for all the houses. The existing LPG Brooders will be used as backup in the case of breakdown.
Hot Water radiators are equally distributed though the housing to prevent cold spots and sensors triggering and activating the heaters unnecessarily.

Control sensors are checked regularly and kept clean so they are able to detect the temperature at the stock level.  

Ventilation rates are computer controlled to minimise, as far as the indoor requirements allow heat losses from the sheds.  

Fans are fitted with back draft shutters to reduce heat loss.  

The sheds are maintained in good condition, cracks and open seams are repaired.  

The sheds are fully insulated with a U-Value of approximately 0.4 W/m2/˚C to reduce condensation and heat lost.  

The sheds are constructed to ensure litter is dry and friable and reduce the need to heat the sheds to keep the litter dry.  

The concrete flooring is maintained and cracks are repaired.  

Each shed has a damp proof course.  

Cupped nipple drinking system reduces spillage of water.

Electricity

The ventilation fans in the houses were selected so that they are appropriate power and size for the sheds. 

The computer control systems control the ventilation for maximum efficiency ie one fan operating at full capacity rather than two operating on half their capacity.   

The fans are low energy per m3 of air.

The fans are regularly maintained, and cleared of debris. 

Low energy light bulbs are used in the control/vestibule areas, the office and stores.  

Fluorescent lights are used in the sheds. 

We do operate a variable lighting period during the crop cycle.  

Fuel Oil

The standby generator is regularly maintained in accordance with the manufacturer’s instructions to insure it operates efficiently.
The Biomass boilers will be regularly maintained in accordance with the manufacturer’s instructions to insure it operates efficiently.

Biomass Fuel

It is proposed to use Grade A recycled timber as an additional biomass source. Grade A biomass is described by the Wood Recyclers’ Association in document PAS 111, see Appendix A. A copy is attached to this application. A source has been identified where it can be confirmed that only Grade A is available as no other recycled timber enters the premises.
The farm has already undertaken one four yearly energy review.
Ty Brith Farm

