Permit Reference Number:

Installation:

Operator:
Permit Reference Number: BX72821S

Installation: InBev Magor Brewery

Operator: InBev UK Ltd

Form Number : Schedule 1 – Notification of Abnormal Emissions 
Part A
	Permit Number
	BX2782IS

	Name of Operator
	InBev UK Ltd

	Location of the Installation
	Magor

	Location of the Emission
	Magor Brewery – Off Site Water Treatment Plant


	Time and Date of Emission
	Saturday 12th November 16, approx. 7am.


	Substance(s) emitted
	Media
	Best estimate of the quantity or rate of Emission
	Time during which the emission took place

	Effluent from the onsite inlet 
	Ground and local rein
	Exact quantity unknown.  Still to be determined during investigation
	Saturday 12th November 2016 (approx 7.00am)

	
	
	
	

	
	
	
	


	Measures taken or intended to be taken to stop the emission
	The incident was discovered on Saturday morning by Suez Water Treatment Supervisor.

The actions taken on discovering the spillage were :

ABInBev were notified of the spillage 
TS FLM instructed boiler operators to stop the flow off effluent from the brewery
Drain protection was placed around and over the storm water drain to ensure no further effluent was discharged to the storm water drain.

Suez personnel cleaned screens and filters with appropriate tools
Screens were  also cleaned by flexible solutions
Transclean attended site to clean  the storm water drain, and road.
Flows returned  back to normal at the brewery.
Suez monitored flows throughout the day,  samples were taken from the discharge outlet into reins.  
Sets off samples were collected for the onsite lab, for both Saturday & Sunday.
Transclean emptied interceptor on Monday
Area visited by AB, Suez and NRW.

The investigation by ABInBev and Suez has not been issued yet and is in progress.


Part B

	Any more accurate information on the matters for notification under Part A
	. 

	Measures taken or intended to be taken to prevent a recurrence of the incident
	

	Meaures taken or intended to be taken to rectify limit or prevent any pollution to the environment or harm  which has been or may be caused by the emission
	

	The dates of any unauthorised emissions from the installation in the preceding 24 months
	


	Name*
	Beverley Jenkins

	Post
	Seconded  ES Manager

	Signature
	

	Date
	15/11/16


*Authorised to sign on behalf of InBev UK Ltd.
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