Permit Reference Number:

Installation:

Operator:
Permit Reference Number: BX72821S

Installation: InBev Magor Brewery

Operator: InBev UK Ltd

Schedule 1 – Notification of Abnormal Emissions 
Part A
	Permit Number
	BX2782IS

	Name of Operator
	InBev UK Ltd

	Location of the Installation
	Magor

	Location of the Emission
	Magor Pill Treatment Works (A8)


	Time and Date of Emission
	4/12/2014


	Substance(s) emitted
	Media
	Best estimate of the quantity or rate of Emission
	Time during which the emission took place

	S0x  97 versus 80 limit (uncertainty 12.4 ) 
	Air
	During routine monitoring
	During routine monitoring

	H2S to engine
	-
	Ranging from 225  - 332 ppm
Ranging from  258 - 409 ppm (NB been 409 for 5 consecutive days)


	12th / 13th / 14th / 16th – 20th Dec
29th Dec – 3rd Jan 2015

	
	
	
	


	Measures taken or intended to be taken to stop the emission
	A Cogenco specialist was present during the monitoring, to fine tune the engine.  
The H2S levels on inlet to engine have been increasing.  At first, the accuracy of the instrumentation was checked.  Calibration data and evidence could be found for the 11th Dec. 

The media was then investigated for replacement.  It appears that the media is requiring replacement far more frequently than previously.  See attached.

Veolia are still investigating the root cause.




Part B

	Any more accurate information on the matters for notification under Part A
	. 

	Measures taken or intended to be taken to prevent a recurrence of the incident
	

	Meaures taken or intended to be taken to rectify limit or prevent any pollution to the environment or harm  which has been or may be caused by the emission
	

	The dates of any unauthorised emissions from the installation in the preceding 24 months
	


	Name*
	Kathryn Fowler

	Post
	ES Manager

	Signature
	

	Date
	5/1/2015


*Authorised to sign on behalf of InBev UK Ltd.
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