EnviroWales Ltd.                                  Permit GP3337KD                                 Annual Reporting Form  E1           



  
[image: image1]

	Permit Number


	GP3337KD
	Operator
	EnviroWales Ltd.

	Facility


	Tafarnaubach Waste Facility
	Form Number
	Energy 1   E1


	Reporting of energy use for the year 2014



	Energy Source


	Energy Usage

Quantity
	Primary Energy 

(MWh)
	Specific Usage

MWh/Unit output

	Electricity
	66,205 kWh
	158.89 MWh
	0.026 MWh/t

	Diesel
	3,000 litres
	33.3 MWh
	0.0054 MWh/t


· Conversion factor for delivered electricity to primary energy = 2.4
	Operator’s Comment

Until the beginning of 2013, a diesel generator was used to provide electrical energy as well as drive the plant. Significant electrical energy use by LEV units required mains supply.



	Signed


	[image: image1]
	Date
	20th January 2015

	(Authorised to sign as representative of the Operator)


	


[image: image2.png]w/



[image: image3.emf]