DRAINAGE REVIEW – Ffordd Fawr

Ffordd Fawr site and its operator Mark Eckley is committed to ensuring compliance with its environmental permit. The following review questionnaire was conducted to ensure compliance.

Review date: 21-Aug-2017		Reviewed by: Mark Eckley. 		Signed:

| Question |  | Guidance | Answer Yes/No/N/A | Comments |
| --- | --- | --- | --- | --- |
| 1 | Is (are) the receptor(s) clearly identified on the plan? | Show the location and boundary of engineered structures. Ensure that the plans also show the location of surface waters and groundwater, swales and soakaways. | YES | Site & drainage plan comprehensive and up to date. |
| 2 | Is it (are they) accessible at all times? | Access paths should be kept clear of nettles/thistles etc. to allow inspection by both the operator and N.R.W. at all times. Answer for each receptor identified if more than one. Observe site health and safety issues when dealing with slurry stores. | YES | Site well maintained. |
| 3 | Are all sources identified that discharge to your receptors? | Where are the discharge points into ponds and ditches? As this water must be clean sources must be identified. Have you identified the source of all of the pipes discharging to your engineered structures and other receptors? | YES | All sources identified and labeled on drainage plan. No ponds on site. |

| Question |  | Guidance | Answer Yes/No/N/A | Comments |
| --- | --- | --- | --- | --- |
| 4(a) | Are inlet points known? | The inlet and outlet points to dirty water stores should be identified The inlet points to swales and soakaways should be identified. How is water level maintained in ponds? Is there an outflow, where is it and to what does it discharge and is it controlled? Where there is no outflow and the pond does not overflow, is the pond leaking to groundwater? . | YES | Identified on drainage plan. |
| 4(b) | Are outlet points known? |  | YES N/A N/A | Soakaways identified on drainage plan. No ponds on site. |
| 5 | Are structures appropriately sized and constructed? | Engineered structures should be of sound design and maintained to ensure their integrity. They should be of sufficient size to meet both the operational requirements of the individual installation and to meet statutory long-term storage requirements. These are the Control of Pollution (Silage, Slurry and Fuel Oil) Regulations at all installations (and the Nitrate Vulnerable Zones Regulations where appropriate). Structures should be managed to make sure the correct freeboard is maintained and that overfilling doesn’t occur. Good construction, management, maintenance and appropriate sizing also applies to swales. | YES | Site dirty water tank has a capacity of 7,000 liters. During wash down procedure wash water tanks are constantly monitored and emptied as appropriate. |

| Question |  | Guidance | Answer Yes/No/N/A | Comments |
| --- | --- | --- | --- | --- |
| 6 | Can receptors be managed to protect the environment? | Can all of the receptors be protected? Can all discharges to them be contained, blocked, by- passed or isolated if necessary (this should be established in the accident management plan)? Can they be monitored in an emergency? How do you know when they are full or empty? | YES | Tank has access manhole to inspect level of freeboard. Diverter valves are in place to allow diversion of rainwater to soakaways when not washing down site. |
| 7 | Is the quality of run-off consistent in all cases even though the quantity may fluctuate? | The quality of run-off can change? Clean water flows can become temporarily dirty (for example, concrete driveways during shed cleanouts). If this can happen you will need a diversion system in place. If there’s no diversion system installed then the run-off will need to be permanently treated as dirty water and directed to a suitable receptor. This may place a large storage burden on an engineered structure. There may also be subsequent disposal costs. This may be an area where operators can make cost effective improvements to their site drainage. | YES | All yard water directed to dirty water tanks. Tanks can be sealed during crop cycle to allow clean rainwater to run off to French drains. Yard kept clean and tidy at all times. Yard regularly washed down to collect dust / foul water into waste tank. Tanks then sealed to allow clean rainwater into soakaways. |

# Pathways – how does the drainage get there – the route that liquids take

On the site drainage plan the pathway should be identified by arrows showing the direction of flows, the location of drain inlets and access points (manhole covers and inspection chambers). The pathways are likely to be one of the following three categories:

  - Gutters, downpipes and drains – may be piped pathways fixed or temporary (rigid or flexible), above ground or buried, gravity fed or pumped.

  - Overland flow – may be planned and marshalled (yards and slopes).

  - Channels, gullies and drain inlets – may be directing flow or intercepting it (to protect buildings and structures).

| Question |  | Guidance | Answer Yes/No/N/A | Comments |
| --- | --- | --- | --- | --- |
| 8 | Are all pathways shown on the plan? | The route should be shown in its entirety including direction of flow. | YES | All pathways shown including directions of flow. |
| 9 | Are all manholes and inspection covers shown on the plan? | Use the standard symbols to describe these. The key to symbols to use is in the ‘Introduction’ to this document. | YES | Identified and clearly labeled on site map. |
| 10 | Are they identified as either clean, dirty or lightly contaminated on the plan? | This refers to their identification and designation on the plan. Where a diverter is in place to deal with flows of variable quality then the plan should show this and identify all of the categories that may use the pathway. | YES | Identified and clearly labeled on site map. |
| 11 | Are they identified on site as clean or dirty by coloured paints? | Are all manholes, inspection chambers, drain inlets etc. identified by paint marks of the appropriate colour to signify their contents - red for dirty, blue for clean? Mark the direction of flow in the appropriate colour. | NO | Manhole covering dirty wash water tank to be painted RED. Completion date:____________ Signed:_________________ |

| Question |  | Guidance | Answer Yes/No/N/A | Comments |
| --- | --- | --- | --- | --- |
| 12 | Are all gutters downpipes and drains in good condition? | Are they complete (are there missing and broken gutters)? Do they connect to a satisfactory downpipe? Does it discharge to a drain and does the drain exclusively service the gutter (is the water clean and will it remain uncontaminated)? Are they adequately sized (downpipe frequency, diameter etc.)? Are they fitted with filters? Are they maintained and do they work? | YES YES YES YES YES | All guttering complete and in good working order. Discharged to drain which feeds wash water tank / soakaway via a diverter valve. No signs of overflowing during inspection. |
| 13 | Are sleeping policemen, diverters or interceptors identified on the plan? | Overland flow is a major feature of all farm installations. For each surface flow pathway the following points should be considered and documented: - Is it concrete and is it impermeable (not cracked or potholed)? - Are there any deviation devices – sleeping policemen, interceptors? - Is there any sectioning for clean and dirty water separation and is this permanent or temporary. If so does it change during the year at peak times such as mucking out or stock movement? - Is the flow ever impeded or contaminated by temporary storage of manures, straw, feedstuffs etc. if so is it diverted if it was previously clean? | YES YES YES NO | Concreted yard. Concrete yard has been sloped to channel surface water to dirty water tank / soakaway via storm drain inlet and diverter valve. Yes, via sealing of tanks. Diverted to wash tank during clean out / washing operations. Diverted to soakaway at all other times. |

| Question |  | Guidance | Answer Yes/No/N/A | Comments |
| --- | --- | --- | --- | --- |
| 14 | Does the plan show the limits of both concreted and grassed areas? | Some clean water/rainfall may be disposed of on grassed areas or soakaways. Some run-off may initiate from grassed and unconcreted areas. Some areas may have surfaces made from tarmac, bitmac or compacted road planings. They should be shown on the plan as either a source, pathway or a receptor (or a combination). | YES | Site drainage map identifies both concrete and grass areas. |
| 15 | Are all drain inlets, channels and gullies identified on the plan? | Channels, gullies and drain inlets: - Where are they? - Are they part of an integrated system with junctions and inspection chambers? - What is near them and are there high risk activities upslope of them? If so are safeguards in place (kerbs installed, emergency drain covers etc)? Do they take clean or potentially clean water? | YES | All drains, gullies and channels identified on drainage plan. Dirty water is directed to wash tanks. Clean water is directed to soakaway. |
| 16 | Do they take clean or contaminated water and does the plan show this? | Are they identified by either red or blue colouring on the plan as appropriate? If there are flows of variable quality then use more than one colour as appropriate. | YES | Drainage plan up to date. |

# Sources and pollutants – where does the drainage come from and what is it

On the site drainage plan a source will be shown as a physical structure. This may include:

  - buildings, tanks, hoppers, raceways, yards, reception pits, clamps, incinerators, wheel washes etc. Depending on what the structure is, it will generate a range of liquids and possible contaminants.

| Question |  | Guidance | Answer Yes/No/N/A | Comments |
| --- | --- | --- | --- | --- |
| 17 | Are all sources included on the plan and are they clearly identified? | Are all the buildings included on the plan? | YES |  |
| 18 | Is the roof water from the structure uncontaminated? | The collection of rainwater from roofs is the most obvious source of potentially uncontaminated liquid (clean water). This, and run-off from clean yard surfaces is the only material that can be directed straight to a watercourse. However, where there are roof vents, roof water is assumed to be contaminated and should be intercepted. | YES | Roof water intercepted and diverted to soakaway. |
| 19 | Is the rainfall collected from yard areas uncontaminated? | Provided that they are kept clean, run-off from yards can be classed as uncontaminated. Yard cleanliness may be periodic. During shed emptying or livestock removal they may be dirty and some form of drainage diversion will be necessary. | YES. | Yard kept clean and tidy at all times. |

| Question |  | Guidance | Answer Yes/No/N/A | Comments |
| --- | --- | --- | --- | --- |
| 20 | Are all contaminated liquids directed to a managed receptor? | Other materials that may be generated from buildings may include: - Slurry (from manure stores, seepage from buildings and passageways, scraping routes etc.). - Fuels and oils, pesticides, disinfectants. - Feedstuffs – spillages and dust from milled products. Pressure washing areas can also be a source of contaminated water. | YES | Dirty wash water directed to dirty water tank. |
| 21 | Are any lightly contaminated sources directed to swales or soakaways? | Dust from buildings with side-wall ventilation systems and rainfall from roof-vented sheds may create contaminated water. This may be disposed of via a swale or a soakaway taking account of groundwater vulnerability. Soakaways may not be appropriate if the site is on a major aquifer. | YES | Directed to soakaway. |
| 22 | Has the release of all contaminants been minimised where possible? | The risk from contaminants may occur continuously from rainfall, scraping down, seepage, ventilation fans etc. Other contaminants may be only occasionally released from delivery of fuels, pesticides, feedstuffs, shed clearance and cleaning at the end of rearing cycles. Rarer risks arise from accident and emergency situations. Most sources and risks can be minimised by bunding stores, kerbing muck pads, installing sleeping policemen in muck passage doorways etc. | YES | Yard designed to direct dirty water to dirty water tank. Tank is closely monitored and emptied when necessary during cleaning down procedures. |

# Checklist – are the following included on your drainage plan?

| Points to be shown on plan | Yes - if included on plan |
| --- | --- |
| The location of all receptors | YES |
| All buildings, structures and other sources of drainage | YES |
| Points where clean water discharges to ditches, rivers and watercourses | YES |
| Outfall points into dirty water lagoons and their emptying points | YES |
| Boundaries of grassed areas, swales and soakaways | YES |
| Pathways using blue where the flows are clean water | YES |
| Pathways using purple where the flows are lightly contaminated water | YES |
| Pathways using red where the flows are dirty water | YES |
| Access points into the pathways and coloured accordingly | Labeled and identified. |
| Inspection points and manholes and coloured accordingly | Labeled and identified. |
| Diverters, interceptors and sleeping policemen | Labeled and identified. |

Drainage action plan:

| Issue | Action | Proposed timescale for completion | Estimated cost £ | Timescale agreed with Environment Agency |
| --- | --- | --- | --- | --- |
| None at this time. | N/A |  |  |  |