Permit Reference Number: KP3735XW






Operator: Premier Foods
Installation: Barry Flour Mill







Form Number: WL1

Reporting of Emissions to Land for the period from ……01/01/14…………………….to…31/12/14…………………………

	Emission

Point
	Substance /

Parameter
	Emission

Limit Value
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Accreditation/Certification [4]
	Uncertainty

[5]

	WL1
	Boiler blow down effluent flow rate
	1 m3/day
	0                                                        
	n/a
	No longer in use
	
	


[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. colorimetry.

[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements, or flow/time proportional samples, the percentage of the process operating time covered by the monitoring is given.   

[4] The accreditation status of the equipment and/or the monitoring organisation, as appropriate, for the methods used for both sampling and analysis.

[5] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated. The following uncertainties are quoted on a different basis (basis as stated) – {The basis of any other uncertainty figure needs to be stated. Where no figure is available the Agency will need to agree an appropriate uncertainty value.} 

Signed ……I. Bewick……………………………………………………….  

Date…25/02/15……………………..




(Authorised to sign as representative of the Operator)

Permit Reference Number: KP3735XW





Operator: Premier Foods
Installation: Barry Flour Mill






Form Number: R1
Reporting of Waste Disposal and Recovery for the year ……2014……………………….

	Waste

Description
	Disposal
	Recovery
	
	Trends in Waste Disposal and Recovery

	
	Route
	Tonnes
	Tonnes
	
	Year
	Parameter

	
	Biffa, Natural Solutions
	
	
	
	
	Hazardous

waste (t) / finished product (t)
	Non hazardous

waste (t) / finished product (t)
	Total waste (t) /  finished product (t)

	1) Hazardous Wastes
	
	
	
	
	2006
	
	
	0.0012t

	Wee (200135)
	Biffa H5 R13
	6.0
	0
	
	2007
	
	
	0.0013t

	Oil waste (200113)
	Natural Solutions H7/44
	0.700
	0
	
	2008
	
	
	0.0008t

	Oil contaminated absorbent material (150202)
	Natural Solutions H7
	0.81
	0
	
	2009
	
	
	0.0007t

	Oil contaminated spill kit (170603)
	Natural Solutions H7
	0.25
	0
	
	2010
	0.0001
	0.0005
	0.0006t

	Fluorescent tubes (200121)
	Biffa H5
	0.15
	0
	
	2011
	0.0000
	0.0044
	0.0044t

	Plastic oil tank & oil & water separator (150110 & 130507)
	Biffa R7
	0.3
	0
	
	2012
	0.0001
	0.0052t
	0.0050t

	Mixed flammable paint & oils (160305)
	Biffa H3A
	6.0
	0
	
	2013
	0.0000519
	0.0020847
	0.0023337

	Waste grease & oily rags (191211)
	Biffa H7
	0.66
	0
	
	2014
	15.015
	6.17
	21.185

	Empty plastic containers (191211)
	Biffa H4
	.01
	0
	
	
	
	
	

	NCR Pybuthin (191211)
	Biffa H4 H14
	0.1
	0
	
	
	
	
	

	NCR Carbo dioxide cylinders (160505)
	Biffa 
	.035
	0
	
	
	
	
	

	2) Non-Hazardous Wastes
	
	
	
	
	
	
	
	

	General Waste (200301)
	Biffa R1
	2.9 
	0
	
	
	
	
	

	Paper & Cardboard (150106)
	Biffa R3
	0.51
	0.51
	
	
	
	
	

	Metal 
	Biffa 
	2.76
	2.76
	
	
	
	
	

	TOTAL WASTE
	
	21.185
	3.27


	Operator’s comments: 
Plant ceased operation 26th October 2013, all waste part of the decommissioning programme.


Signed ……I. Bewick……………………………………………….  

Date……25/02/15……………..


(Authorised to sign as representative of the Operator)

Permit Reference Number: KP3735XW





Operator: Premier Foods

Installation: Barry Flour Mill






Form Number: WU1

Reporting of Water Usage for the year …2014………………………….

	Water Source
	Usage

(m3)
	Specific Usage 

(m3/t)
	
	Trends in Water Usage

	
	
	
	
	Year
	Parameter

	
	
	
	
	
	Named 

Water source
	Total 

Water usage
	Water / finished product (t)

	Mains water
	Unknown
	
	
	
	
	
	

	
	
	
	
	2008
	Mains water
	11144m3
	0.090

	
	
	
	
	2009
	Mains water
	10216m3
	0.085

	
	
	
	
	2010
	Mains water
	10127m3
	0.087

	
	
	
	
	2011
	Mains water
	9111m3
	0.084

	TOTAL WATER USAGE
	Unknown
	
	
	2012
	Mains water
	8670m3
	0.073

	
	
	
	
	2013
	Mains water
	2648 m3
	0.029


	Operator’s comments :

The site ceased production in October 2013, the only water used by the site has been for hygiene purposes only.  All water bills have been estimated which we are trying to resolve.



Signed ……I. Bewick……………………………………………………….  

Date…25/02/15……………………..




(authorised to sign as representative of the Operator)

Permit Reference Number: KP3735XW





Operator: Premier Foods

Installation: Barry Flour Mill






Form Number: E1

Reporting of Energy Usage for the year ………2014…………………….

	Energy Source
	Energy Usage
	CO2
Produced

(tonnes)
	
	Trends in Energy Usage

	
	Quantity
	Primary Energy

(MWh)
	
	
	Year
	Parameter

	
	
	
	
	
	
	Primary Energy usage
	CO2

 produced
	CO2  / finished product (t)

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	2005
	29212
	5041
	0.038

	Electricity *
	Unknown
	0
	0
	
	2006
	31569
	5436
	0.041

	Natural Gas
	tonnes
	0
	 0
	
	2007
	30007
	4963
	0.041

	
	
	
	
	
	2008
	30748
	5085
	0.041

	
	
	
	
	
	2009
	30639
	5067
	0.042

	
	
	
	
	
	2010
	28039
	5024
	0.043

	TOTAL
	-
	0
	0
	
	2011
	24946
	4469
	0.041

	
	
	
	
	
	2012
	27749
	4972
	0.042

	
	
	
	
	
	2013
	20,750
	3,445
	


* Conversion factor for delivered electricity to primary energy =delivered electricity to primary multiply by 2.4 (from 2010)
                                                                                         delivered electricity in kWh to kg CO2 multiply by 0.166 (or MWh x 0.166 = Tonnes CO2)
	Operator’s comments: No natural gas used.
Electricity usage is unknown as the Energy Monitoring system went down when the site Network was switched off early 2014, the site did not have an electricity meter, the main meter was in the off site Western Power substation.  I managed to get a final reading when the power to the site was switched off but do not have a start reading.  The electricity bills do not help as they are estimated readings which we are in the process of trying to sort out.  The power used in 2014 would be minimal for lighting only.



Signed ……I. Bewick……………………………………………………….  

Date…25/02/15……………………..




(Authorised to sign as representative of the Operator)

Permit Reference Number: KP3735XW





Operator: Premier Foods

Installation: Barry Flour Mill






Form Number: PI1

Reporting of Performance Indicators for the year ……2014……………………….

	Annual Production/Treatment

	Production of finished product (bulk flour, wheatfeed and germ)
	0


Environmental Performance Indicators

	Parameter
	Annual Average
	Units
	
	Trends in Environmental Performance

	
	
	
	
	Year
	Parameter

	
	
	
	
	
	Water use (m3) / finished product (t)
	Energy use (MWh) /  finished product (t)
	Raw material (t) / finished product (t)

	
	
	
	
	
	
	
	

	Water use m3
	Unknown
	m3
	
	2010
	0.087
	0.100
	1.023

	Energy use MWh
	Unknown
	MWh
	
	2011
	0.084
	0.095
	1.024

	Raw material (bulk wheat) t
	0
	tonnes
	
	2012
	0.073
	0.097
	1.018

	
	
	
	
	2013
	0.029
	0.096
	1.013


	Operator’s comments :

Unknown water & power usage, no raw material intake as production ceased in October 2013



Signed ……I. Bewick  ……………………………………………………….  

Date……25/02/15…………………..




(Authorised to sign as representative of the Operator)

