Routine Maintenance Schedule Upper Ffryd
	Item Description
	Frequency
	Action
	Date
	Comments

	Fuel Storage
	N/A
	
	
	

	Drainage System
	Weekly
Prior to crop depletion
	Ensure gulley’s and sediment traps are clean
Check guttering and downspouts. Ensure catchment tanks are empty prior to wash down. 
Check changeover/diverter valves for operation and integrity.
	
	

	Buildings Integrity
	Monthly
	Visual check around outside of buildings and concrete areas
	
	

	Electrical Systems
	Service each crop

Daily during crop
	Service by qualified electrician. Ensure correct daily operation
	
	

	Ventilation System
	Service each crop

Daily during crop
	Routine maintenance

Ensure correct daily operation
	
	

	Feeder System
	Service each crop
Daily during crop
	Routine maintenance
Ensure correct daily operation
	
	

	Drinker System
	Service each crop

Daily during crop
	Clean and sanitise.

Record water usage and check for leaks
	
	

	Generator
	Service bi-annual
Test run weekly
	Service contract
Check for any leaks, test run during normal working hours (08.00 – 17.00 hours) Location marked on layout plan. Sound rating 95db at full load.
	
	Not on Site

	House environment
	Daily
	Ensure correct temperature and humidity levels to maintain litter quality.
	
	

	Wash down Tanks
	During wash down
	Monitor levels during washing to maintain at least 300mm freeboard
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


