Performance Report – Tradebe Gwent Waste Management Centre
[image: image1.jpg]TRADEBE





	Company Name:
	Tradebe (Gwent) Ltd

	Facility Name:
	Gwent Waste Management Centre

	Facility Address:
	Corporation Road

Newport

South Wales

NP19 4RD

	Permit Number:
	SP3531SK
	Issue Date:
	26/06/06

	Variation Notice:
	EA/EPR/SP3531SK/V007
	Issue Date:
	27/04/15

	Activity Performance Report:
	01/01/16 – 31/12/16


a. Review of Monitoring Results

The following measures are monitored on a routine basis as a requirement of the permit. (These do not constitute a complete list of all the monitoring carried out as part of management of the site).
i. Trade Effluent Discharges
Trade Effluent generated by the treatment process is directed into a settlement tank prior to overflow into the onsite drain for discharge into the local sewer. In 2016 an effluent re-design project was carried out to improve effluent settlement that redirected the effluent into two reconditioned waste storage tanks that was completed in November. The final control and measuring controls were duplicated post settling such that final effluent continues to be discharged through a new Siemens Magflo meter, which records the instantaneous flow rate (m3/hr-1), and the cumulative total flow (m3) and a new Aquamatic auto sampler which takes a flow-proportional composite sample over the discharge period (24 hrs). The composite sample is analysed in house once per weekday when effluent is discharged. The composite sample is also sampled weekly by Welsh Water.

NRW report S1 records the high/low analytical results in each quarter and have been submitted to EA through 2016.



Total effluent produced:
48,322 m3-


Effluent produced per unit:
0.716m3 / te
The effluent discharge monitoring and management systems achieved MCERTs re-certification on 24 May 16 in line with Action 1(i) & (ii) 180615 from CAR SP3531SK/0254230. The Magflo meter is included in our site PPMS system, and receives an annual calibration check that was carried out in Oct 2016 by Siemens.

Improved effluent quality particularly with regards to metals has resulted is less attention from Welsh Water although we are continuing to actively work on improving our performance via a number of initiatives and also to review and update the discharge consent.
ii. Site Scrubber Monitoring

The site has three scrubbers that are checked on a daily basis for both alkalinity/acidity and pH and this is used to monitor performance. The results are reported for review at the daily morning meetings and also reported to NRW every six months as a permit requirement via form SC1.
Checking and dosing are carried out manually for the acid and caustic scrubber whereas the main scrubber is monitored and dosed by an automated system that was installed in Oct 15.
iii. Waste Inputs and Outputs
Waste inputs and outputs are monitored and tracked using SAP that is the system of choice used by Tradebe across all facilities in all countries. It is a fully integrated system and controls waste enquiries, inputs, stock, financial data and analysis from cradle to grave. Reports of waste inputs and outputs are compiled and submitted to NRW as the site returns on a quarterly basis. In summary:

For 2016
	Inputs
	Hazardous

(te)
	Non-Hazardous
(te)

	Treatment Plant
	40,521
	27,001

	Transfer Station
	5,778
	1,304

	Outputs


	
	

	Third Party Disposal
	2,765
	14,713

	Landfill
	385
	14,257


Quantities are measured by means of the site weighbridge, which is calibrated annually by an external contractor. In 2016 this was carried out in November.
iv. Filtercake Outputs
Filtercake is produced in batches from the treatment process that is the site’s single largest solid output. The ratio of tonnes filtercake produced per tonne of waste treated is a good indicator of both operational and environmental efficiency but is variable dependent upon the types of waste being treated e.g. metal salt, sulphate, phosphate rich wastes will produce more filtercake when compared to landfill leachates or other less-contaminated effluents. The ratio for the last few years is given in the table below and 0.25 is considered an ideal figure:

	Year
	2009
	2010
	2011
	2012
	2013
	2014
	2015
	2016

	te filtercake/tonne waste
	0.27
	0.26
	0.29
	0.29
	0.23
	0.27
	0.26
	0.22


An added benefit of the effluent re-design project has been to free up an extra treatment tank to provide more options in terms of segregation of wastes prior to treatment. As a result we are able to take in wastes with a high metal content to produce a high metal filter cake that can be removed from landfill since it is suitable for metal recovery and have already completed 2 runs to produce a total of 37te of high nickel filter cake for re-cycling. We are also able to segregate other wastes to produce filter cake that is not sufficiently high for recovery but is only suitable for disposal as hazardous filter cake.
b. Annual Improvement Targets (from Management System)

In 2016 there were a number of appointments were made that included an Operations Manager and a number of Admin Staff leaving due to staff returning from Maternity leave. 
There was also an internal company conference in April that launched a new company initiative called PROUD that defined the company’s priorities with regards to SHEQ.
c. Annual Production / Treatment Data

The data required by table S5.2 of the site Permit has been reported to NRW on form PI1 in Jan 16. In addition waste returns are submitted to NRW on a quarterly basis in an electronic format. The data submitted therein was:
	Total waste received
	67,522 te

	Treatment residues disposed to non-hazardous landfill
	14,257 te

	Treatment residues disposed to hazardous landfill
	 385 te


d. Performance Parameters

As stated in section (c) above, form PI1 was submitted to NRW for the reporting period. The environmental performance indicators given on this form are:
	Effluent discharged to sewer
	48,322
	m3

	Water used
	9,310
	m3

	Non-hazardous waste sent out
	14,713
	te

	Hazardous waste sent out
	2,765
	te


Negotiations with one of our biggest customers resulted in a new contract with more volume which is why the Treatment Plant inputs are higher than last year. 
A number of water saving initiatives were introduced at the end of 2015 and hopefully the reduction in water usage in 2016 is the result of this.
e. Site Contamination / Decontamination Notes
No contamination events occurred within 2016 
Mark Griffiths
GWMC Site Manager
31 Jan 17
[image: image1.jpg]