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Mr Gwyn Jones
Natural Resources Wales
St Mellons Business Park
Fortran Road

St Mellons

Cardiff

CF3 0EY









 19th December 2014
Dear Mr Jones,
RE:
PPC Permit MP3036SS, Variation LP3630MR – Whitehall Landfill


Quarterly Review Report – condition 4.2.2
As required by the condition 4.2.2, this review of monitoring data covers the quarter from 17th September to 16th December 2014. 
Results of the monitoring conducted in this quarter are presented in the attached spreadsheet.  Graphs comparing observed concentrations of groundwater parameters against any relevant trigger level are also presented where applicable. There are also graphs of the carbon dioxide concentrations.
The in-waste gas boreholes have not been drilled yet as the phases have not been completed, therefore no monitoring has been undertaken.
There were three breaches of the groundwater trigger limits in this monitoring period for potassium at BH12.  There were also two breaches for potassium at BH1. Schedule 6’s were completed and sent in, and retests were performed which confirmed the original results. 
It should be noted that the laboratory detection limit for iron has increased to <230ug/l, which is greater than the action levels for boreholes BH1, BH12, BH13 and BH14.  Note that the analytical laboratory (ALS) changed their LOD from February onwards in line with best practice, for analytical method WAS049. The new LOD complies with MCERTS criteria, ISO/IEC 17025.  In order to ensure that the compliance limit continues to function as an early warning of an adverse impact from the landfill, it has been recommended in the last Annual report and subsequent correspondence to the Agency, dated 14th November 2014, that the compliance limit for iron is increased to 250 µg/l.
As all waste accepted on the site were from our Approved List (as detailed in the PPC application, Site Operation Plan), no waste characterisation was required or undertaken.
Should you have any further questions regarding this matter, please do not hesitate to contact me. 

Yours sincerely,
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Annette Symonds
☏ 01932 583644
✉ Annette.symonds@cemex.com
cc. Ms Liz Parr
CEMEX UK Operations Ltd

CEMEX House, Coldharbour Lane, Thorpe, Egham, Surrey TW20 8TD, United Kingdom

Phone: +44 (0) 1932 568833   Fax: +44 (0) 1932 568933

www.cemex.co.uk
Registered in England and Wales: Company Number 658390   Registered Office: as above. 
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