 Permit Reference Number: UP3237CP




Operator : Solway Foods Ltd
Installation : Rogerstone Park






Form Number : S1

Reporting of Emissions to Sewer for the period from ……1st Jan 16………………….to………………30th June 16. 
	Emission

Point
	Substance /

Parameter
	Emission

Limit Value
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Accreditation/ Certification [4]
	Uncertainty

[5]

	S1
	pH
	11
	6.1
	Sample
	Fortnightly – Welsh Water
	UKAS Blue Book
	

	S1
	Flow Rate
	3500m3/day
	1551.4m3/day
	Flow integrator
	1st Jan 16- 30th June 16
	UKAS Blue book
MCERTS flow meter from March 2009
	+/- 8% as required by audit


[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. colorimetry.

[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements, or flow/time proportional samples, the percentage of the process operating time covered by the monitoring is given.   

[4] The accreditation status of the equipment and/or the monitoring organisation, as appropriate, for the methods used for both sampling and analysis.

[5] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated. The following uncertainties are quoted on a different basis (basis as stated). 

[6] The emission limit values for cadmium and mercury are expressed as maximum individual values.
Signed : William Elworthy









Date 
17TH August 2016
(Authorised to sign as representative of the Operator) 

BN3774IE

15/03/05

UP3237CP




