Permit Reference Number : UP3237CP




Operator : Solway Foods Ltd

Installation : Rogerstone Park






Form Number : S1

Reporting of Emissions to Sewer for the period from Jan 1st 2014………………………….to…Dec 31st 2014

	Emission

Point
	Substance /

Parameter
	Emission

Limit Value
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Accreditation/ Certification [4]
	Uncertainty

[5]

	S1
	pH
	
	6.4
	
	
	
	

	S1
	Flow Rate
	
	1541m3/day
	Welsh Water 
	Fortnightly
	
	

	S1
	COD
	
	1131
	Chemical Oxygen Demand (dichromate Value) of Polluted and waste waters 1986 (2nd Edition)
	1st Jan 14-31st Dec 14
	Hmso isbn:011 7519154
	3.5% High Standard

	S1
	Suspended solids
	
	520
	Suspended,Settleable & total dissolved Solids in waters and effluents 1980
	1st Jan 14-31st Dec 14
	Hmso isbn 01751957x
	19.7% High Standard

	S1
	Cadmium
	0.01 mg/l [6]
	0.0000217
	Mass Balance Calc
	1st Jan 14-31st Dec 14
	Msds Data
	

	S1
	Mercury
	0.0001 mg/l [6]
	0.0000680
	Mass Balance Calc
	1st Jan 14-31st Dec 14
	Msds Data
	

	S1
	Cadmium and its compounds
	2800 g/year[6]
	13.64

g/year
	Mass Balance Calc
	1st Jan 14-31st Dec 14
	Msds Data
	

	S1
	Mercury and its compounds
	330 g/year [6]
	42.65 g/year
	Mass Balance Calc
	1st Jan 14-31st Dec 14
	Msds Data
	


[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. colorimetry.

[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements, or flow/time proportional samples, the percentage of the process operating time covered by the monitoring is given.   

[4] The accreditation status of the equipment and/or the monitoring organisation, as appropriate, for the methods used for both sampling and analysis.

[5] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated. The following uncertainties are quoted on a different basis (basis as stated). 

[6] The emission limit values for cadmium and mercury are expressed as maximum individual values.
Signed Alica Thomas (Site Environment Manager) 



 

Date: 23rd March 2015   

(authorised to sign as representative of the Operator)
