Schedule 6 – Notification 

These pages outline the information that the operator must provide.

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission.  Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-commercial information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the PPC Regulations
Part A

	Permit Number
	XP3436SY 

	Name of Operator
	Novera Energy

	Location of Installation
	Bryn Pica Landfill Site

	Time and date of the detection
	20/11/17


	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or fugitive emission which has caused, is causing or may cause significant pollution

	To be notified within 24 hours of detection

	Time and date of the event
	20/11/17 20:06 – 21/11/17 08:10

	Reference or description of the location of the event
	Gas plant trip

	Description of where any release into the environment took place
	landfill

	Substance(s) potentially released
	Landfill gas

	Best estimate of the quantity or rate of release of substances
	Unquantifiable

	Measures taken, or intended to be taken, to stop any emission
	Plant restarted

	Description of the failure or accident
	Mains failure


	(b) Notification requirements for the breach of a limit

	To be notified within 24 hours of detection unless otherwise specified below

	Emission point reference / source
	

	Parameter(s)
	

	Limit
	

	Measured value and uncertainty
	

	Date and time of monitoring
	

	Measures taken or intended to be taken, to stop the emission
	


	Time periods for notification following detection of a breach of a limit

	Parameter
	Notification period

	
	

	
	

	
	


	(c) Notification requirements for notification of any significant adverse environmental effect

	To be notified within 24 hours of detection 

	Description of where the effect on the environment was detected
	

	Substance(s) detected
	

	Concentration of substance(s) detected
	

	Date of monitoring/sampling
	


Part B

	Any more accurate information on the matters for notification under Part A
	Mains failure

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	N/A

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment or harm which has been or may be caused by the emission
	None reported

	The dates of any unauthorised emissions from the installation in the preceding 24 months
	05/12/15


	Name*
	Kate Phillips

	Post
	Engineer, Compliance

	Signature
	[image: image1.emf]

	Date
	21/11/17


*authorised to sign on behalf of Novera Energy Generation No 2 Ltd

