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	EPR Compliance Assessment Report
	Report ID: MP3835SV/0230759

 


	This form will report compliance with your permit as determined by an NRW officer

	Site
	Silent Valley Landfill Site
	Permit Ref
	MP3835SV

	Operator/ Permit holder
	Silent Valley Waste Services Limited
	

	Date
	23/02/2015 
	Time in
	
	Out
	

	What parts of the permit were assessed
	Annual Report and Monitoring Report 2014, incl quarterly reporting

	Assessment
	Report/data review
	EPR Activity:
	Installation
	X
	Waste Op
	
	Water Discharge
	

	Recipient’s name/position
	Noel Chard, Technical Manager

	Officer’s name
	Tyrone Ward
	Date issued
	24/02/2015


	Section 1 - Compliance Assessment Summary

	This is based on the requirements of the permit under the Environmental Permitting Regulations.  A detailed explanation and any action you may need to take are given in the “Detailed Assessment of Compliance” (section 3).  This summary details where we believe any non-compliance with the permit has occurred, the relevant condition and how the non-compliance has been categorised using our Compliance Classification Scheme (CCS).  CCS scores can be consolidated or suspended, where appropriate, to reflect the impact of some non-compliances more accurately.  For more details of our CCS scheme, contact your local office.

	Permit Conditions and Compliance Summary                    
	Condition(s) breached

	a) Permitted activities 
	1. Specified by permit
	N
	
	

	b) Infrastructure
	1.
Engineering for prevention & control of pollution
	N
	
	

	
	2. Closure & decommissioning
	N
	
	

	
	3.
Site drainage engineering (clean & foul)
	N
	
	

	
	4. Containment of stored materials
	N
	
	

	
	5. Plant and equipment
	N
	
	

	c) General management
	1. Staff competency/ training
	N
	
	

	
	2. Management system & operating procedures
	N
	
	

	
	3. Materials acceptance
	N
	
	

	
	4. Storage handling, labelling, segregation
	N
	
	

	d) Incident  management
	1. Site security
	N
	
	

	
	2. Accident, emergency & incident planning
	N
	
	

	e) Emissions

	1. Air
	N
	
	

	
	2. Land & Groundwater
	O
	
	

	
	3. Surface water
	A
	
	

	
	4. Sewer
	N
	
	

	
	5. Waste
	N
	
	

	f) Amenity
	1. Odour
	N
	
	

	
	2. Noise
	N
	
	

	
	3. Dust/fibres/particulates
	N
	
	

	
	4. Pests, birds & scavengers
	N
	
	

	
	5. Deposits on road
	N
	
	

	g) Monitoring and records, maintenance and reporting
	1. Monitoring of emissions & environment
	C4
	
	2.1.1;

	
	2. Records of activity, site diary, journal & events
	N
	
	

	
	3. Maintenance records
	N
	
	

	
	4. Reporting & notification
	A
	
	

	h) Resource efficiency
	1. Efficient use of raw materials
	N
	
	

	
	2. Energy
	N
	
	

	KEY:  C1, C2, C3, C4 = CCS breach category ( * suspended scores are marked with an asterisk),
A = Assessed (no evidence of non-compliance), N = Not assessed, NA = Not Applicable, O = Ongoing non-compliance – not scored

	
	
	
	
	

	Number of breaches recorded 
	1
	Total compliance score

(see section 5 for scoring scheme)
	0.1


	If the Total No Breaches is greater than zero, then please see Section 3 for details of our proposed enforcement response 


	Section 2 – Compliance Assessment Report Detail

	This section contains a report of our findings and will usually include information on:

	· the part(s) of the permit that were assessed (e.g. maintenance, training, combustion plant, etc)

· where the type of assessment was ‘Data Review’ details of the report/results triggering the assessment

· any non-compliances identified 

· any non-compliances with directly applicable legislation 
· details of any multiple non-compliances 
	· information on the compliance score accrued inc. details of suspended or consolidated scores.

· details of advice given
· any other areas of concern 

· all actions requested
· any examples of good practice.

· a reference to photos taken

	This report should be clear, comprehensive, unambiguous and normally completed within 14 days of an assessment.




	 

Condition 4.1.3 - Annual report and monitoring report for 2014 received and reviewed:-
 

Site settlement and stability.
Section 3.1.2 of annual report details that the annual survey was undertaken in April 2014 (see Appendix D2)
 

It is noted that the permanent movement monitoring stations on the southern access road, southern flank are now obsolete as a result of the BGCBC Phase 1 capping, but new stations will be re-estabilished on completion of these works, and will serve as future reference points for stability/movement monitoring.  The capping contract extends to end of March. 
 

(In addition, four leachate monitoring wells, BH1 to BH4 are installed on the BGCBC flank along the alignment of the BSC pipe.  These boreholes are monitored to confirm both the nature and level of leachate within the Phase 1 area, and also to confirm any long term trends in leachate level)
 

Leachate monitoring.
No breaches, although it is noted the average value across the monitoring points has increased slightly as compared to 2013 possibly as a result of higher rainfall (3m compliance limit)
 

Monitoring report section 4.2.2 recommendations noted with respect to LC5A.
 

Groundwater monitoring.
Groundwater monitoring borehole GW9 records continued non-compliance for ammoniacal nitrogen.  An environmental consequence review is to be completed before April15.
  

Score CCS3 suspended in GW9 pending appraisal of the consequence review.
Action SVWS to submit report as soon as practicable.
 

The Geoscience team are also aware of the historically elevated levels of Hg, Zn, Mn and SO4 in other monitoring locations.
 

Surface water monitoring.
No new non-compliances reported since previous CAR; though elevated levels of ammoniacal nitrogen and chloride that may be consistent with GW9 are recorded.  In November data ammoniacal nitrogen was detected in SW4, SW5 and SW6 locations at concentrations between 2.4mg/l and 5.5mg/l, but these then fell to below LOD in Dec.
 

SW4 to SW6 are part of the additional locations set up to monitor the break outs feeding into the Nant Merddog.  Results appear consistent with the elevated levels in GW9 along with rainfall.
 

The monitoring report separately recommends that sulphate concentrations and trends are closely monitored during subsequent data reviews.
 

Landfill gas monitoring.
Methane recorded at eveleted levels up to 20.9%vol in GMW1 in Sept.  Subsequent sampling and analysis suggests the gas is likely to be of landfill origin. A proposal has been submitted for drilling 2 new gas extraction wells on the nearby north flank of the waste mass.  An amended CQA Plan was provided by Infinis on 17th Feb, and NRW are happy for these works to proceed.
 

Since the previous CAR, methane levels of 1.8%vol recorded in GMW13 in Dec which is above the compliance limit.  Non compliance considered CCS4.
 

Previous reports detail that if the required monitoring frequency cannot be sustained due to the location of GMW14, it is recommended that a new monitoring location is installed within the permit requirements.  This still remains valid.
Action SVWS to pursue GMW14 recommendation.
 

 Note that as part of the closure process, perimeter monitoring locations and limits should be reviewed in accordance with the ICoP on sub-surface gases.
 

No compliants received during annual report period.
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	EPR Compliance Assessment Report
	Report ID: MP3835SV/0230759


	This form will report compliance with your permit as determined by an NRW officer

	Site 
	Silent Valley Landfill Site
	Permit
	MP3835SV

	Operator/ Permit
	Silent Valley Waste Services Limited
	Date
	23/02/2015


	Section 3- Enforcement Response
	Only one of the boxes below should be ticked

	You must take immediate action to rectify any non-compliance and prevent repetition. 
Non-compliance with your permit conditions constitutes an offence and can result in criminal prosecutions and/or suspension or revocation of a permit.  Please read the detailed assessment in Section 2 and the steps you need to take in Section 4 below.

	Other than the provision of advice and guidance, at present we do not intend to take further enforcement action in respect of the non-compliance identified above.  This does not preclude us from taking enforcement action if further relevant information comes to light or advice isn’t followed.
	X

	In respect of the above non-compliance you have been issued with a warning. At present we do not intend to take further enforcement action. This does not preclude us from taking additional enforcement action if further relevant information comes to light or offences continue.
	

	We will now consider what enforcement action is appropriate and notify you, referencing this form.
	


	Section 4- Action(s) 

	Where non-compliance has been detected and an enforcement response has been selected above, this section summarises the steps you need to take to return to compliance and also provides timescales for this to be done.

	Criteria Ref.
	CCS Category
	Action Required/Advised 
	Due Date 

	See Section 1 above 
	
	

	G1
	C4
	No action specified
	N/A


	Section 5 - Compliance notes for the Operator
	
	Section 6 – General Information

	To ensure you correct actual or potential non-compliance we may
( advise on corrective actions verbally or in writing 

( require you to take specific actions in writing 

( issue a notice
( require you to review your procedures or management system
( change some of the conditions of your permit

( decide to undertake a full review of your permit
	
	Data protection notice
The information on this form will be processed by the Natural Resources Wales (NRW) to fulfill its regulatory and monitoring functions and to maintain the relevant public register(s). The NRW may also use and/or disclose it in connection with:

(  offering/providing you with its literature/services relating to environmental matters

(  consulting with the public, public bodies and other organisations (e.g. Health and Safety Executive, local authorities) on environmental issues

(  carrying out statistical analysis, research and development on environmental issues

(  providing public register information to enquirers

(  investigating possible breaches of environmental law and taking any resulting action

(  preventing breaches of environmental law

(  assessing customer service satisfaction and improving its service

(  Freedom of Information Act/Environmental Information Regulations request.

The NRW may pass it on to its agents/representatives to do these things on its behalf. You should ensure that any persons named on this form are informed of the contents of this data protection notice.

	Any breach of a permit condition is an offence and we may take legal action against you.
( We will normally provide advice and guidance to assist you to come back into compliance either after an offence is committed or where we consider that an offence is likely to be committed. This is without prejudice to any other enforcement response that we consider may be required.

( Enforcement action can include the issue of a formal caution, prosecution, the service of a notice and or suspension or revocation of the permit. 

See our Enforcement and Civil Sanctions guidance for further information
	
	

	This report does not relieve the site operator of the responsibility to 

( ensure you comply with the conditions of the permit at all times and prevent pollution of the environment
( ensure you comply with other legislative provisions which may apply.
	
	

	Non-compliance scores and categories
	
	Disclosure of information

The NRW will provide a copy of this report to the public register(s).  However, if you consider that any information contained in this report should not be released to the public register(s) on the grounds of commercial confidentiality, you must write to your local area office within twenty working days of receipt of this form indicating which information it concerns and why it should not be released, giving your reasons in full.

	CCS category
	Description
	Score
	
	

	C1
	A non-compliance which could have a  major environmental effect
	    60
	
	

	C2
	A non-compliance which could have a significant environmental effect
	31
	
	

	C3
	A non-compliance which could have a  minor environmental effect
	     4
	
	Customer charter
What can I do if I disagree with this compliance assessment report?
If you are unable to resolve the issue with your site officer, you should firstly discuss the matter with the officer’s line managers.  If you wish to raise your dispute further through our official Complaints and Commendations procedure, phone our general enquiry number  0300 065 3000 (Mon to Fri 08.00–18.00) and ask for the Customer Contact team or send an email to enquiries@naturalresourceswales.gov.uk.  If you are still dissatisfied you can make a complaint to the Public Services Ombudsman for Wales.   For advice on how to complain to the Ombudsman phone their helpline on 0845 607 0987.

	C4
	A non-compliance which has no potential environmental effect
	    0.1
	
	

	Operational Risk Appraisal (Opra) - Compliance assessment findings may affect your Opra score and/or your charges. This score influences the resource we use to assess permit compliance.
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