[image: image1.wmf]
 
	



Air Products plc


Hersham Place, Molesey Road


Walton-on-Thames, Surrey, KT12 4RZ


Telephone (0) 1932 249992

AIR PRODUCTS (BR) LTD

PROJECT NUMBER: A3145  

INSTALLATION: LLANWERN HYDROGEN INSTALLATION 

(BL 2459)

TITLE:  Energy Efficiency Report

Distribution:

Environment Agency - Cardiff (1 copy)

T C Ryan, UK Operations - Llanwern (APBR Ltd)

S Bradley, UK EH&S - HERSHAM

	13
	2016 revised
	27/01/2016
	T C Ryan
	
	

	12
	2015 revised
	27-01-2015
	T C Ryan
	
	

	11
	2014 revised
	27-01-2014
	T C Ryan
	
	

	10
	2013 revised
	14-01-2013
	T C Ryan
	
	

	9
	2012 revised
	20-01-2012
	T C Ryan
	
	

	8
	2011 revised
	24-01-2011
	T C Ryan
	
	

	7
	2010 revised
	07-01-2010
	B Campbell
	
	

	6
	2009 revised
	08-01-2009
	B Campbell
	
	

	5
	2008 revised
	03/01/2008
	B Campbell
	
	

	4
	2007 revised
	05/01/2007
	B Campbell
	
	

	3
	2006 revised
	05/01/2006
	B Campbell
	
	

	2
	2005 revised
	10/01/05
	B Campbell
	
	

	1
	2004 revised
	16/4/04
	S Bradley
	
	

	0
	Original Issue
	22/4/03
	S Bradley
	
	

	
REV
	
Description
	
Date
	
Originator
	
	


Llanwern Hydrogen Installation Energy Efficiency Report

Objective

This report documents all the available techniques and the estimated CO2 reductions associated with these, in accordance with improvement item 9.2.

This energy efficiency report reviews the plant performance against the design, and proposes any energy efficiency improvements that might be required against the Environment Agencies PPC application template, published in December 2002.  This report is kept on site and reviewed at a minimum every year, and updated if necessary.

General

The plant was commissioned in April 2002.  The electrical equipment (detailed in the PPC application V3145 section 2.7) was all purchased from new for the project and to state of the art energy efficiency standards.  The reformer itself and the burners were also manufactured specifically for this project and represent BAT.

BAT for energy use on the plant was described in the PPC application V3145 section 2.7).    The site is covered by a CCL agreement and thus only housekeeping energy efficiency measures are subject to PPC regulation.  In addition the site energy use is below the threshold for low impact installations) of 1 MW.

A Natural Gas Booster Compressor has been installed, within the Air products facility compound. This was a late request from Corus, and was not included in the original energy calculations

The Booster compressor is designed to prevent loss of feed gas pressure from the Corus distribution main, as more equipment is brought on line within the Corus facility. (including gas fired boilers and pipeline gas supply to other sites within the Corus works)

Plant Performance vs Design

Further efficiencies made, by increasing the use of purge gas for burner operation. This also reduced the natural gas required for burner operation 
The plant reformer tube temperatures have been maintained.

Plant operation still to design, Customers on reduced demand since September 2008, plant load following capability increased, now 55% reduction in rates possible.
Table 1 show the basis theoretical annual energy performance

	Energy source
	Base units
	Energy consumption
Base theoretical
	Emissions

	 
	kw, kg gas
	Delivered, Mwhr
	Primary, Mwhr
	% of total
	Tonnes CO2

	Electricity - National Grid
	170.5
	1494
	4267
	67%
	708

	Gas - burners only not feedstock
	42
	2120
	2120
	33%
	403

	Total
	 
	3613
	6387
	100%
	1111

	Production
	kg/yr
	727000
	
	
	

	Efficiency
	MWHr/Tonne
	8.79
	
	
	


Table 2 shows the actual energy performance for the plant for the period

 January 2015 to December 2015
	Energy source
	Base units
	Energy consumption
Period Jan 2015 to Dec 2015
	Emissions

	 
	kw, kg gas
	Delivered, Mwhr
	Primary, Mwhr
	% of total
	Tonnes CO2

	Electricity - National Grid
	98.62
	864
	2468
	63%
	410

	Gas - burners only not feedstock
	28.45
	1436
	1436
	37%
	273

	Total
	 
	2300
	3904
	100%
	683

	Production
	kg/yr
	423253
	
	
	

	Efficiency
	MWHr/Tonne
	9.22
	
	
	


Comments

With load following implemented, average natural gas usage to burners has been maintained at an average of 28.45 Kg/Hr.

Minimum plant rate achievable 55% of plant production.
Customer demand for H2 below contract levels during 2015
Energy Efficiency Plan

Continued operation of the (VAX) system. (Installed November 2007).

The VAX system collects data from the plant processor, enabling close monitoring of plant efficiency and load following.
Further routines added during 2009

The assumptions made in the original PPC application were also reviewed and remain valid. All the relevant techniques identified in the guidance note H2 have been implemented in the plant design

Relocation of Fire eye monitors, to provide better monitoring of burner flame.

This has resulted in reduced Purge gas venting, allowing more purge gas to be used for burner operation and reducing natural gas usage.
Main furnace burners replaced in summer shutdown 2013.

New plant cooling tower December 2013.

Plant gas coolers cleaned summer 2015.

Power meter installed to measure total power to the plant.

Appendix 1 
Based on Environment Agencies IPPC template.

Basic energy efficient operating and maintenance measures are described in the Table below.

Table 2.7.2.1

	Are documented operating maintenance and housekeeping measures in place for the following (where relevant):
	Yes/no
	Not relevant
	Further Information

(reference documentation, date measures will be in place or reason why not relevant)

	air conditioning, process refrigeration and cooling systems (leaks, seals, temperature control, evaporator/condenser maintenance);
	Yes
	
	Cooling system is maintained as part of the planned maintenance system

Reformer catalyst changed July 2005

Processor controlled Load following installed July 2005

Full cooling tower clean completed October 2007.

VAX system installed November 2007

Syngas cooler clean July 2008

Full cooling tower clean completed December 2008.

Reformer catalyst changed March 2010.

Syngas cooler cleaned March 2010.

Syngas cooler cleaned July 2011.

Syngas cooler cleaned July 2012.

Syngas cooler cleaned July 2013.

Reformer catalyst changed July 2013.

New plant cooling tower December 2013.

Syngas cooler cleaned July 2014.

Plant gas coolers cleaned July 2014.

Syngas cooler cleaned June 2015.

Plant gas coolers cleaned June 2015.

Burners check for correct operation June 2015.

	Operation of motors and drives
	Yes
	
	Maintained as part of the planned maintenance system

	Compressed gas systems (leaks, procedures for use);
	Yes
	
	Small Compressed (instrument) air system part of planned maintenance 

	Steam distribution systems (leaks, traps, insulation);
	Yes
	
	Maintained as part of the planned maintenance system

	Space heating and hot water systems;
	
	(
	No buildings in the installation

	Lubrication to avoid high friction losses;
	Yes
	
	Compressor operations and maintenance

	Boiler maintenance e.g. optimising excess air;
	
	(
	Automatic control system

	Other maintenance relevant to the activities within the installation.
	
	
	Reformer burners constantly monitored

Fire eye monitors relocated to provide better monitoring of burner operation, and increased use of Purge gas within the burners (Also reducing natural gas usage) July 2008

Reformer furnace burners replaced July 2013.


Table 2.7.2.2
	Confirm that the following physical measures are in place to avoid excessive heating or cooling losses for the following (where relevant):
	Yes/no


	Not relevant
	Further Information

(date measures will be in place or reason why not relevant)

	Sufficient insulation of steam systems, heated vessels and pipework 
	Yes
	
	September 2004. Screens installed to minimise the effects of high winds during winter conditions.
Some vessel insulation replaced July 2013.

	Provision of sealing and containment methods to maintain temperature
	Yes
	
	

	Simple sensors and timers are fitted to prevent unnecessary discharge of heated liquids and gases.
	
	(
	Discharges are only what is necessary for the blow down of the steam system

	Other appropriate measures
	
	
	


Table 2.7.2.3
	Confirm that the following building service measures are in place for the following (where relevant):
	Yes/no
	Not relevant
	Further Information

(reference documentation, date measures will be in place or reason why not relevant)

	Energy efficient lighting is in place
	Yes
	
	Externally with high pressure sodium high efficiency lamps (needed for colour recognition)

Internally with high efficiency fluorescent tubes (appropriate to relevant hazardous area classification)

Lighting replaced with units requiring less maintenance September 2008

	Energy efficient climate control systems are in place for: 

Space Heating

Hot water

Temperature control

Ventilation

Draught proofing
	
	(
	No buildings in the installation


An energy efficiency plan is provided below to identify and appraise applicable energy efficiency techniques.

Table 2.7.2.4
	ALL APPLICANTS
	APPLICANTS WITHOUT CCA OR TRADING ONLY


	Energy efficiency measure

e.g. CHP
	CO2 savings (tonnes)
	Equivalent

Annual Cost (EAC)

£k 
	EAC/CO2 saved

£/tonne 
	 Date for implementation

	
	Annual
	lifetime
	
	
	

	CHP
	NA
	NA
	N/a
	
	

	Process efficiency measures
	NE
	NE
	
	
	

	
	
	
	
	
	

	Further information

See below on CHP 

As a new plant operating well within original design, no process changes planned and none evaluated (NE) at this early stage. However energy efficiency work is on going and any process changes identified will be added to the efficiency plan.


Notes

1. 
Refer to Energy Efficiency Guidance Note for cost appraisal methodology and CO2 emission factors.

2. 
Where other appraisal methodologies have been used, state the method, and provide evidence that appropriate discount rates, asset life and expenditure (£/t) criteria have been employed

Efficient Energy supply techniques

Table 2.7.3.2

	Energy supply techniques
	Is this technique currently used at the installation?

(Y / N)
	If NO explain why technique is not appropriate or provide implementation date

	Use of CHP;
	No
	Not economic, v low energy user 

There is no on or off site use for other low grade heat such as the process steam.   Thus the plant is designed to operate as close as possible to steam balance, with the excess vented 

	Recovery of energy from waste;
	No
	No high calorific value streams

	Use of less polluting fuels.
	Yes
	Natural gas is the feedstock

	Others applicable to your activities
	
	None

	Further information


Page 7 of 7
A3145 energy report December 2016.doc

