Schedule 1 - Notification of abnormal emissions
These pages outline the information that the operator must provide. To satisfy conditions 5.11 and 5.1.2 of this permit.
Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the PPC Regulations.

Part A 
	Permit Number
	EPR/YP3632EM

	Name of operator
	2 Sisters Poultry Limited

	Location of Installation
	Glendale Avenue, Sandycroft, Flintshire

	Location of the emission
	Gantry 

	Time and date of the detection 
	27-9-21  1500hrs


	Substance(s) emitted
	Media
	Best estimate of the quantity or the rate of emission
	Time during which the emission took place

	Water from feather press
	Water 
	750ltrs 
	27-9-21  1400hrs to 1530hrs 

	
	
	
	


	Measures taken, or intended to be taken, to stop the emission
	The failure was due to the breakdown of the drive motor for the feather press. 


Part B - to be submitted as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	Estimated loss 750ltrs

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	The electric motor has been replaced with a new one. 

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	The water goes to the effluent treatment plant so there is no pollution risk

	The dates of any unauthorised emissions from the installation in the preceding 24 months.
	None 


	Name*
	Murray Johnston

	Post
	Engineering Manager

	Signature
	Murray Johnston

	Date
	27-9-21


* authorised to sign on behalf of 2 Sister Poultry Ltd.
