Noise Assessment at Great Tyrmynach Farm

| Hazard | Receptor | Pathway | Risk Management | Probability of exposure | Consequence | What is the overall risk |
| --- | --- | --- | --- | --- | --- | --- |
| Ventilation fans | Within 400m | Air | Fans operated intermittently Regular maintenance | Slight | Unlikely to cause annoyance | Slight |
| Feed/Fuel Deliveries | Within 400m | Air | Time restricted deliveries | medium | Potential to disrupt sleep | Slight |
| Alarm systems | Within 400m | Air | No audible alarms on site | None | Potential to disrupt sleep | None |
| Bird Catching | Within 400m | Air | Lorries routed away from village Use of plastic bird crates Level loading operating areas | Slight 12 – 18 days per year | Annoyance to village dwellings | Slight |
| Clean out operations | Within 400m | Air | Operations carried out during normal working hours | Slight | Unlikely to cause annoyance | Slight |
| Standby Generator | Within 400m | Air | Housed within insulated building Test runs in normal working time | Slight | Unlikely to cause annoyance | Slight |