Permit Number: 
VP3132LJ





Operator: 

Maxibrite Limited

Installation:

Mwyndy Solid Fuel Briquette Manufacturer

Form Number: 
Water1 / 15/06/07
Reporting of emissions to water (other than to sewer) for the period from    01/01/2016 to 31/03/2016
	Emission

Point
	Substance /

Parameter
	Emission

Limit Value
	Reference Period
	Test

Method [2]
	Result [1]
	Sample

Date and Times [3]
	Uncertainty

[4]
	Weather 

Conditions



	W1 on site plan in schedule 2
	Temperature
	28°C
	Spot sample
	TK digital thermometer, with K-type connection.
	14.6
	02/01 @ 0625
	
	Dry

	
	
	
	
	
	15.4
	04/01 @ 0545
	
	Rain

	
	
	
	
	
	14.8
	11/01 @ 1230
	
	Dry

	
	
	
	
	
	15.4
	22/01 @ 0815
	
	Heavy Rain

	
	
	
	
	
	16.9
	28/01 @ 0900
	
	Dry

	
	
	
	
	
	17.6
	05/02 @ 1000
	
	Dry

	
	
	
	
	
	13.8
	11/02 @  1345
	
	Dry

	
	
	
	
	
	15.2
	17/02 @ 0950
	
	Light Rain

	
	
	
	
	
	14.9
	22/02 @ 0830
	
	Dry

	
	
	
	
	
	14.0
	01/03 @ 0900
	
	Rain

	
	
	
	
	
	16.6
	09/03 @ 0830
	
	Dry

	
	
	
	
	
	14.9
	16/03 @ 1000
	
	Dry

	
	
	
	
	
	14.5
	24/03 @ 0745
	
	Dry

	
	
	
	
	
	14.8
	30/03 @ 0625
	
	Rain Showers

	W1 on site plan in schedule 2
	pH
	6-9
	Spot sample
	WTW 315i digital pH meter with Sentix 41 gel filled electrode, method based on SCA blue book 14 (method approved and accepted by EA).
	7.16 – 7.39
	7.16 02/01 @ 0625 7.39 03/01 @ 0645
	
	Dry
Rain Showers

	
	
	
	
	
	7.81 – 8.16
	7.81 04/01 @ 0545 8.16 10/01 @ 1330 
	
	Rain
Heavy Showers

	
	
	
	
	
	8.20 – 8.25
	8.20 11/01 @ 1230 8.25 11/01 @ 2235
	
	Dry
Dry

	
	
	
	
	
	8.31 – 8.44
	8.31 22/01 @ 0815 8.44 21/01 @ 0900
	
	Heavy Rain
Light Rain

	
	
	
	
	
	8.02 – 8.43
	8.02 25/01 @ 2225 8.43 29/01 @ 0900
	
	Dry

Light Rain

	
	
	
	
	
	8.33 – 8.44
	8.33 02/02 @ 0110 8.44 01/02 @ 0850
	
	Dry

Dry

	
	
	
	
	
	8.33 – 8.59
	8.33 12/02 @  1200 8.59 08/02 @ 0830
	
	Dry

Heavy Showers

	
	
	
	
	
	8.23 – 8.23
	8.23 17/02 @ 0950 8.23 17/02 @ 0950
	
	Light Rain
Light Rain

	
	
	
	
	
	8.32 – 8.33
	8.32 22/02 @ 0830 8.33 23/02 @ 0820
	
	Dry
Dry

	
	
	
	
	
	8.24 – 8.48
	8.24 01/03 @ 0900 8.48 29/02 @ 0900
	
	Rain
Dry

	
	
	
	
	
	8.24 – 8.46
	8.24 07/03 @ 1130 8.46 11/03 @ 1000
	
	Dry

Dry

	
	
	
	
	
	8.26 – 8.26
	8.26 16/03 @ 1000 8.26 16/03 @ 1000
	
	Dry

Dry

	
	
	
	
	
	8.18 – 8.41
	8.18 21/03 @ 0900 8.41 23/03 @ 0900
	
	Dry
Dry

	
	
	
	
	
	8.09 – 8.26
	8.09 30/03 @ 0625
8.26 29/03 @ 1430
	
	Rain Showers
Light Rain Showers

	W1 on site plan in schedule 2
	Ammonia (total as N)
	7mg/l
	Spot sample
	ISO 7150-2 UKAS Accredited Laboratory/MCERTS (ALcontrol)
	0.935
	29/01 @ 09:00
	
	Light Rain

	
	
	
	
	
	1.4
	29/02 @ 09:00
	
	Dry

	
	
	
	
	
	1.88
	31/03 @ 06:20
	
	Dry

	W1 on site plan in schedule 2
	Total suspended solids
	200 mg/l
	Spot sample
	BS EN872 UKAS Accredited Laboratory/MCERTS (ALcontrol )
	11.5
	29/01 @ 09:00
	
	Light Rain

	
	
	
	
	
	17.5
	29/02 @ 09:00
	
	Dry

	
	
	
	
	
	9
	31/03 @ 06:20
	
	Dry


1. The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

2. Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

3. For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

4. The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed ……………………[image: image1.emf]……………………………………….  

Date…………28/04/2016…………..   


(Authorised to sign as representative of Operator)

