Permit Number: 
BR8212IK






Operator: 

Knauf Insulation Ltd

Installation:

Knauf Insulation Ltd, Cwmbran



Form Number:
Performance1 
Reporting of other performance indicators for the period from 

01/01/2017
to
31/12/2017
	Parameter
	
	Units 
	

	
	
	
	

	Mass release of oxides of sulphur per tonnes of product


	0.305 Kg SO2


	

	Water usage


	99,769 m3 

	

	Bypass stack use


	30/01/2017 – 29.5 hours (EP drag conveyor issues)

07/02/2017 – 40.5 hours (EP drag conveyor issues)
26/04/2017 – 40.5 hours (EP PPM shutdown & inspection)
11/06/2017 – 169 hours (EP PPM shutdown during 7 day s/down)

18/12/2017 – 38.5 hours (EP PPM shutdown)

	


	Operator’s comments : 




Signed …… …………………[image: image1.emf]…………………………………….  

Date…16/02/18…..



(Authorised to sign as representative of Operator)
