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	EPR Compliance Assessment Report
	Report ID: BT1908IX/0228976

 


	This form will report compliance with your permit as determined by an NRW officer

	Site
	Palleg Landfill Phase II EA/EPR/BT1908IX/V004
	Permit Ref
	BT1908IX

	Operator/ Permit holder
	JLA Disposal Limited 
	

	Date
	08/01/2015 
	Time in
	
	Out
	

	What parts of the permit were assessed
	Monitoring data, Sch6 notification, waste returns, Condition 4.2.1, plus a site inspection

	Assessment
	Report/data review
	EPR Activity:
	Installation
	X
	Waste Op
	
	Water Discharge
	

	Recipient’s name/position
	John Adams, Director

	Officer’s name
	Tyrone Ward, Gwyn Jones
	Date issued
	27/02/2015


	Section 1 - Compliance Assessment Summary

	This is based on the requirements of the permit under the Environmental Permitting Regulations.  A detailed explanation and any action you may need to take are given in the “Detailed Assessment of Compliance” (section 3).  This summary details where we believe any non-compliance with the permit has occurred, the relevant condition and how the non-compliance has been categorised using our Compliance Classification Scheme (CCS).  CCS scores can be consolidated or suspended, where appropriate, to reflect the impact of some non-compliances more accurately.  For more details of our CCS scheme, contact your local office.

	Permit Conditions and Compliance Summary                    
	Condition(s) breached

	a) Permitted activities 
	1. Specified by permit
	A
	
	

	b) Infrastructure
	1.
Engineering for prevention & control of pollution
	C4
	
	2.3;

	
	2. Closure & decommissioning
	N
	
	

	
	3.
Site drainage engineering (clean & foul)
	A
	
	

	
	4. Containment of stored materials
	N
	
	

	
	5. Plant and equipment
	N
	
	

	c) General management
	1. Staff competency/ training
	A
	
	

	
	2. Management system & operating procedures
	N
	
	

	
	3. Materials acceptance
	A
	
	

	
	4. Storage handling, labelling, segregation
	N
	
	

	d) Incident  management
	1. Site security
	A
	
	

	
	2. Accident, emergency & incident planning
	N
	
	

	e) Emissions

	1. Air
	N
	
	

	
	2. Land & Groundwater
	N
	
	

	
	3. Surface water
	N
	
	

	
	4. Sewer
	N
	
	

	
	5. Waste
	N
	
	

	f) Amenity
	1. Odour
	A
	
	

	
	2. Noise
	A
	
	

	
	3. Dust/fibres/particulates
	A
	
	

	
	4. Pests, birds & scavengers
	A
	
	

	
	5. Deposits on road
	A
	
	

	g) Monitoring and records, maintenance and reporting
	1. Monitoring of emissions & environment
	N
	
	

	
	2. Records of activity, site diary, journal & events
	A
	
	

	
	3. Maintenance records
	N
	
	

	
	4. Reporting & notification
	C4
	
	4.3;

	h) Resource efficiency
	1. Efficient use of raw materials
	N
	
	

	
	2. Energy
	N
	
	

	KEY:  C1, C2, C3, C4 = CCS breach category ( * suspended scores are marked with an asterisk),
A = Assessed (no evidence of non-compliance), N = Not assessed, NA = Not Applicable, O = Ongoing non-compliance – not scored

	
	
	
	
	

	Number of breaches recorded 
	2
	Total compliance score

(see section 5 for scoring scheme)
	0.2


	If the Total No Breaches is greater than zero, then please see Section 3 for details of our proposed enforcement response 


	Section 2 – Compliance Assessment Report Detail

	This section contains a report of our findings and will usually include information on:

	· the part(s) of the permit that were assessed (e.g. maintenance, training, combustion plant, etc)

· where the type of assessment was ‘Data Review’ details of the report/results triggering the assessment

· any non-compliances identified 

· any non-compliances with directly applicable legislation 
· details of any multiple non-compliances 
	· information on the compliance score accrued inc. details of suspended or consolidated scores.

· details of advice given
· any other areas of concern 

· all actions requested
· any examples of good practice.

· a reference to photos taken

	This report should be clear, comprehensive, unambiguous and normally completed within 14 days of an assessment.




	Site visit/comments
Q4 monitoring data received and reviewed for Leachate, Groundwater and landfill gas.  No breaches other than:-

 

Sch6 Notification

Landfill gas - continued breach noted in perimeter m.point GA8 for methane, considered CCS4.

 

Waste returns

Q4 data received and reviewed

 

Condition 4.2.1

This requires the operator to submit a report on the performance of the activities over the previous year to be submitted by 31 January.  The 2014 submission has been received and reviewed.

 

Section 3.3 Leachate and Fig 4 - leachate levels no non- compliances.

 

Sections 5.3 Monitoring Network Integrity, and 5.5 Action - JLA need to ensure the recommendations are carried out for access, maintenance, and protection of infrastructure Considered CCS4

 

Section 8.2 - Groundwater evaluation - breaches noted in down gradient monitoring points GW4 of Cl, ammonia and mecoprop, and GW8 mecoprop (note mecoprop now classed as a ‘non – hazardous’ substance)  In GW4 ammonia and Cl breaches previously scored CCS3.  Breach in trigger levels for mecoprop (including the up gradient monitoring points) have been identified previously.  It is noted that HRA review is due this year.

 

Section 9.4 Surface water - comments noted wrt suspended solids and ammonia.

 

Section 10.2 Lfg monitoring - breach noted in GA8 for methane, previously scored CCS4.

 

Section 13 Summary and Recommendations - actions noted and agreed.

 

Seaprately, NRW consider it is important to ensure that the new surface water management system is constructed as soon as practicable; refer to 4.4 of the report and previous CARs.

 
Site Inspection

Site Inspection undertaken on Friday 13 February 2015
Approximately 800m before entering the site Gwyn Jones (GJ) stopped in a field entrance and viewed the landfill operations and witnessed the dozer working.  Whilst at the field entrance GJ took a number of photographs of the waste operation (including inadequately covered waste).  

Unannounced site meeting followed by tour of the site and off-site assessment of impacts.

Waste inputs

JAS 2014 ~ 689 tonnes




OND 2014 ~ 577 tonnes

TCM assistance
David Davies & Lance Jones

JOHN ADAMS (JA) hopeful of WAMITAB certification around April 2015.

CQA Validation report dialogue between Ty Ward (NRW) and Arwel Jones from Geotechnology.
JA aware that some questions/clarification been raised by Ty Ward.

Brief discussion of external factors (namely creation of TS in Ystradgynlais, permit requirements of the Ystradgynlais TS and tendering of services)

Site tour of Palleg landfill

JA and GJ undertook a site tour of the landfill area using the 4x4 vehicle.

Parked up near tipping face

Action Required - 
GJ pointed out to JA that additional cover on the flank below the bench were tipping was being undertaken was needed.

JA pointed out the NEW CELL (Phase  4)

JA agreed that the footprint of the new cell was approximately 100m by 40m (allowing for tapering).

GJ took a number of photographs on his mobile phone. JA stated that Kier and Arwel Jones had undertaken a GPS exercise.

Phase 4 Cell 

Stone layer now in place

100mm thick of 20mm stone formed blinding layer,
Then on top of the blinding layer was laid 300mm of 40mm stone.
JA expected that tipping into Phase 4 could commence March /April 2015 (subject to NRW queries and subsequent approval)

JA and GJ then returned along the haul and out of the site onto the council maintained road.

Upon leaving the site GJ requested that JA drive up hill for approximately 800m to assess the off-site impacts of the landfill operations.

Upon parking up at a suitable field entrance JA and GJ undertook an off-site impact assessment (w.r.t visibility and odour).

Although no odours were experienced at this location JA acknowledged that the current landfilling operations were visible from the highway and uncovered (mainly plastic) waste was visible.

JA and GJ went onto briefly discuss the need for re-profiling the outmost shoulder of the top bench. JA explained that this waste would be transferred to the new cell at as a main priority.

JA and GJ retraced the route back to down the hill the weighbridge – this time with the windows open.

At the lower end of the lay-by landfill odour (probably leachate) was detected by both GJ and JA. 

Advice and guidance -
As this odour may cause offence to members of the public using the highway GJ mentioned that JA should investigate the source of this odour by tracing it back upon the landfill site and devising a methodology to remedy the cause.  As detailed in previous CAR forms, NRW/JLA to keep control of odour under review

Upon entering the site JA and GJ had a brief conversation about the effectiveness of the plant and machinery that were on-site.
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	EPR Compliance Assessment Report
	Report ID: BT1908IX/0228976


	This form will report compliance with your permit as determined by an NRW officer

	Site 
	Palleg Landfill Phase II EA/EPR/BT1908IX/V004
	Permit
	BT1908IX

	Operator/ Permit
	JLA Disposal Limited 
	Date
	08/01/2015


	Section 3- Enforcement Response
	Only one of the boxes below should be ticked

	You must take immediate action to rectify any non-compliance and prevent repetition. 
Non-compliance with your permit conditions constitutes an offence and can result in criminal prosecutions and/or suspension or revocation of a permit.  Please read the detailed assessment in Section 2 and the steps you need to take in Section 4 below.

	Other than the provision of advice and guidance, at present we do not intend to take further enforcement action in respect of the non-compliance identified above.  This does not preclude us from taking enforcement action if further relevant information comes to light or advice isn’t followed.
	X

	In respect of the above non-compliance you have been issued with a warning. At present we do not intend to take further enforcement action. This does not preclude us from taking additional enforcement action if further relevant information comes to light or offences continue.
	

	We will now consider what enforcement action is appropriate and notify you, referencing this form.
	


	Section 4- Action(s) 

	Where non-compliance has been detected and an enforcement response has been selected above, this section summarises the steps you need to take to return to compliance and also provides timescales for this to be done.

	Criteria Ref.
	CCS Category
	Action Required/Advised 
	Due Date 

	See Section 1 above 
	
	

	B1
	C4
	No action specified
	N/A

	G4
	C4
	No action specified
	N/A


	Section 5 - Compliance notes for the Operator
	
	Section 6 – General Information

	To ensure you correct actual or potential non-compliance we may
( advise on corrective actions verbally or in writing 

( require you to take specific actions in writing 

( issue a notice
( require you to review your procedures or management system
( change some of the conditions of your permit

( decide to undertake a full review of your permit
	
	Data protection notice
The information on this form will be processed by the Natural Resources Wales (NRW) to fulfill its regulatory and monitoring functions and to maintain the relevant public register(s). The NRW may also use and/or disclose it in connection with:

(  offering/providing you with its literature/services relating to environmental matters

(  consulting with the public, public bodies and other organisations (e.g. Health and Safety Executive, local authorities) on environmental issues

(  carrying out statistical analysis, research and development on environmental issues

(  providing public register information to enquirers

(  investigating possible breaches of environmental law and taking any resulting action

(  preventing breaches of environmental law

(  assessing customer service satisfaction and improving its service

(  Freedom of Information Act/Environmental Information Regulations request.

The NRW may pass it on to its agents/representatives to do these things on its behalf. You should ensure that any persons named on this form are informed of the contents of this data protection notice.

	Any breach of a permit condition is an offence and we may take legal action against you.
( We will normally provide advice and guidance to assist you to come back into compliance either after an offence is committed or where we consider that an offence is likely to be committed. This is without prejudice to any other enforcement response that we consider may be required.

( Enforcement action can include the issue of a formal caution, prosecution, the service of a notice and or suspension or revocation of the permit. 

See our Enforcement and Civil Sanctions guidance for further information
	
	

	This report does not relieve the site operator of the responsibility to 

( ensure you comply with the conditions of the permit at all times and prevent pollution of the environment
( ensure you comply with other legislative provisions which may apply.
	
	

	Non-compliance scores and categories
	
	Disclosure of information

The NRW will provide a copy of this report to the public register(s).  However, if you consider that any information contained in this report should not be released to the public register(s) on the grounds of commercial confidentiality, you must write to your local area office within twenty working days of receipt of this form indicating which information it concerns and why it should not be released, giving your reasons in full.

	CCS category
	Description
	Score
	
	

	C1
	A non-compliance which could have a  major environmental effect
	    60
	
	

	C2
	A non-compliance which could have a significant environmental effect
	31
	
	

	C3
	A non-compliance which could have a  minor environmental effect
	     4
	
	Customer charter
What can I do if I disagree with this compliance assessment report?
If you are unable to resolve the issue with your site officer, you should firstly discuss the matter with the officer’s line managers.  If you wish to raise your dispute further through our official Complaints and Commendations procedure, phone our general enquiry number  0300 065 3000 (Mon to Fri 08.00–18.00) and ask for the Customer Contact team or send an email to enquiries@naturalresourceswales.gov.uk.  If you are still dissatisfied you can make a complaint to the Public Services Ombudsman for Wales.   For advice on how to complain to the Ombudsman phone their helpline on 0845 607 0987.

	C4
	A non-compliance which has no potential environmental effect
	    0.1
	
	

	Operational Risk Appraisal (Opra) - Compliance assessment findings may affect your Opra score and/or your charges. This score influences the resource we use to assess permit compliance.
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