## Jan-Mar
PERMIT NUMBER |  | BT19081X |  |  | OPERATOR |  | JLA DISPOSAL LTD
INSTALLATION |  | PALLEG PHASE II |  |  | FORM NO. | JantoMar17
REPORTING GROUNDWATER MONITORING FOR THE PERIOD |  |  |  | FROM | 2017-01-01 | TO | 2017-03-31
Monitoring Point | Substance/ Parameter | Trigger Level | Reference Period | Results | LoD/Units | Test Method | Sample Date and Times | Uncertainty
GW2 | Ammoniacal Nitrogen | 2.5mg/l | January to March | <0.2 | mg/l | TM099 | 2017-02-15
GW2 | Arsenic |  | January to March |  | mg/l | TM152 | 2017-02-15
GW2 | Biochemical Oxygen Demand (BOD) |  | January to March |  | mg/l | TM045 | 2017-02-15
GW2 | Boron |  | January to March |  | mg/l | TM152 | 2017-02-15
GW2 | Cadmium | 0.005mg/l | January to March |  | mg/l | TM152 | 2017-02-15
GW2 | Calcium |  | January to March |  | mg/l | TM152 | 2017-02-15
GW2 | Chemical Oxygen Demand COD |  | January to March |  | mg/l | TM107 | 2017-02-15
GW2 | Chloride | 200mg/l | January to March | 23.4 | mg/l | TM097 | 2017-02-15
GW2 | Chromium |  | January to March |  | mg/l | TM152 | 2017-02-15
GW2 | Copper |  | January to March |  | mg/l | TM152 | 2017-02-15
GW2 | Electrical conductivity |  | January to March |  | uS/cm |  | 2017-02-15
GW2 | Iron |  | January to March |  | mg/l | TM152 | 2017-02-15
GW2 | Lead |  | January to March |  | mg/l | TM152 | 2017-02-15
GW2 | Magnesium |  | January to March |  | mg/l | TM152 | 2017-02-15
GW2 | Manganese |  | January to March |  | mg/l | TM152 | 2017-02-15
GW2 | Mecoprop | 0.0004mg/l | January to March |  | ug/l |  | 2017-02-15
GW2 | Mercury | 0.001mg/l | January to March |  | mg/l | TM183 | 2017-02-15
GW2 | Nickel |  | January to March |  | mg/l | TM152 | 2017-02-15
GW2 | pH | 5.5 - 9.5 | January to March |  | pH units | TM133 | 2017-02-15
GW2 | Phenols | 0.0005mg/l | January to March |  | mg/l | TM062 | 2017-02-15
GW2 | Potassium |  | January to March |  | mg/l | TM083 | 2017-02-15
GW2 | Sodium |  | January to March |  | mg/l | TM083 | 2017-02-15
GW2 | Sulphate |  | January to March |  | mg/l | TM098 | 2017-02-15
GW2 | Temperature C |  | January to March |  | OC | Field Measured | 2017-02-15
GW2 | Toluene | 0.004mg/l | January to March |  | ug/l | TM208 | 2017-02-15
GW2 | Total Alkalinity |  | January to March |  | mg/l | TM043 | 2017-02-15
GW2 | Total Organic Carbon |  | January to March |  | mg/l | TM090 | 2017-02-15
GW2 | Total Oxidised Nitrogen |  | January to March |  | mg/l | TM102 | 2017-02-15
GW2 | Water Level |  | January to March |  | Level m | Field Measured | 2017-02-15
GW2 | Zinc | 0.1mg/l | January to March | 0.013 | mg/l | TM152 | 2017-02-15
Monitoring Point | Substance/ Parameter | Trigger Level | Reference Period | Results | LoD/Units | Test Method | Sample Date and Times | Uncertainty
GW3 | Ammoniacal Nitrogen | 2.5mg/l | January to March | <0.2 | mg/l | TM099 | 2017-02-15
GW3 | Arsenic |  | January to March |  | mg/l | TM152 | 2017-02-15
GW3 | Biochemical Oxygen Demand (BOD) |  | January to March |  | mg/l | TM045 | 2017-02-15
GW3 | Boron |  | January to March |  | mg/l | TM152 | 2017-02-15
GW3 | Cadmium | 0.005mg/l | January to March |  | mg/l | TM152 | 2017-02-15
GW3 | Calcium |  | January to March |  | mg/l | TM152 | 2017-02-15
GW3 | Chemical Oxygen Demand COD |  | January to March |  | mg/l | TM107 | 2017-02-15
GW3 | Chloride | 200mg/l | January to March | 54.5 | mg/l | TM097 | 2017-02-15
GW3 | Chromium |  | January to March |  | mg/l | TM152 | 2017-02-15
GW3 | Copper |  | January to March |  | mg/l | TM152 | 2017-02-15
GW3 | Electrical conductivity |  | January to March |  | uS/cm |  | 2017-02-15
GW3 | Iron |  | January to March |  | mg/l | TM152 | 2017-02-15
GW3 | Lead |  | January to March |  | mg/l | TM152 | 2017-02-15
GW3 | Magnesium |  | January to March |  | mg/l | TM152 | 2017-02-15
GW3 | Manganese |  | January to March |  | mg/l | TM152 | 2017-02-15
GW3 | Mecoprop | 0.0004mg/l | January to March |  | ug/l |  | 2017-02-15
GW3 | Mercury | 0.001mg/l | January to March |  | mg/l | TM183 | 2017-02-15
GW3 | Nickel |  | January to March |  | mg/l | TM152 | 2017-02-15
GW3 | pH | 5.5 - 9.5 | January to March |  | pH units | TM133 | 2017-02-15
GW3 | Phenols | 0.0005mg/l | January to March |  | mg/l | TM062 | 2017-02-15
GW3 | Potassium |  | January to March |  | mg/l | TM083 | 2017-02-15
GW3 | Sodium |  | January to March |  | mg/l | TM083 | 2017-02-15
GW3 | Sulphate |  | January to March |  | mg/l | TM098 | 2017-02-15
GW3 | Temperature C |  | January to March |  | OC | Field Measured | 2017-02-15
GW3 | Toluene | 0.004mg/l | January to March |  | ug/l | TM208 | 2017-02-15
GW3 | Total Alkalinity |  | January to March |  | mg/l | TM043 | 2017-02-15
GW3 | Total Organic Carbon |  | January to March |  | mg/l | TM090 | 2017-02-15
GW3 | Total Oxidised Nitrogen |  | January to March |  | mg/l | TM102 | 2017-02-15
GW3 | Water Level |  | January to March |  | Level m | Field Measured | 2017-02-15
GW3 | Zinc | 0.1mg/l | January to March | 0.0248 | mg/l | TM152 | 2017-02-15
Monitoring Point | Substance/ Parameter | Trigger Level | Reference Period | Results | LoD/Units | Test Method | Sample Date and Times | Uncertainty
GW4 | Ammoniacal Nitrogen | 2.5mg/l | January to March | 7.2 | mg/l | TM099 | 2017-02-15
GW4 | Arsenic |  | January to March |  | mg/l | TM152 | 2017-02-15
GW4 | Biochemical Oxygen Demand (BOD) |  | January to March |  | mg/l | TM045 | 2017-02-15
GW4 | Boron |  | January to March |  | mg/l | TM152 | 2017-02-15
GW4 | Cadmium | 0.005mg/l | January to March |  | mg/l | TM152 | 2017-02-15
GW4 | Calcium |  | January to March |  | mg/l | TM152 | 2017-02-15
GW4 | Chemical Oxygen Demand COD |  | January to March |  | mg/l | TM107 | 2017-02-15
GW4 | Chloride | 200mg/l | January to March | 38.6 | mg/l | TM097 | 2017-02-15
GW4 | Chromium |  | January to March |  | mg/l | TM152 | 2017-02-15
GW4 | Copper |  | January to March |  | mg/l | TM152 | 2017-02-15
GW4 | Electrical conductivity |  | January to March |  | uS/cm |  | 2017-02-15
GW4 | Iron |  | January to March |  | mg/l | TM152 | 2017-02-15
GW4 | Lead |  | January to March |  | mg/l | TM152 | 2017-02-15
GW4 | Magnesium |  | January to March |  | mg/l | TM152 | 2017-02-15
GW4 | Manganese |  | January to March |  | mg/l | mg/l | 2017-02-15
GW4 | Mecoprop | 0.0004mg/l | January to March |  | ug/l |  | 2017-02-15
GW4 | Mercury | 0.001mg/l | January to March |  | mg/l | TM183 | 2017-02-15
GW4 | Nickel |  | January to March |  | mg/l | TM152 | 2017-02-15
GW4 | pH | 5.5 - 9.5 | January to March |  | pH units | TM133 | 2017-02-15
GW4 | Phenols | 0.0005mg/l | January to March |  | mg/l | TM062 | 2017-02-15
GW4 | Potassium |  | January to March |  | mg/l | TM083 | 2017-02-15
GW4 | Sodium |  | January to March |  | mg/l | TM083 | 2017-02-15
GW4 | Sulphate |  | January to March |  | mg/l | TM098 | 2017-02-15
GW4 | Temperature C |  | January to March |  | OC | Field Measured | 2017-02-15
GW4 | Toluene | 0.004mg/l | January to March |  | ug/l | TM208 | 2017-02-15
GW4 | Total Alkalinity |  | January to March |  | mg/l | TM043 | 2017-02-15
GW4 | Total Organic Carbon |  | January to March |  | mg/l | TM090 | 2017-02-15
GW4 | Total Oxidised Nitrogen |  | January to March |  | mg/l | TM102 | 2017-02-15
GW4 | Water Level |  | January to March |  | Level m | Field Measured | 2017-02-15
GW4 | Zinc | 0.1mg/l | January to March | 0.013 | mg/l | TM152 | 2017-02-15
Monitoring Point | Substance/ Parameter | Trigger Level | Reference Period | Results | LoD/Units | Test Method | Sample Date and Times | Uncertainty
GW5 | Ammoniacal Nitrogen | 2.5mg/l | January to March | 0.28 | mg/l | TM099 | 2017-02-15
GW5 | Arsenic |  | January to March |  | mg/l | TM152 | 2017-02-15
GW5 | Biochemical Oxygen Demand (BOD) |  | January to March |  | mg/l | TM045 | 2017-02-15
GW5 | Boron |  | January to March |  | mg/l | TM152 | 2017-02-15
GW5 | Cadmium | 0.005mg/l | January to March |  | mg/l | TM152 | 2017-02-15
GW5 | Calcium |  | January to March |  | mg/l | TM152 | 2017-02-15
GW5 | Chemical Oxygen Demand COD |  | January to March |  | mg/l | TM107 | 2017-02-15
GW5 | Chloride | 200mg/l | January to March | 6.7 | mg/l | TM097 | 2017-02-15
GW5 | Chromium |  | January to March |  | mg/l | TM152 | 2017-02-15
GW5 | Copper |  | January to March |  | mg/l | TM152 | 2017-02-15
GW5 | Electrical conductivity |  | January to March |  | uS/cm |  | 2017-02-15
GW5 | Iron |  | January to March |  | mg/l | TM152 | 2017-02-15
GW5 | Lead |  | January to March |  | mg/l | TM152 | 2017-02-15
GW5 | Magnesium |  | January to March |  | mg/l | TM152 | 2017-02-15
GW5 | Manganese |  | January to March |  | mg/l | TM152 | 2017-02-15
GW5 | Mecoprop | 0.0004mg/l | January to March |  | ug/l |  | 2017-02-15
GW5 | Mercury | 0.001mg/l | January to March |  | mg/l | TM183 | 2017-02-15
GW5 | Nickel |  | January to March |  | mg/l | TM152 | 2017-02-15
GW5 | pH | 5.5 - 9.5 | January to March |  | pH units | TM133 | 2017-02-15
GW5 | Phenols | 0.0005mg/l | January to March |  | mg/l | TM062 | 2017-02-15
GW5 | Potassium |  | January to March |  | mg/l | TM083 | 2017-02-15
GW5 | Sodium |  | January to March |  | mg/l | TM083 | 2017-02-15
GW5 | Sulphate |  | January to March |  | mg/l | TM098 | 2017-02-15
GW5 | Temperature C |  | January to March |  | OC | Field Measured | 2017-02-15
GW5 | Toluene | 0.004mg/l | January to March |  | ug/l | TM208 | 2017-02-15
GW5 | Total Alkalinity |  | January to March |  | mg/l | TM043 | 2017-02-15
GW5 | Total Organic Carbon |  | January to March |  | mg/l | TM090 | 2017-02-15
GW5 | Total Oxidised Nitrogen |  | January to March |  | mg/l | TM102 | 2017-02-15
GW5 | Water Level |  | January to March |  | Level m | Field Measured | 2017-02-15
GW5 | Zinc | 0.1mg/l | January to March | 0.0143 | mg/l | TM152 | 2017-02-15
Monitoring Point | Substance/ Parameter | Trigger Level | Reference Period | Results | LoD/Units | Test Method | Sample Date and Times | Uncertainty
GW8 | Ammoniacal Nitrogen | 2.5mg/l | January to March | <0.2 | mg/l | TM099 | 2017-02-15
GW8 | Arsenic |  | January to March |  | mg/l | TM152 | 2017-02-15
GW8 | Biochemical Oxygen Demand (BOD) |  | January to March |  | mg/l | TM045 | 2017-02-15
GW8 | Boron |  | January to March |  | mg/l | TM152 | 2017-02-15
GW8 | Cadmium | 0.005mg/l | January to March |  | mg/l | TM152 | 2017-02-15
GW8 | Calcium |  | January to March |  | mg/l | TM152 | 2017-02-15
GW8 | Chemical Oxygen Demand COD |  | January to March |  | mg/l | TM107 | 2017-02-15
GW8 | Chloride | 200mg/l | January to March | 10.6 | mg/l | TM097 | 2017-02-15
GW8 | Chromium |  | January to March |  | mg/l | TM152 | 2017-02-15
GW8 | Copper |  | January to March |  | mg/l | TM152 | 2017-02-15
GW8 | Electrical conductivity |  | January to March |  | uS/cm |  | 2017-02-15
GW8 | Iron |  | January to March |  | mg/l | TM152 | 2017-02-15
GW8 | Lead |  | January to March |  | mg/l | TM152 | 2017-02-15
GW8 | Magnesium |  | January to March |  | mg/l | TM152 | 2017-02-15
GW8 | Manganese |  | January to March |  | mg/l | TM152 | 2017-02-15
GW8 | Mecoprop | 0.0004mg/l | January to March |  | ug/l |  | 2017-02-15
GW8 | Mercury | 0.001mg/l | January to March |  | mg/l | TM183 | 2017-02-15
GW8 | Nickel |  | January to March |  | mg/l | TM152 | 2017-02-15
GW8 | pH | 5.5 - 9.5 | January to March |  | pH units | TM133 | 2017-02-15
GW8 | Phenols | 0.0005mg/l | January to March |  | mg/l | TM062 | 2017-02-15
GW8 | Potassium |  | January to March |  | mg/l | TM083 | 2017-02-15
GW8 | Sodium |  | January to March |  | mg/l | TM083 | 2017-02-15
GW8 | Sulphate |  | January to March |  | mg/l | TM098 | 2017-02-15
GW8 | Temperature C |  | January to March |  | OC | Field Measured | 2017-02-15
GW8 | Toluene | 0.004mg/l | January to March |  | ug/l | TM208 | 2017-02-15
GW8 | Total Alkalinity |  | January to March |  | mg/l | TM043 | 2017-02-15
GW8 | Total Organic Carbon |  | January to March |  | mg/l | TM090 | 2017-02-15
GW8 | Total Oxidised Nitrogen |  | January to March |  | mg/l | TM102 | 2017-02-15
GW8 | Water Level |  | January to March |  | Level m | Field Measured | 2017-02-15
GW8 | Zinc | 0.1mg/l | January to March | 0.13 | mg/l | TM152 | 2017-02-15
Signed | JL Adams |  | Date | 2017-08-07
PRINT NAME | JOHN ADAMS