## GW 5
Bryn Pica Landfill Site |  |  |  |  | Best Practice Groundwater Sampling 2018
Location: GW 5 Nr Pillon
Determinands | Units | Permit | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2018-04-01 | 2018-05-01 | 2018-06-01 | 2018-07-01 | 2018-08-01 | 2018-09-01 | 2018-10-01 | 2018-11-01 | 2018-12-01
Date of sampling |  | Limits | 2018-01-01: 25.01.18; 2018-02-01: 13.02.18; 2018-03-01: 06.03.18
Field Measurements
BH Depth | M |  | 2018-01-01: 15.15; 2018-02-01: 15.75; 2018-03-01: 15.95
Water Level | M |  | 2018-01-01: 22.45; 2018-02-01: 22.5; 2018-03-01: 22.55
P.H. |  |  | 2018-01-01: 6.64; 2018-02-01: 6.49; 2018-03-01: 6.87
Temperature | °C |  | 2018-01-01: 8.3; 2018-02-01: 8.9; 2018-03-01: 10.5
Dissolved Oxygen | PPM |  | 2018-01-01: 5.61; 2018-02-01: 2.85; 2018-03-01: 2.57
Conductivity | uS |  | 2018-01-01: 1416; 2018-02-01: 1328
Suite | Units |  | Monthly | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Quarterly | Monthly | Monthly
Laboratory Measurements
PH |  |  | 2018-01-01: 6.8; 2018-02-01: 6.85; 2018-03-01: 6.83
Total Organic Carbon | mg/l |  | 2018-03-01: 1.7
Ammoniacal Nitrogen | mg/l | 1.5 | 2018-01-01: <0.0300; 2018-02-01: <0.0300; 2018-03-01: 0.032
Total Oxidised Nitrogen | mg/l |  | 2018-01-01: <0.200; 2018-02-01: <0.200; 2018-03-01: <0.200
Alkalinity to PH 4.5 as CaCO3 | mg/l |  | 2018-03-01: 643
Chloride | mg/l | 37 | 2018-01-01: 10.4; 2018-02-01: 10.2; 2018-03-01: 12.3
Sulphate | mg/l |  | 2018-03-01: 316
Sodium | mg/l |  | 2018-03-01: 11.4
Potassium | mg/l |  | 2018-03-01: 27.9
Copper | ug/l | bar: 2018-03-01
Magnesium | mg/l |  | 2018-03-01: 162
Calcium | mg/l |  | 2018-03-01: 88.3
Zinc | ug/l | 320 | bar: 2018-01-01 to 2018-12-01
Cadmium | ug/l | 0.1 | 2018-03-01: <0.1
Lead | ug/l | bar: 2018-03-01
Chromium | ug/l |  | 2018-03-01: <0.5
Manganese | ug/l |  | 2018-03-01: 68.3
Iron | ug/l |  | 2018-03-01: 37.3
Nickel | ug/l |  | 2018-03-01: 5.72
Conductivity | uS/cm |  | 2018-01-01: 1440; 2018-02-01: 1410; 2018-03-01: 1420
Nitrate | mg/l |  | 2018-01-01: <0.200; 2018-02-01: <0.200; 2018-03-01: <0.200
Nitrite | mg/l |  | 2018-01-01: <0.00400; 2018-02-01: <0.00400; 2018-03-01: <0.00400
Barium | ug/l |  | 2018-03-01: 19.5
Beryllium | ug/l | bar: 2018-03-01
Boron | ug/l |  | 2018-03-01: <100
Cobolt | ug/l | bar: 2018-03-01
Mercury | ug/l | 0.01 | 2018-03-01: <0.01
Molybdenum | ug/l | bar: 2018-03-01
Silver | ug/l | bar: 2018-03-01
Tellurium | ug/l | bar: 2018-03-01
Thallium | ug/l | bar: 2018-03-01
Tin | ug/l | bar: 2018-03-01
Titanium | ug/l |  | 2018-03-01: 2.4
Uranium | ug/l |  | 2018-03-01: 2.14
Vanadium | ug/l | bar: 2018-03-01
Fluoride | mg/l |  | 2018-03-01: 0.184
Orthophosphate, reactive as P | mg/l |  | 2018-03-01: 0.011
Mecoprop | ug/l | 0.04 | 2018-03-01: <0.005
Naphthalene | ug/l | 0.1 | 2018-03-01: <0.01
Antimony | ug/l | bar: 2018-03-01
Selenium | ug/l | bar: 2018-03-01
Arsenic | ug/l | bar: 2018-03-01
COD | mg/l |  | 2018-01-01: 22; 2018-02-01: 14; 2018-03-01: 28
Battery Died
On Con Probe
Bought New
Battiries On
07.03.18

## GW 6
Bryn Pica Landfill Site |  |  |  |  | Best Practice Groundwater Sampling 2018
Location: GW 6 Nr Dismantled Rail Track
Determinands | Units | Permit | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2018-04-01 | 2018-05-01 | 2018-06-01 | 2018-07-01 | 2018-08-01 | 2018-09-01 | 2018-10-01 | 2018-11-01 | 2018-12-01
Date of sampling |  | Limits | 2018-01-01: 25.01.18; 2018-02-01: 13.02.18; 2018-03-01: 06.03.18
Field Measurements
BH Depth | M |  | 2018-01-01: 72.8; 2018-02-01: 72.8; 2018-03-01: 72.8
Water Level | M |  | 2018-01-01: 23.15; 2018-02-01: 23.26; 2018-03-01: 25.9
P.H. |  |  | 2018-01-01: 7.31; 2018-02-01: 7.25; 2018-03-01: 6.98
Temperature | °C |  | 2018-01-01: 8.4; 2018-02-01: 8.2; 2018-03-01: 10
Dissolved Oxygen | PPM |  | 2018-01-01: 5.32; 2018-02-01: 2.52; 2018-03-01: 2.14
Conductivity | uS |  | 2018-01-01: 461.3; 2018-02-01: 466.8
Suite | Units |  | Monthly | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Quarterly | Monthly | Monthly
Laboratory Measurements
PH |  |  | 2018-01-01: 6.91; 2018-02-01: 7.02; 2018-03-01: 7
Total Organic Carbon | mg/l |  | 2018-03-01: 3.2
Ammoniacal Nitrogen | mg/l | 1.5 | 2018-01-01: <0.0300; 2018-02-01: <0.0300; 2018-03-01: <0.0300
Total Oxidised Nitrogen | mg/l |  | 2018-01-01: <0.200; 2018-02-01: <0.200; 2018-03-01: <0.200
Alkalinity to PH 4.5 as CaCO3 | mg/l |  | 2018-03-01: 313
Chloride | mg/l | 37 | 2018-01-01: 9.5; 2018-02-01: 9.4; 2018-03-01: 9.2
Sulphate | mg/l |  | 2018-03-01: 23.2
Sodium | mg/l |  | 2018-03-01: 6.02
Potassium | mg/l |  | 2018-03-01: 6.85
Copper | ug/l | bar: 2018-03-01
Magnesium | mg/l |  | 2018-03-01: 32.1
Calcium | mg/l |  | 2018-03-01: 68.4
Zinc | ug/l | 320 | bar: 2018-01-01 to 2018-12-01
Cadmium | ug/l | 0.1 | 2018-03-01: <0.1
Lead | ug/l | bar: 2018-03-01
Chromium | ug/l |  | 2018-03-01: <0.5
Manganese | ug/l |  | 2018-03-01: <10.0
Iron | ug/l |  | 2018-03-01: <30
Nickel | ug/l |  | 2018-03-01: 1.17
Conductivity | uS/cm |  | 2018-01-01: 470; 2018-02-01: 489; 2018-03-01: 548
Nitrate | mg/l |  | 2018-01-01: <0.200; 2018-02-01: <0.200; 2018-03-01: <0.200
Nitrite | mg/l |  | 2018-01-01: <0.00400; 2018-02-01: <0.00400; 2018-03-01: <0.00400
Barium | ug/l |  | 2018-03-01: 100
Beryllium | ug/l | bar: 2018-03-01
Boron | ug/l |  | 2018-03-01: <100
Cobolt | ug/l | bar: 2018-03-01
Mercury | ug/l | 0.01 | 2018-03-01: <0.01
Molybdenum | ug/l | bar: 2018-03-01
Silver | ug/l | bar: 2018-03-01
Tellurium | ug/l | bar: 2018-03-01
Thallium | ug/l | bar: 2018-03-01
Tin | ug/l | bar: 2018-03-01
Titanium | ug/l | bar: 2018-03-01
Uranium | ug/l |  | 2018-03-01: 0.582
Vanadium | ug/l | bar: 2018-03-01
Fluoride | mg/l |  | 2018-03-01: 0.12
Orthophosphate, reactive as P | mg/l |  | 2018-03-01: <0.0100
Mecoprop | ug/l | 0.04 | 2018-03-01: <0.005
Naphthalene | ug/l | 0.1 | 2018-03-01: <0.01
Antimony | ug/l | bar: 2018-03-01
Selenium | ug/l | bar: 2018-03-01
Arsenic | ug/l | bar: 2018-03-01
COD | mg/l |  | 2018-01-01: <10.0; 2018-02-01: 35; 2018-03-01: 10
Battery Died
On Con Probe
Bought New
Battiries On
07.03.18

## GW 7
Bryn Pica Landfill Site |  |  |  |  | Best Practice Groundwater Sampling 2018
Location: GW 7 Prismian Cables (formerly Pirelli Cables)
Determinands | Units | Permit | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2018-04-01 | 2018-05-01 | 2018-06-01 | 2018-07-01 | 2018-08-01 | 2018-09-01 | 2018-10-01 | 2018-11-01 | 2018-12-01
Date of sampling |  | Limits | 2018-02-01: 13.02.18; 2018-03-01: 06.03.18
Field Measurements
P.H. |  |  | 2018-01-01: 7.01; 2018-02-01: 6.81; 2018-03-01: 6.63
Temperature | °C |  | 2018-01-01: 8.3; 2018-02-01: 7.6; 2018-03-01: 8.2
Dissolved Oxygen | mg/l |  | 2018-01-01: 5.75; 2018-02-01: 4.47; 2018-03-01: 4.11
Conductivity | uS |  | 2018-01-01: 627.9; 2018-02-01: 637.8; 2018-03-01: 637.5
Suite | Units |  | Monthly | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Quarterly | Monthly | Monthly
Laboratory Measurements
PH |  |  | 2018-01-01: 6.93; 2018-02-01: 6.99; 2018-03-01: 7.09
Total Organic Carbon | mg/l |  | 2018-03-01: 4.6
Ammoniacal Nitrogen | mg/l | 1.5 | 2018-01-01: <0.0300; 2018-02-01: <0.0300; 2018-03-01: <0.0300
Total Oxidised Nitrogen | mg/l |  | 2018-01-01: 0.89; 2018-02-01: <0.200; 2018-03-01: 0.88
Alkalinity to PH 4.5 as CaCO3 | mg/l |  | 2018-03-01: 266
Chloride | mg/l | 37 | 2018-01-01: 17; 2018-02-01: 10.2; 2018-03-01: 18.1
Sulphate | mg/l |  | 2018-03-01: 109
Sodium | mg/l |  | 2018-03-01: 18.6
Potassium | mg/l |  | 2018-03-01: 16.6
Copper | ug/l |  | 2018-03-01: 1.49
Magnesium | mg/l |  | 2018-03-01: 47.8
Calcium | mg/l |  | 2018-03-01: 49.7
Zinc | ug/l | 320 | bar: 2018-01-01 to 2018-12-01
Cadmium | ug/l | 0.1 | 2018-03-01: <0.1
Lead | ug/l | bar: 2018-03-01
Chromium | ug/l |  | 2018-03-01: <0.5
Manganese | ug/l |  | 2018-03-01: <10
Iron | ug/l |  | 2018-03-01: <30
Nickel | ug/l |  | 2018-03-01: 3.02
Conductivity | uS/cm |  | 2018-01-01: 591; 2018-02-01: 654; 2018-03-01: 659
Nitrate | mg/l |  | 2018-01-01: <0.890; 2018-02-01: <0.200; 2018-03-01: <0.880
Nitrite | mg/l |  | 2018-01-01: <0.00400; 2018-02-01: <0.00400; 2018-03-01: <0.00400
Barium | ug/l |  | 2018-03-01: 35.4
Beryllium | ug/l | bar: 2018-03-01
Boron | ug/l |  | 2018-03-01: <100
Cobolt | ug/l | bar: 2018-03-01
Mercury | ug/l | 0.01 | 2018-03-01: <0.01
Molybdenum | ug/l | bar: 2018-03-01
Silver | ug/l | bar: 2018-03-01
Tellurium | ug/l | bar: 2018-03-01
Thallium | ug/l | bar: 2018-03-01
Tin | ug/l | bar: 2018-03-01
Titanium | ug/l | bar: 2018-03-01
Uranium | ug/l |  | 2018-03-01: 0.59
Vanadium | ug/l | bar: 2018-03-01
Fluoride | mg/l |  | 2018-03-01: 0.128
Orthophosphate, reactive as P | mg/l |  | 2018-03-01: <0.0100
Mecoprop | ug/l | 0.04 | 2018-03-01: <0.005
Naphthalene | ug/l | 0.1 | 2018-03-01: <0.01
Antimony | ug/l | bar: 2018-03-01
Selenium | ug/l | bar: 2018-03-01
Arsenic | ug/l | bar: 2018-03-01
COD | mg/l |  | 2018-01-01: <10.0; 2018-02-01: <10.0; 2018-03-01: <10.0

## GW07BH5
Bryn Pica Landfill Site |  |  |  | Best Practice Groundwater Sampling 2018
Location: GW07 5 Outside Encia Office, to the side of the M.R.F.
Determinands | Units | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2018-04-01 | 2018-05-01 | 2018-06-01 | 2018-07-01 | 2018-08-01 | 2018-09-01 | 2018-10-01 | 2018-11-01 | 2018-12-01
Date of sampling |  | 2018-01-01: 25.01.18; 2018-02-01: 13.02.18; 2018-03-01: 06.03.18
Field Measurements
BH Depth | M | 2018-01-01: 30.7; 2018-02-01: 30.6; 2018-03-01: 30.55
Water Level | M | 2018-01-01: 19.74; 2018-02-01: 19.9; 2018-03-01: 21.2
P.H. |  | 2018-01-01: 7.01; 2018-02-01: 7.84; 2018-03-01: 7.43
Temperature | °C | 2018-01-01: 8.1; 2018-02-01: 8.1; 2018-03-01: 7.4
Dissolved Oxygen | PPM | 2018-02-01: 3.73; 2018-03-01: 3.34
Conductivity | uS | 2018-01-01: 224.2; 2018-02-01: 233.6; 2018-03-01: 218.7
Suite | Units | Monthly | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Quarterly | Monthly | Monthly
Laboratory Measurements
PH |  | 2018-01-01: 6.77; 2018-02-01: 6.86; 2018-03-01: 6.82
Total Organic Carbon | mg/l | 2018-03-01: 3.5
Ammoniacal Nitrogen | mg/l | 2018-01-01: <0.0300; 2018-02-01: <0.0300; 2018-03-01: <0.0300
Total Oxidised Nitrogen | mg/l | 2018-01-01: <0.200; 2018-02-01: 0.88; 2018-03-01: <0.200
Alkalinity to PH 4.5 as CaCO3 | mg/l | 2018-03-01: 75
Chloride | mg/l | 2018-01-01: 15.1; 2018-02-01: 17.8; 2018-03-01: 16.9
Sulphate | mg/l | 2018-03-01: 15
Sodium | mg/l | 2018-03-01: 6.04
Potassium | mg/l | 2018-03-01: 2.53
Copper | ug/l | bar: 2018-03-01
Magnesium | mg/l | 2018-03-01: 12.7
Calcium | mg/l | 2018-03-01: 15.2
Zinc | ug/l | bar: 2018-03-01
Cadmium | ug/l | 2018-03-01: <0.1
Lead | ug/l | bar: 2018-03-01
Chromium | ug/l | 2018-03-01: <0.5
Manganese | ug/l | 2018-03-01: <10
Iron | ug/l | 2018-03-01: <30
Nickel | ug/l | bar: 2018-03-01
Conductivity | uS/cm | 2018-01-01: 217; 2018-02-01: 215; 2018-03-01: 206
Nitrate | mg/l | 2018-01-01: <0.200; 2018-02-01: <0.880; 2018-03-01: <0.200
Nitrite | mg/l | 2018-01-01: <0.00400; 2018-02-01: <0.00400; 2018-03-01: <0.00400
Barium | ug/l | 2018-03-01: 102
Beryllium | ug/l | bar: 2018-03-01
Boron | ug/l | 2018-03-01: <100
Cobolt | ug/l | bar: 2018-03-01
Mercury | ug/l | 2018-03-01: <0.01
Molybdenum | ug/l | bar: 2018-03-01
Silver | ug/l | bar: 2018-03-01
Tellurium | ug/l | bar: 2018-03-01
Thallium | ug/l | bar: 2018-03-01
Tin | ug/l | bar: 2018-03-01
Titanium | ug/l | bar: 2018-03-01
Uranium | ug/l | 2018-03-01: <0.5
Vanadium | ug/l | bar: 2018-03-01
Fluoride | mg/l | 2018-03-01: 0.097
Orthophosphate, reactive as P | mg/l | 2018-03-01: <0.0100
Mecoprop | ug/l | 2018-03-01: <0.005
Naphthalene | ug/l | 2018-03-01: <0.01
Antimony | ug/l | bar: 2018-03-01
Selenium | ug/l | bar: 2018-03-01
Arsenic | ug/l | bar: 2018-03-01
COD | mg/l | 2018-01-01: 13; 2018-02-01: <10.0; 2018-03-01: 11
Re Sampled
On 25.01.18
GW From 17/1
Didnt Arrive
At Lab TNT
Messed Up
Col / Del

## GW14BH2
Bryn Pica Landfill Site |  |  |  | Best Practice Groundwater Sampling 2018
Location: GW14BH2
Determinands | Units | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2018-04-01 | 2018-05-01 | 2018-06-01 | 2018-07-01 | Aub 18 | 2018-09-01 | 2018-10-01 | 2018-11-01 | 2018-12-01
Date of sampling |  | 2018-01-01: 25.01.18; 2018-02-01: 13.02.18
Field Measurements
BH Depth | M | 2018-01-01: Unable; 2018-02-01: Unable
Water Level | M | 2018-01-01: To Obtain; 2018-02-01: To Obtain
P.H. |  | 2018-01-01: Sample; 2018-02-01: Sample
Temperature | °C
Dissolved Oxygen | PPM
Conductivity | uS
Suite | Units | Monthly | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Quarterly | Monthly | Monthly
Laboratory Measurements
PH
Total Organic Carbon | mg/l
Ammoniacal Nitrogen | mg/l
Total Oxidised Nitrogen | mg/l
Alkalinity to PH 4.5 as CaCO3 | mg/l
Chloride | mg/l
Sulphate | mg/l
Sodium | mg/l
Potassium | mg/l
Copper | ug/l
Magnesium | mg/l
Calcium | mg/l
Zinc | ug/l
Cadmium | ug/l
Lead | ug/l
Chromium | ug/l
Manganese | ug/l
Iron | ug/l
Nickel | ug/l
Conductivity | uS/cm
Nitrate | mg/l
Nitrite | mg/l
Barium | ug/l
Beryllium | ug/l
Boron | ug/l
Cobolt | ug/l
Mercury | ug/l
Molybdenum | ug/l
Silver | ug/l
Tellurium | ug/l
Thallium | ug/l
Tin | ug/l
Titanium | ug/l
Uranium | ug/l
Vanadium | ug/l
Fluoride | mg/l
Orthophosphate, reactive as P | mg/l
Mecoprop | ug/l
Naphthalene | ug/l
Antimony | ug/l
Selenium | ug/l
Arsenic | ug/l
COD | mg/l
Re Sampled GW
From Week Before
Lost In
Transport